## Summary
CSO Long Term Control Plan II
Registration No. CTC 826 20121443668
Contract: CSO-LTCP-02
Harlem River
Tab | Data included:
Sampling Location Maps
LTCP Receiving Water Sampling
Bacteria Results through 11/19/2016
CSO Sampling
Bacteria and Chemistry Results through 11/29/2016
YSI Data
Receiving Water results through 11/19/2016
Landside Results through 11/29/2016
Harbor Survey Stations H3
Bacteria and DO results 1/1/2013 - 11/9/2016
Sentinel Monitoring Stations S54-S57
Fecal Coliform Results 2013-2016
with

## Sampling Location Map
CSO Long Term Control Plan II
Registration No. CTC 826 20121443668
Contract: CSO-LTCP-02
Harlem River
LTCP2 Receiving Water and Landside Sampling Locations Map |  | WI-056 Reg WI-67 Sampling Location |  | WI-060 Reg WI-62 Sampling Location
Harbor Survey Sampling Locations Map |  |  | Sentinel Monitoring Sampling Locations
* Color denotes average fecal coliform results for 2015 at each sampling location
with

## LTCP2 Receiving Water Sampling
CSO Long Term Control Plan II
Registration No. CTC 826 20121443668
Contract: CSO-LTCP-02
Harlem River
For Method SM 9222D, no growth was found on any of the 4 sample dilutions. The lab identified this as an anomaly, but could not find an error at the lab bench.
For method EPA 1600, the result for Enterococci reported as "INVALID" due to nonstandard distribution of colonies on all four membrane filters.
Sample not collected
| Lost sample |  |  | HARLEM RIVER
Event Details |  |  |  | HAR-1 |  | HAR-2 |  | HAR-3 |  | HAR-4 |  | HAR-5 |  | HAR-6
|  |  |  | Top | Bottom | Top | Bottom | Top | Bottom | Top | Bottom | Top | Bottom | Top | Bottom
Event #1 | Day 1 - 04/27/2016 | AM | Enterococcus cfu/100 ml | 35 | 21 | 17 | 42 | 47 | 39 | 52 | 48 | 26 | 22 | 8 | 9
|  |  | Fecal coliform cfu/100 ml | 120 | 69 | 75 | 140 | 200 | 210 | 210 | 260 | 80 | 79 | 31 | 26
|  | PM | Enterococcus cfu/100 ml | 19 | 14 | 28 | 30 | 23 | 28 | 26 | 31 | 28 | 15 | 1 | 5
|  |  | Fecal coliform cfu/100 ml | 71 | 24 | 160 | 52 | 68 | 79 | 88 | 85 | 85 | 63 | 13 | 24
| Day 2 - 04/28/2016 | AM | Enterococcus cfu/100 ml | 21 | 12 | 20 | 32 | 20 | 17 | 33 | 14 | 12 | 15 | 2 | 13
|  |  | Fecal coliform cfu/100 ml | 100 | 49 | 110 | 170 | 69 | 40 | 210 | 27 | 71 | 40 | 31 | 42
|  | PM | Enterococcus cfu/100 ml | 11 | 10 | 10 | 14 | 16 | 15 | 13 | 19 | 8 | 8 | 76 | 280
|  |  | Fecal coliform cfu/100 ml | 53 | 19 | 36 | 46 | 49 | 44 | 73 | 63 | 43 | 29 | 160 | 190
| Day 3 - 04/29/2016 | AM | Enterococcus cfu/100 ml | 7 | 10 | 12 | 14 | 8 | 5 | 7 | 4 | 4 | 3 | <1 | 7
|  |  | Fecal coliform cfu/100 ml | 33 | 26 | 49 | 39 | 23 | 36 | 32 | 24 | 12 | 15 | 10 | 17
|  | PM | Enterococcus cfu/100 ml | 6 | 5 | 13 | 13 | 8 | 16 | 11 | 13 | 4 | 1 | 38 | 41
|  |  | Fecal coliform cfu/100 ml | 23 | 13 | 22 | 17 | 34 | 15 | 34 | 15 | 22 | 22 | 49 | 49
| Day 4 - 04/30/2016 | AM | Enterococcus cfu/100 ml | 12 | 13 | 12 | 8 | 8 | 13 | 7 | 12 | 11 | 33 | 15 | 19
|  |  | Fecal coliform cfu/100 ml | 69 | 46 | 44 | 47 | 39 | 28 | 26 | 22 | 28 | 33 | 20 | 29
|  | PM | Enterococcus cfu/100 ml | 14 | 1 | 4 | 3 | 3 | 7 | 3 | 8 | 2 | 1 | 1 | 3
|  |  | Fecal coliform cfu/100 ml | 39 | 7 | 18 | 30 | 39 | 27 | 24 | 47 | 16 | 12 | 15 | 19
Event #2 | Day 1 - 06/06/2016 | AM | Enterococcus cfu/100 ml | 55 | 220 | 140 | 110 | 160 | 110 | 260 | 140 | 830 | 880 | 1280 | 890
|  |  | Fecal coliform cfu/100 ml | 110 | 380 | 360 | 210 | 330 | 290 | 200 | 310 | 2000 | 2100 | 3400 | 1800
|  | PM | Enterococcus cfu/100 ml | 310 | 370 | 580 | 660 | 670 | 610 | 190 | 190 |  |  | 32 | 88
|  |  | Fecal coliform cfu/100 ml | 200 | 600 | 1500 | 2200 | 1300 | 1700 | 420 | 550 | 500 | 470 | 350 | 700
| Day 2 - 06/07/2016 | AM | Enterococcus cfu/100 ml | 24 | 43 | 44 | 39 | 67 | 69 | 81 | 210 | 65 | 79 | 48 | 51
|  |  | Fecal coliform cfu/100 ml | 16 | 42 | 46 | 46 | 93 | 80 | 250 | 210 | 250 | 230 | 82 | 76
|  | PM | Enterococcus cfu/100 ml | 67 | 49 | 53 | 63 | 53 | 42 | 44 | 68 | 11 | 31 | 11 | 14
|  |  | Fecal coliform cfu/100 ml | 160 | 79 | 80 | 130 | 90 | 100 | 250 | 140 | 90 | 78 | 80 | 90
| Day 3 - 06/08/2016 | AM | Enterococcus cfu/100 ml | 10 | 31 | 21 | 30 | 68 | 61 | 44 | 52 | 24 | 19 | 11 | 11
|  |  | Fecal coliform cfu/100 ml | 38 | 10 | 41 | 50 | 80 | 126 | 160 | 260 | 45 | 46 | 29 | 41
|  | PM | Enterococcus cfu/100 ml |  |  |  |  | Cancelled due to storm
Fecal coliform cfu/100 ml
| Day 4 - 06/09/2016 | AM | Enterococcus cfu/100 ml | 13 | 27 | 80 | 108 | 63 | 240 | 200 | 88 | 42 | 52 | 18 | 57
|  |  | Fecal coliform cfu/100 ml | 19 | 57 | 270 | 290 | 710 | 760 | 610 | 640 | 130 | 210 | 90 | 200
|  | PM | Enterococcus cfu/100 ml | 24 | 35 | 21 | 32 | 11 | 22 | 32 | 47 | 59 | 42 | 17 | 20
|  |  | Fecal coliform cfu/100 ml | 51 | 67 | 52 | 54 | 34 | 41 | 55 | 51 | 100 | 60 | 60 | 89
Event #3 | Day 1 - 11/16/2016 | AM | Enterococcus cfu/100 ml | 260 | 410 | 370 | 340 | 130 | 280 | 230 | 230 | 530 | 890 | 540 | 370
|  |  | Fecal coliform cfu/100 ml | 470 | 430 | 350 | 290 | 330 | 310 | 250 | <10 | 580 | 910 | 190 | 910
|  | PM | Enterococcus cfu/100 ml | 170 | 190 | 290 | 400 | 450 | 370 | 160 | 150 | <10 | 36 | <10 | 9
|  |  | Fecal coliform cfu/100 ml | 510 | 400 | 870 | 850 | 920 | 870 | 490 | 560 | 10 | 10 | <10 | 10
| Day 2 - 11/17/2016 | AM | Enterococcus cfu/100 ml | 92 | 59 | 81 | 82 | 76 | 78 | 140 | 125 | 103 | 180 | 52 | 91
|  |  | Fecal coliform cfu/100 ml | 150 | 109 | 104 | 75 | 99 | 150 | 320 | 220 | 230 | 240 | 110 | 200
|  | PM | Enterococcus cfu/100 ml | 79 | 75 | 90 | 67 | 150 | 93 | 88 | 65 | 51 | 51 | 34 | 42
|  |  | Fecal coliform cfu/100 ml | 190 | 65 | 78 | 71 | 60 | 131 | 150 | 220 | 160 | 220 | 79 | 105
| Day 3 - 11/18/2016 | AM | Enterococcus cfu/100 ml | 36 | 50 | 49 | 36 | 51 | 46 | 43 | 68 | 33 | 31 | 22 | 28
|  |  | Fecal coliform cfu/100 ml | 43 | 28 | 49 | 59 | 53 | 77 | 62 | 68 | 35 | 27 | 41 | 51
|  | PM | Enterococcus cfu/100 ml | 28 | 35 | 26 | 41 | 35 | 50 | 24 | 2 | 4 | 9 | 6 | 11
|  |  | Fecal coliform cfu/100 ml | 59 | 38 | 4 | 68 | 17 | 52 | 46 | 48 | 40 | 11 | 43 | 45
| Day 4 - 11/19/2016 | AM | Enterococcus cfu/100 ml | 18 | 27 | 16 | 30 | 26 | 32 | 8 | 18 | 5 | 9 | 5 | 7
|  |  | Fecal coliform cfu/100 ml | 23 | 18 | 14 | 29 | 23 | 32 | 35 | 41 | 7 | 13 | 30 | 12
|  | PM | Enterococcus cfu/100 ml | 8 | 16 | 53 | 17 | 46 | 19 | 28 | 42 | 26 | 22 | 11 | 16
|  |  | Fecal coliform cfu/100 ml | 4 | 11 | 22 | 23 | 11 | 8 | 20 | 42 | 16 | 11 | 30 | 27
with

## CSO Sampling
CSO Long Term Control Plan II
Registration No. CTC 826 20121443668
Contract: CSO-LTCP-02
Harlem River
Notes:
Sample not collected
Rainfall intensities based on LGA rain gauge
Event Details |  |  |  | Harlem River Combined Sewer Outfall Results Bacteria Results
|  |  |  | WIB-056 |  |  | WIB-060
|  |  |  | Time | Enterococcus cfu/100 ml | Fecal coliform cfu/100 ml | Time | Enterococcus cfu/100 ml | Fecal coliform cfu/100 ml
Event #1 | 2016-04-26 | 0.30" in 15 hrs 0.13" peak | 1 | 17:03 | 660000 | 770000 | 17:02 | 700000 | 680000
|  |  | 2 | 17:33 | 320000 | 520000 | Tide gate closed
|  |  | 3 | 18:03 | 220000 | 490000
|  |  | 4 | 18:33 | 360000 | 540000
|  |  | 5 | Tide gate closed
Event #2 | 2016-05-01 | 0.15" in 13 hours 0.04" peak | 1 | Did not sample- no overflow |  |  | Did not sample- no overflow
2
3
4
5
Event #3 | 2016-06-05 | 0.67" in 13 hrs 0.25" peak | 1 | 12:10 | 350000 | 790000 | 12:00 | 590000 | 2200000
|  |  | 2 | 12:40 | 300000 | 620000 | 12:30 | 850000 | 2100000
|  |  | 3 | 13:10 | 140000 | 390000 | 13:00 | 400000 | 470000
|  |  | 4 | 13:40 | 180000 | 380000 | 13:30 | 310000 | 380000
|  |  | 5 | 14:10 | 130000 | 760000 | 14:00 | 180000 | 420000
Event #4 | 2016-11-15 | 1.61" in 10 hrs 0.36" peak | 1 | 8:20 | 1500000 | 3100000 | 8:00 | 880000 | 1000000
|  |  | 2 | 8:50 | 800000 | 2600000 | 8:30 | 640000 | 450000
|  |  | 3 | 9:20 | 590000 | 860000 | 9:00 | 400000 | 400000
|  |  | 4 | 9:50 | 80000 | 720000 | 9:30 | 380000 | 630000
|  |  | 5 | 10:20 | 380000 | 760000 | 10:00 | 310000 | 650000
Event #5 | 2016-11-29 | 2.23" in 13 hrs 0.30" peak | 1 | 11:35 | 1140000 | 1300000 | 11:30 | 640000 | 1400000
|  |  | 2 | 12:05 | 600000 | 1300000 | 12:00 | 890000 | 1300000
|  |  | 3 | 12:35 | 350000 | 680000 | 12:30 | 540000 | 630000
|  |  | 4 | 13:05 | 170000 | 390000 | 13:00 | 160000 | 630000
|  |  | 5 | 13:35 | 220000 | 480000 | 13:30 | 270000 | 1000000
Event Details |  |  |  | Harlem River Combined Sewer Outfall Results Chemistry Results
|  |  |  | WIB-056 | [7 empty] | WIB-060
|  |  |  | Time | NO3 mg/L, N | NO2 mg/L, N | NH3 mg/L, N | TKN mg/L, N | TSS mg/L | SS mL/L | CBOD5 mg/L | Time | NO3 mg/L, N | NO2 mg/L, N | NH3 mg/L, N | TKN mg/L, N | TSS mg/L | SS mL/L | CBOD5 mg/L
Event #1 | 2016-04-26 | 0.30" in 15 hrs 0.13" peak | 1
2
|  |  | 3 | [6 empty] | Chemistry parameters were not analyzed for this event
4
5
Event #2 | 2016-05-01 | 0.15" in 13 hours 0.04" peak | 1
2
|  |  | 3 | [6 empty] | Chemistry parameters were not analyzed for this event
4
5
Event #3 | 2016-06-05 | 0.67" in 13 hrs 0.25" peak | 1
2
|  |  | 3 | [6 empty] | Chemistry parameters were not analyzed for this event
4
5
Event #4 | 2016-11-15 | 1.61" in 10 hrs 0.36" peak | 1 | 8:20 | 0.53 | ND | 7 | 12.1 | 154 | 0.75 | 103 | 8:00 | ND | ND | 6.2 | 12 | 200 | 4.5 | 119
|  |  | 2 | 8:50 | ND | ND | 6.4 | 13.9 | 132 | NS | 95.1 | 8:30 | ND | ND | 3.6 | 5.6 | 434 | NS | 100
|  |  | 3 | 9:20 | ND | ND | 6.8 | 12.4 | 78 | NS | 91.2 | 9:00 | ND | ND | 2.1 | 6.3 | 1060 | NS | 80.5
|  |  | 4 | 9:50 | 0.52 | ND | 4.5 | 8.6 | 41.1 | NS | 52.4 | 9:30 | ND | ND | 2.1 | 6.2 | 441 | NS | 85.6
|  |  | 5 | 10:20 | ND | ND | 2.3 | 6.5 | 80 | NS | 70.2 | 10:00 | ND | ND | 2 | 5.9 | 51.2 | NS | 50.9
Event #5 | 2016-11-29 | 2.23" in 13 hrs 0.30" peak | 1 | 11:35 | ND | ND | 6.4 | 13.6 | 110 | 4 | 111 | 11:30 | 0.55 | ND | 1.1 | 10.6 | 129 | 2.5 | 44.6
|  |  | 2 | 12:05 | 0.54 | ND | 3.4 | 10.3 | 146 | NS | 100 | 12:00 | ND | ND | 0.8 | 9.4 | 818 | NS | 97.7
|  |  | 3 | 12:35 | 0.54 | ND | 1.6 | 1.4 | 50.7 | NS | 43.8 | 12:30 | 0.55 | ND | 2.7 | 5.5 | 120 | NS | 60.9
|  |  | 4 | 13:05 | ND | ND | 1.2 | 5.1 | 46.7 | NS | 30.3 | 13:00 | 0.63 | ND | 2 | 4 | 172 | NS | 45.7
|  |  | 5 | 13:35 | 0.55 | ND | 0.79 | ND | 60 | NS | 32.5 | 13:30 | 0.55 | ND | 1.5 | 15.6 | 67 | NS | 38.4
with

## YSI Data
CSO Long Term Control Plan II
Registration No. CTC 826 20121443668
Contract: CSO-LTCP-02
Harlem River
Receiving Water Sampling YSI Data
CSO Long Term Control Plan - Receiving Water Sampling | [9 empty] | CSO Long Term Control Plan - Receiving Water Sampling
Harlem River YSI Data | [9 empty] | Harlem River YSI Data
Wet Weather Event | [9 empty] | Wet Weather Event
Date: | 2016-04-27 |  |  | Sample day |  | 1-AM |  |  |  | Date: | 2016-04-27 |  |  | Sample day |  | 1-PM
Sampled By: | Aga Giolbas and Vianney Acevedo | [8 empty] | Sampled By: | Aga Giolbas and Vianney Acevedo
DO Calibration | Yes | Target: |  | Reading: | [5 empty] | DO Calibration | Yes | Target: |  | Reading:
Courier drop off time (military) : |  |  |  | 11:55 | [5 empty] | Courier drop off time (military) : |  |  |  | 16:55
Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft) | Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft)
HAR-1 | 9:30 | 12.34 | 15.11 | 8.83 | 93.8 | 9.4 |  | 2 | 34 | HAR-1 | 14:35 | 13.1 | 19.01 | 11.33 | 84.5 | 8.2 |  | 2 | 38
| 9:33 | 12.24 | 19.33 | 11.53 | 89.8 | 8.99 |  | 32 | 34 |  | 14:37 | 12.01 | 30.74 | 19.1 | 74.9 | 7.15 |  | 36 | 38
HAR-2 | 9:50 | 12.33 | 19.61 | 11.71 | 90.6 | 9 |  | 2 | 23 | HAR-2 | 14:50 | 12.89 | 21.41 | 12.84 | 80.1 | 7.8 |  | 2 | 28
| 9:53 | 12.32 | 21.74 | 13.1 | 87.5 | 8.6 |  | 21 | 23 |  | 14:52 | 12.43 | 23.1 | 14 | 76.6 | 7.48 |  | 26 | 28
HAR-3 | 9:55 | 12.73 | 22.15 | 13.37 | 87.5 | 8.53 | X | 2 | 27 | HAR-3 | 15:00 | 18.83 | 20.59 | 12.34 | 77 | 7.53 |  | 2 | 27
| 9:58 | 12.7 | 22.35 | 13.5 | 91.2 | 8.88 |  | 25 | 27 |  | 15:02 | 12.82 | 20.6 | 12.35 | 73.8 | 7.18 |  | 25 | 27
HAR-4 | 10:25 | 12.75 | 30.39 | 18.86 | 85.4 | 8 |  | 2 | 24 | HAR-4 | 15:19 | 13.55 | 20.92 | 12.56 | 70.7 | 6.22 |  | 2 | 27
| 10:28 | 12.28 | 32.08 | 20.02 | 85.7 | 8.05 |  | 22 | 24 |  | 15:21 | 13.01 | 20.69 | 12.37 | 62 | 5.93 |  | 25 | 27
HAR-5 | 10:40 | 12.17 | 35.03 | 22.04 | 88.7 | 8.29 |  | 2 | 28 | HAR-5 | 15:32 | 12.73 | 29.99 | 18.6 | 58.6 | 5.53 |  | 2 | 31
| 10:43 | 12.03 | 35.09 | 22.08 | 88.3 | 8.18 |  | 26 | 28 |  | 15:34 | 12.12 | 34.37 | 21.58 | 50.2 | 5.01 |  | 29 | 31
HAR-6 | 10:50 | 12 | 35.89 | 22.63 | 87.4 | 8.14 |  | 2 | 18 | HAR-6 | 15:41 | 12.37 | 34.49 | 21.67 | 57.1 | 5.36 |  | 2 | 22
| 10:53 | 11.95 | 35.94 | 22.67 | 89.5 | 8.33 |  | 16 | 18 |  | 15:43 | 11.79 | 36.34 | 22.94 | 55 | 5.23 |  | 20 | 22
Notes: | DO sonde had to be replaced. Recalibration of DO at HAR-3 | [8 empty] | Notes: | Sewage smell at HAR-5
| No smell, no floatables, generally clean | [9 empty] | Few litter floatables
Duplicate taken in Hudson River
CSO Long Term Control Plan - Receiving Water Sampling | [9 empty] | CSO Long Term Control Plan - Receiving Water Sampling
Harlem River YSI Data | [9 empty] | Harlem River YSI Data
Wet Weather Event | [9 empty] | Wet Weather Event
Date: | 2016-04-28 |  |  | Sample day |  | 2-AM |  |  |  | Date: | 2016-04-28 |  |  | Sample day |  | 2-PM
Sampled By: | Laurie Stubenrauch and Alison Zachritz | [8 empty] | Sampled By: | Laurie Stubenrauch and Alison Zachritz
DO Calibration | Yes | Target: |  | Reading: | [5 empty] | DO Calibration | Yes | Target: |  | Reading:
Courier drop off time (military) : |  |  |  | 12:40 | [5 empty] | Courier drop off time (military) : |  |  |  | 17:36
Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft) | Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft)
HAR-1 | 9:35 | 12.56 | 13.83 | 8.02 | 69.2 | 7.47 |  | 2 | 38 | HAR-1 | 15:27 | 12.8 | 18.87 | 11.22 | 72.8 | 7.18 |  | 2 | 38
| 9:37 | 12.1 | 23.67 | 14.38 | 66 | 7.14 |  | 36 | 38 |  | 15:30 | 12.05 | 28.72 | 17.73 | 65.6 | 6.32 |  | 36 | 38
HAR-2 | 9:43 | 12.47 | 19.75 | 11.82 | 67.1 | 5.94 |  | 2 | 28 | HAR-2 | 15:42 | 12.67 | 20.06 | 11.96 | 66.3 | 6.47 |  | 2 | 30
| 9:45 | 12.54 | 19.84 | 11.85 | 66.6 | 6.57 |  | 26 | 28 |  | 15:46 | 12.3 | 21.77 | 13.07 | 62.8 | 6.2 |  | 28 | 30
HAR-3 | 9:51 | 12.52 | 22.34 | 13.5 | 73.5 | 7.07 |  | 2 | 27 | HAR-3 | 15:50 | 12.56 | 17.97 | 10.65 | 64.4 | 6.49 | X | 2 | 29
| 9:53 | 12.24 | 27.95 | 17.22 | 69.9 | 6.5 |  | 25 | 27 |  | 15:54 | 12.48 | 17.93 | 10.64 | 63.2 | 6.32 |  | 27 | 29
HAR-4 | 10:06 | 12.15 | 32.66 | 20.42 | 62.3 | 5.99 |  | 2 | 25 | HAR-4 | 16:15 | 12.53 | 18.3 | 10.87 | 61.8 | 6.1 |  | 2 | 27
| 10:08 | 11.85 | 32.88 | 20.57 | 63.8 | 6 |  | 23 | 25 |  | 16:18 | 12.59 | 18.48 | 10.99 | 60 | 5.9 |  | 25 | 27
HAR-5 | 10:18 | 11.95 | 35.32 | 22.24 | 53.5 | 5.02 |  | 2 | 27 | HAR-5 | 16:30 | 12.36 | 28.41 | 17.53 | 53 | 5.01 |  | 2 | 31
| 10:20 | 11.8 | 35.51 | 22.36 | 53.6 | 5 |  | 25 | 27 |  | 16:33 | 11.79 | 34.48 | 21.65 | 51.4 | 4.87 |  | 29 | 31
HAR-6 | 10:28 | 11.9 | 35.74 | 22.52 | 52.3 | 4.84 |  | 2 | 18 | HAR-6 | 16:38 | 11.69 | 35.78 | 22.57 | 50.8 | 4.68 |  | 2 | 21
| 10:30 | 11.56 | 37.42 | 23.73 | 50.2 | 4.77 |  | 16 | 18 |  | 16:42 | 11.81 | 35.7 | 22.5 | 50.3 | 4.73 |  | 19 | 21
Notes: | Duplicate taken in Hudson River | [8 empty] | Notes:
HAR-6 had sewage smells
CSO Long Term Control Plan - Receiving Water Sampling | [9 empty] | CSO Long Term Control Plan - Receiving Water Sampling
Harlem River YSI Data | [9 empty] | Harlem River YSI Data
Wet Weather Event | [9 empty] | Wet Weather Event
Date: | 2016-04-29 |  |  | Sample day |  | 3-AM |  |  |  | Date: | 2016-04-29 |  |  | Sample day |  | 3-PM
Sampled By: | Vianney Acevedo and Alison Zachritz | [8 empty] | Sampled By: | Vianney Acevedo and Alison Zachritz
DO Calibration | Yes | Target: |  | Reading: | [5 empty] | DO Calibration | Yes | Target: |  | Reading:
Courier drop off time (military) : |  |  |  | 12:51 | [5 empty] | Courier drop off time (military) : |  |  |  | 18:33
Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft) | Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft)
HAR-1 | 10:00 | 12.47 | 15.09 | 8.81 | 88.7 | 8.96 |  | 2 | 39 | HAR-1 | 16:10 | 12.66 | 17.57 | 10.39 | 87.4 | 8.68 |  | 2 | 42
| 10:02 | 12.21 | 23.15 | 14.02 | 87 | 8.51 |  | 37 | 39 |  | 16:13 | 11.86 | 31.19 | 19.42 | 80.5 | 7.72 |  | 40 | 42
HAR-2 | 10:49 | 12.51 | 20.2 | 12.08 | 87.9 | 8.66 |  | 2 | 29 | HAR-2 | 16:25 | 12.24 | 23.02 | 13.94 | 84.8 | 8.35 |  | 2 | 31
| 10:52 | 12.36 | 20.96 | 12.58 | 78.4 | 7.76 |  | 27 | 29 |  | 16:28 | 11.92 | 24.73 | 15.07 | 83.6 | 8.26 |  | 29 | 31
HAR-3 | 11:02 | 12.38 | 23.52 | 14.26 | 80.6 | 7.86 |  | 2 | 28 | HAR-3 | 16:43 | 12.26 | 20.13 | 12.04 | 85.4 | 8.49 | X | 2 | 28
| 11:04 | 12.17 | 28.71 | 17.73 | 80.5 | 7.73 |  | 26 | 28 |  | 16:46 | 12.31 | 20.61 | 12.36 | 88.2 | 8.68 |  | 26 | 28
HAR-4 | 11:16 | 12.01 | 32.38 | 20.22 | 79.1 | 7.5 |  | 2 | 24 | HAR-4 | 16:53 | 12.22 | 19.34 | 11.55 | 83.4 | 8.34 |  | 2 | 27
| 11:18 | 11.9 | 32.55 | 20.33 | 81.6 | 7.73 |  | 22 | 24 |  | 16:56 | 12.29 | 21.35 | 12.84 | 82.5 | 8.14 |  | 25 | 27
HAR-5 | 11:26 | 11.91 | 34.89 | 19.74 | 78.9 | 7.42 |  | 2 | 28 | HAR-5 | 17:00 | 12.08 | 29.84 | 18.49 | 83.2 | 7.86 |  | 2 | 31
| 11:28 | 11.79 | 35.1 | 22.08 | 80 | 7.53 |  | 26 | 28 |  | 17:04 | 11.81 | 33.88 | 21.15 | 76.4 | 7.25 |  | 29 | 31
HAR-6 | 11:35 | 11.86 | 33.35 | 20.92 | 83.2 | 7.87 |  | 2 | 18 | HAR-6 | 17:08 | 11.71 | 35.18 | 22.13 | 77.7 | 7.36 |  | 2 | 22
| 11:37 | 11.6 | 37.11 | 23.47 | 79.9 | 7.5 |  | 16 | 18 |  | 17:11 | 11.76 | 35.48 | 20.34 | 78.4 | 7.38 |  | 20 | 22
Notes: | Morning sampling session YSI may have read all DO (% and mg/L) high; ASI checked meter after sampling session and in DI water | [8 empty] | Notes: | Strong gasoline smell near boat basin around 1230, large amount was visible at 1530, AS sampler could feel it on his
| and it read 125% instead of 100%. ASI Staff recalibrated meter for afternoon session. | [9 empty] | gloves in afternoon
| Duplicate taken in the Hudson River | [9 empty] | NJ DEP, Channel 7 news crew, and HAZMAT truck all on site in afternoon
CSO Long Term Control Plan - Receiving Water Sampling | [9 empty] | CSO Long Term Control Plan - Receiving Water Sampling
Harlem River YSI Data | [9 empty] | Harlem River YSI Data
Dry Weather Event | [9 empty] | Dry Weather Event
Date: | 2016-04-30 |  |  | Sample day |  | 4-AM |  |  |  | Date: | 2016-04-30 |  |  | Sample day |  | 4-PM
Sampled By: | Vianney Acevedo and Alison Zachritz | [8 empty] | Sampled By: | Vianney Acevedo and Alison Zachritz
DO Calibration | Yes | Target: |  | Reading: | [5 empty] | DO Calibration | Yes | Target: |  | Reading:
Courier drop off time (military) : |  |  |  | 10:02 | [5 empty] | Courier drop off time (military) : |  |  |  | 15:00
Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft) | Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft)
HAR-1 | 7:40 | 11.94 | 17.59 | 10.4 | 85.9 | 8.66 |  | 2 | 37 | HAR-1 | 12:19 | 13.71 | 13.5 | 7.33 | 93.6 | 9.24 |  | 2 | 39
| 7:44 | 11.87 | 19.8 | 11.83 | 83.6 | 8.4 |  | 35 | 37 |  | 12:21 | 12.68 | 27.06 | 16.62 | 82.5 | 7.88 | X | 37 | 39
HAR-2 | 8:07 | 11.98 | 20.94 | 12.57 | 84.8 | 8.44 |  | 2 | 28 | HAR-2 | 12:28 | 13.04 | 17.94 | 10.63 | 87.2 | 8.57 |  | 2 | 26
| 8:11 | 12.03 | 20.92 | 12.56 | 84.6 | 8.42 |  | 26 | 28 |  | 12:30 | 12.74 | 19.88 | 11.89 | 89.1 | 8.72 |  | 24 | 26
HAR-3 | 8:26 | 12.09 | 21.16 | 12.72 | 91.3 | 8.97 | X | 2 | 26 | HAR-3 | 12:40 | 12.86 | 19.82 | 11.84 | 86.3 | 8.46 |  | 2 | 26
| 8:30 | 12.13 | 21.2 | 12.74 | 86.2 | 8.57 |  | 24 | 26 |  | 12:42 | 12.99 | 19.7 | 11.76 | 88.2 | 8.56 |  | 24 | 26
HAR-4 | 8:45 | 11.98 | 30.93 | 19.22 | 90 | 8.53 |  | 2 | 24 | HAR-4 | 12:52 | 13.09 | 23.84 | 14.48 | 83.5 | 7.98 |  | 2 | 24
| 8:48 | 11.99 | 31.16 | 19.32 | 83.4 | 8.11 |  | 22 | 24 |  | 12:54 | 12.9 | 28.3 | 17.46 | 83.5 | 7.86 |  | 22 | 24
HAR-5 | 8:56 | 11.9 | 32.07 | 20 | 92.1 | 8.65 |  | 2 | 27 | HAR-5 | 13:00 | 12.62 | 32.98 | 20.64 | 80.2 | 7.46 |  | 2 | 27
| 8:59 | 11.88 | 35.29 | 22.22 | 83.3 | 7.8 |  | 25 | 27 |  | 13:02 | 12.81 | 32.89 | 20.6 | 81 | 7.51 |  | 25 | 27
HAR-6 | 9:03 | 11.87 | 35.79 | 22.55 | 83.9 | 7.95 |  | 2 | 17 | HAR-6 | 13:09 | 12.7 | 34.4 | 21.62 | 88.9 | 8.17 |  | 2 | 16
| 9:07 | 11.64 | 36.31 | 22.72 | 85.1 | 7.99 |  | 15 | 17 |  | 13:11 | 12.47 | 34.71 | 21.83 | 85.4 | 7.92 |  | 14 | 16
Notes: | [9 empty] | Notes: | Duplicate taken in the Hudson River
CSO Long Term Control Plan - Receiving Water Sampling | [9 empty] | CSO Long Term Control Plan - Receiving Water Sampling
Harlem River YSI Data | [9 empty] | Harlem River YSI Data
Wet Weather Event | [9 empty] | Wet Weather Event
Date: | 2016-06-06 |  |  | Sample day |  | 1 - AM |  |  |  | Date: | 2016-06-06 |  |  | Sample day |  | 1 - PM
Sampled By: | Laurie Stubenrauch and Alison Zachritz | [8 empty] | Sampled By: | Laurie Stubenrauch and Alison Zachritz
DO Calibration | Yes | Target: | 100% | Reading: | 99.47% |  |  |  |  | DO Calibration | YES | Target: | 100% | Reading: | 99.4%
Courier drop off time (military) : |  |  |  | 11:55 | [5 empty] | Courier drop off time (military) : |  |  |  | 17:55
Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft) | Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft)
HAR-1 | 9:12 | 20.88 | 18.46 | 10.96 | 85.2 | 7.12 |  | 2 | 38.5 | HAR-1 | 15:42 | 20.89 | 20.42 | 12.23 | 76 | 6.31 |  | 2 | 38
| 9:14 | 20.1 | 23.23 | 14.08 | 80.9 | 6.71 |  | 36.5 | 38.5 |  | 15:44 | 20.78 | 20.34 | 12.18 | 76.5 | 6.36 |  | 36 | 38
HAR-2 | 9:35 | 20.53 | 21.79 | 13.13 | 79.5 | 6.6 |  | 2 | 24.3 | HAR-2 | 15:52 | 20.62 | 22.47 | 13.58 | 75.6 | 6.24 |  | 2 | 24
| 9:38 | 20.01 | 23.08 | 15.21 | 80.9 | 6.68 |  | 22.3 | 24.3 |  | 15:54 | 20.46 | 22.81 | 13.8 | 76.4 | 6.34 |  | 22 | 24
HAR-3 | 9:50 | 20.69 | 21.02 | 12.62 | 79.4 | 6.61 | X | 2 | 27.8 | HAR-3 | 16:04 | 19.97 | 29.89 | 18.56 | 74.8 | 6.1 |  | 2 | 24
| 9:53 | 20.5 | 21.11 | 12.68 | 80.6 | 6.7 |  | 25.8 | 27.8 |  | 16:06 | 19.75 | 30.72 | 19.14 | 73.8 | 6.02 |  | 22 | 24
HAR-4 | 10:13 | 21.18 | 20.25 | 12.12 | 80.5 | 6.63 |  | 2 | 26.2 | HAR-4 | 16:23 | 19.68 | 34.53 | 21.76 | 73 | 5.85 | X | 2 | 23.2
| 10:16 | 20.77 | 20.1 | 12.02 | 78.4 | 6.53 |  | 24.2 | 26.2 |  | 16:25 | 19.33 | 34.68 | 21.86 | 71.9 | 5.82 |  | 21.2 | 23.2
HAR-5 | 10:45 | 21.54 | 24.13 | 14.66 | 81.8 | 6.54 |  | 2 | 19.3 | HAR-5 | 16:42 | 19.26 | 36.61 | 23.21 | 75.1 | 6.04 |  | 2 | 25.8
| 10:48 | 20.3 | 24.49 | 14 | 77.2 | 6.32 |  | 17.3 | 19.3 |  | 16:43 | 18.83 | 36.66 | 23.24 | 77.2 | 6.26 |  | 23.8 | 25.8
HAR-6 | 10:57 | 19.94 | 33.53 | 21 | 73.6 | 5.8 |  | 2 | 20.4 | HAR-6 | 17:04 | 19.06 | 36.85 | 23.37 | 75 | 6.05 |  | 2 | 15.3
| 11:00 | 19 | 35.43 | 22.39 | 72.2 | 5.8 |  | 18.4 | 20.4 |  | 17:06 | 18.43 | 37.36 | 23.73 | 75.6 | 6.14 |  | 13.3 | 15.3
Notes: | [9 empty] | Notes:
CSO Long Term Control Plan - Receiving Water Sampling | [9 empty] | CSO Long Term Control Plan - Receiving Water Sampling
Harlem River YSI Data | [9 empty] | Harlem River YSI Data
Wet Weather Event | [9 empty] | Wet Weather Event
Date: | 2016-06-07 |  |  | Sample day |  | 2 - AM |  |  |  | Date: | 2016-06-07 |  |  | Sample day |  | 2 - PM
Sampled By: | Laurie Stubenrauch and Alison Zachritz | [8 empty] | Sampled By: | Laurie Stubenrauch and Alison Zachritz
DO Calibration | YES | Target: | 100% | Reading: | 98.3 |  |  |  |  | DO Calibration |  | Target: | 100% | Reading: | 98.2%
Courier drop off time (military) : |  |  |  | 11:02 | [5 empty] | Courier drop off time (military) : |  |  |  | 16:47
Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft) | Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft)
HAR-1 | 8:29 | 21.3 | 17.3 | 10.21 | 91.2 | 7.61 |  | 2 | 30 | HAR-1 | 14:30 | 21.73 | 21.98 | 13.19 | 53.6 | 4.46 |  | 2 | 39.6
| 8:31 | 20.87 | 19.15 | 11.4 | 89.3 | 7.46 |  | 28 | 30 |  | 14:33 | 21.77 | 21.79 | 13.09 | 43.5 | 3.56 |  | 37.6 | 39.6
HAR-2 | 8:51 | 21.05 | 19.13 | 11.4 | 89.7 | 7.42 |  | 2 | 25 | HAR-2 | 14:42 | 21.59 | 19.57 | 11.68 | 45.3 | 3.71 |  | 2 | 29.6
| 8:53 | 20.94 | 19.14 | 11.4 | 87.8 | 7.32 |  | 23 | 25 |  | 14:46 | 21.47 | 19.1 | 11.32 | 47 | 3.86 |  | 27.6 | 29.6
HAR-3 | 9:00 | 20.88 | 19.99 | 11.95 | 87.2 | 7.24 |  | 2 | 22 | HAR-3 | 14:50 | 21.76 | 19.45 | 11.59 | 47.8 | 3.9 | X | 2 | 24.5
| 9:02 | 20.79 | 20.08 | 12.01 | 89.5 | 7.41 |  | 20 | 22 |  | 14:53 | 21.44 | 13.23 | 8.64 | 48.4 | 4.09 |  | 22.5 | 24.5
HAR-4 | 9:13 | 20.37 | 27.47 | 16.92 | 81.6 | 6.62 |  | 2 | 25.5 | HAR-4 | 15:08 | 20.88 | 28.37 | 17.52 | 44.1 | 3.56 |  | 2 | 27.7
| 9:15 | 20.77 | 28.2 | 17.82 | 77.81 | 6.94 |  | 23.5 | 25.5 |  | 15:12 | 20.7 | 28.48 | 17.61 | 43.5 | 3.52 |  | 25.7 | 27.7
HAR-5 | 9:22 | 19.49 | 34.67 | 21.85 | 80.6 | 6.51 |  | 2 | 29.5 | HAR-5 | 15:15 | 21.42 | 30.35 | 18.86 | 46.8 | 3.71 |  | 2 | 29.5
| 9:24 | 19.37 | 34.88 | 22 | 76.8 | 6.2 | X | 27.5 | 29.5 |  | 15:18 | 19.86 | 35.52 | 22.41 | 45.4 | 3.55 |  | 27.5 | 29.5
HAR-6 | 9:29 | 19.16 | 36.09 | 22.84 | 80 | 6.44 |  | 2 | 17 | HAR-6 | 15:22 | 19.6 | 37.32 | 23.69 | 46.4 | 3.66 |  | 2 | 24
| 9:31 | 19.06 | 36.15 | 22.89 | 82.2 | 6.64 |  | 15 | 17 |  | 15:25 | 19.1 | 37.24 | 23.67 | 44.6 | 3.59 |  | 22 | 24
Notes: | [9 empty] | Notes: |  | Harlem River DO values looked low so YSI was recalibrated after Har-1
Conductivity converted to specific conductance
CSO Long Term Control Plan - Receiving Water Sampling | [9 empty] | CSO Long Term Control Plan - Receiving Water Sampling
Harlem River YSI Data | [9 empty] | Harlem River YSI Data
Wet Weather Event | [9 empty] | Wet Weather Event
Date: | 2016-06-08 |  |  | Sample day |  | 3 - AM |  |  |  | Date: | 2016-06-08 |  |  | Sample day |  | 3- PM
Sampled By: | Laurie Stubenrauch and Vianney Acevedo | [8 empty] | Sampled By: | Laurie Stubenrauch and Vianney Acevedo
DO Calibration | Yes | Target: | 100% | Reading: | 96% |  |  |  |  | DO Calibration |  | Target: | 100% | Reading: | 96.2%
Courier drop off time (military) : |  |  |  | 11:00 | [5 empty] | Courier drop off time (military) :
Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft) | Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft)
HAR-1 | 8:20 | 20.65 | 16.47 | 9.69 | 85.4 | 7.43 | X | 2 | 41 | HAR-1 | Sampling cancelled due to storm
| 8:23 | 20.7 | 17.42 | 10.29 | 87.9 | 7.43 |  | 39 | 41
HAR-2 | 8:40 | 20.65 | 18.61 | 11.06 | 75.7 | 6.33 |  | 2 | 25.6 | HAR-2
| 8:43 | 20.6 | 18.94 | 11.27 | 75.5 | 6.28 |  | 23.6 | 25.6
HAR-3 | 8:49 | 19.97 | 24.61 | 15.01 | 71.7 | 5.94 |  | 2 | 25 | HAR-3
| 8:51 | 19.9 | 26.64 | 16.36 | 68.3 | 5.69 |  | 23 | 25
HAR-4 | 9:00 | 19.39 | 32.68 | 20.48 | 67.3 | 5.48 |  | 2 | 23.6 | HAR-4
| 9:03 | 19.33 | 32.89 | 20.62 | 66.8 | 5.43 |  | 21.6 | 23.6
HAR-5 | 9:10 | 19.04 | 35.02 | 22.1 | 70.5 | 5.63 |  | 2 | 30.7 | HAR-5
| 9:13 | 18.94 | 35.24 | 22.26 | 68.6 | 5.55 |  | 28.7 | 30.7
HAR-6 | 9:17 | 18.84 | 35.88 | 22.7 | 67.2 | 5.45 |  | 2 | 19.2 | HAR-6
| 9:20 | 18.81 | 36.26 | 22.97 | 67.3 | 5.45 |  | 17.2 | 19.2
Notes: | [9 empty] | Notes:
CSO Long Term Control Plan - Receiving Water Sampling | [9 empty] | CSO Long Term Control Plan - Receiving Water Sampling
Harlem River YSI Data | [9 empty] | Harlem River YSI Data
Wet Weather Event | [9 empty] | Wet Weather Event
Date: | 2016-06-09 |  |  | Sample day |  | 4 - AM |  |  |  | Date: | 2016-06-09 |  |  | Sample day |  | 4 - PM
Sampled By: | Laurie Stubenrauch and Vianney Acevedo | [8 empty] | Sampled By: | Laurie Stubenrauch and Vianney Acevedo
DO Calibration |  | Target: | 100% | Reading: | 98.1% |  |  |  |  | DO Calibration | Yes | Target: | 100% | Reading:
Courier drop off time (military) : |  |  |  | 11:30 | [5 empty] | Courier drop off time (military) : |  |  |  | 17:30
Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft) | Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft)
HAR-1 | 8:56 | 20.14 | 14.85 | 8.67 | 72.8 | 6.36 |  | 2 | 36 | HAR-1 | 14:26 | 20.3 | 18.61 | 11.66 | 64 | 5.41 |  | 2 | 40.3
| 8:58 | 19.86 | 15.63 | 9.16 | 74.5 | 6.42 |  | 34 | 36 |  | 14:29 | 20.15 | 19.22 | 11.45 | 62.9 | 5.33 |  | 38.3 | 40.3
HAR-2 | 9:13 | 19.98 | 17.07 | 10.07 | 70.7 | 5.99 |  | 2 | 21.8 | HAR-2 | 14:47 | 20.92 | 16.03 | 9.41 | 65.5 | 5.55 | X | 2 | 23.9
| 9:15 | 19.87 | 19.32 | 11.53 | 67.8 | 5.76 |  | 19.8 | 21.8 |  | 14:50 | 20.64 | 16.69 | 9.83 | 66.6 | 5.62 |  | 21.9 | 23.9
HAR-3 | 9:23 | 19.44 | 24.02 | 14.61 | 61 | 5.14 | X | 2 | 19.5 | HAR-3 | 14:55 | 20.82 | 14.78 | 8.62 | 68.2 | 5.81 |  | 2 | 29.3
| 9:25 | 19.31 | 25.08 | 15.32 | 59.5 | 5.02 |  | 17.5 | 19.5 |  | 14:58 | 20.94 | 14.97 | 8.73 | 67.1 | 5.67 |  | 27.3 | 29.3
HAR-4 | 9:35 | 18.77 | 31.19 | 19.46 | 61.8 | 5.13 |  | 2 | 22 | HAR-4 | 15:08 | 20.78 | 8.77 | 4.82 | 68.1 | 5.92 |  | 2 | 27.7
| 9:37 | 18.67 | 31.41 | 19.6 | 60 | 4.96 |  | 20 | 22 |  | 15:11 | 20.77 | 14.89 | 8.69 | 67.8 | 5.76 |  | 25.7 | 27.7
HAR-5 | 9:46 | 18.51 | 34.19 | 21.53 | 61 | 5 |  | 2 | 29.4 | HAR-5 | 15:18 | 20.17 | 22.37 | 13.52 | 65.7 | 5.47 |  | 2 | 28.7
| 9:48 | 18.37 | 34.45 | 21.71 | 60.5 | 4.97 |  | 27.4 | 29.4 |  | 15:21 | 19.55 | 28.32 | 17.5 | 62.6 | 5.11 |  | 26.7 | 28.7
HAR-6 | 9:53 | 18.29 | 35.68 | 22.56 | 61.6 | 5.07 |  | 2 | 15.5 | HAR-6 | 15:25 | 19.13 | 20.89 | 11.7 | 60.5 | 5.01 |  | 2 | 21.5
| 9:55 | 18.08 | 35.99 | 22.77 | 60.1 | 4.94 |  | 13.5 | 15.5 |  | 15:28 | 18.93 | 33.69 | 21.17 | 60.3 | 4.94 |  | 19.5 | 21.5
Notes: | Water appears murky | [8 empty] | Notes:
CSO Long Term Control Plan - Receiving Water Sampling | [9 empty] | CSO Long Term Control Plan - Receiving Water Sampling
Hudson and Harlem River YSI Data | [9 empty] | Hudson and Harlem River YSI Data
Wet Weather Event | [9 empty] | Wet Weather Event
Date: | 2016-11-16 |  |  | Sample day |  | 1 - AM |  |  |  | Date: | 2016-11-16 |  |  | Sample day |  | 1 - PM
Sampled By: | Laurie Stubenrauch and Chris Oommen | [8 empty] | Sampled By: | Laurie Stubenrauch and Chris Oommen
DO Calibration | Yes | Target: | 100% | Reading: | 98.2% |  |  |  |  | DO Calibration | YES | Target: | 100% | Reading: | 98.2%
Courier drop off time (military) : 12:14 | [9 empty] | Courier drop off time (military) :16:45
Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft) | Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft)
HAR-1 | 9:10 | 12.15 | 27.096 | 16.64 | 90.3 | 8.7 |  | 2 | 41 | HAR-1 | 14:29 | 12.5 | 23.603 | 14.33 | 92 | 8.92 |  | 2 | 37
| 9:13 | 12.1 | 27.882 | 17.17 | 91.4 | 8.77 |  | 39 | 41 |  | 14:31 | 12.62 | 26.688 | 16.37 | 90.9 | 8.66 |  | 35 | 37
HAR-2 | 9:16 | 12.2 | 26.356 | 16.14 | 90.3 | 8.69 |  | 2 | 25 | HAR-2 | 14:51 | 12.65 | 28.373 | 17.5 | 87 | 8.28 |  | 2 | 26
| 9:19 | 12.25 | 26.401 | 16.18 | 90.1 | 8.67 |  | 23 | 25 |  | 14:53 | 12.44 | 28.877 | 17.85 | 89 | 8.44 |  | 24 | 26
HAR-3 | 9:30 | 12.22 | 25.867 | 15.82 | 88.6 | 8.6 |  | 2 | 30 | HAR-3 | 15:01 | 12.55 | 34.873 | 89.4 | 88.7 | 8.27 |  | 2 | 25
| 9:33 | 12.16 | 25.96 | 15.88 | 88.9 | 8.61 |  | 28 | 30 |  | 15:03 | 12.58 | 34.59 | 21.73 | 86.2 | 8.01 |  | 23 | 25
HAR-4 | 9:54 | 12.04 | 23.021 | 13.93 | 87.8 | 8.66 |  | 2 | 27.5 | HAR-4 | 15:13 | 12.74 | 37.573 | 23.82 | 86.2 | 7.84 |  | 2 | 23
| 9:57 | 12.08 | 23.004 | 13.92 | 86.7 | 8.53 |  | 25.5 | 27.5 |  | 15:15 | 12.73 | 37.689 | 23.9 | 89.2 | 8.06 |  | 21 | 23
HAR-5 | 10:13 | 12.1 | 26.369 | 16.15 | 87.7 | 8.48 |  | 2 | 31 | HAR-5 | 15:28 | 12.75 | 38.629 | 24.57 | 86 | 7.8 |  | 2 | 25
| 10:16 | 12.18 | 29.11 | 17.99 | 88.6 | 8.45 |  | 29 | 31 |  | 15:30 | 12.67 | 38.596 | 24.54 | 87.7 | 7.98 |  | 23 | 25
HAR-6 | 10:24 | 12.46 | 34.535 | 21.71 | 87.4 | 8.14 | X | 2 | 21.5 | HAR-6 | 15:36 | 12.65 | 39.032 | 24.84 | 89.2 | 8.09 |  | 2 | 16.5
| 10:27 | 12.44 | 37.97 | 24.09 | 89 | 8.17 |  | 19.5 | 21.5 |  | 15:39 | 12.52 | 39.536 | 25.19 | 90.2 | 8.18 |  | 14.5 | 16.5
[10 empty] | Notes: | PM run started at 14:00 due to late AM start; could not start PM later due to park closing and daylight
Notes: | Some trash and debris from Har2 - Har6 | [9 empty] | Duplicate sample not recorded, most likely HAR-6
CSO Long Term Control Plan - Receiving Water Sampling | [9 empty] | CSO Long Term Control Plan - Receiving Water Sampling
Harlem River YSI Data | [9 empty] | Harlem River YSI Data
Wet Weather Event | [9 empty] | Wet Weather Event
Date: | 2016-11-17 |  |  | Sample day |  | 2 - AM |  |  |  | Date: | 2016-11-17 |  |  | Sample day |  | 2 - PM
Sampled By: | Laurie Stubenrauch and Aga Giolbas | [8 empty] | Sampled By: | Laurie Stubenrauch and Aga Giolbas
DO Calibration | YES | Target: | 100% | Reading: | 98.4% |  |  |  |  | DO Calibration |  | Target: | 100% | Reading: | 98.4
Courier drop off time (military) : |  |  |  | 10:50 | [5 empty] | Courier drop off time (military) : |  |  |  | 16:41
Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft) | Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft)
HAR-1 | 7:55 | 11.68 | 20.236 | 12.11 | 81.9 | 8.22 |  | 2 | 38.5 | HAR-1 | 13:30 | 12.67 | 24.906 | 15.19 | 83.9 | 8.08 |  | 2 | 40
| 7:58 | 11.62 | 20.637 | 12.37 | 83.5 | 8.37 |  | 36.5 | 38.5 |  | 13:33 | 12.65 | 30.616 | 19.03 | 81.7 | 7.69 |  | 38 | 40
HAR-2 | 8:12 | 11.82 | 21.316 | 12.81 | 82.6 | 8.23 |  | 2 | 23 | HAR-2 | 13:45 | 13.17 | 23.091 | 13.99 | 88.6 | 8.45 |  | 2 | 26
| 8:15 | 12.03 | 21.444 | 12.9 | 85.8 | 8.49 |  | 21 | 23 |  | 13:48 | 12.78 | 22.824 | 13.87 | 89.7 | 8.2 |  | 24 | 26
HAR-3 | 8:22 | 11.95 | 22.051 | 13.29 | 83.2 | 8.26 |  | 2 | 27.5 | HAR-3 | 13:57 | 12.29 | 21.998 | 13.27 | 87.5 | 8.6 |  | 2 | 26
| 8:25 | 12 | 21.966 | 13.24 | 85 | 8.39 |  | 25.5 | 27.5 |  | 14:00 | 12.27 | 22.017 | 13.27 | 84.9 | 8.63 |  | 24 | 26
HAR-4 | 8:36 | 12.17 | 29.097 | 17.99 | 81.9 | 7.78 |  | 2 | 24 | HAR-4 | 14:11 | 12.58 | 32.587 | 20.7 | 81.5 | 7.62 | X | 2 | 25
| 8:39 | 12.25 | 30.739 | 19.1 | 82.2 | 7.81 |  | 22 | 24 |  | 14:14 | 12.96 | 32.964 | 20.65 | 81.3 | 7.53 |  | 23 | 25
HAR-5 | 8:50 | 12.36 | 36.637 | 23.16 | 79.8 | 7.36 |  | 2 | 27 | HAR-5 | 14:30 | 13.25 | 37.765 | 23.96 | 84.7 | 7.62 |  | 2 | 29
| 8:53 | 12.36 | 36.868 | 23.32 | 80.6 | 7.48 |  | 25 | 27 |  | 14:33 | 12.94 | 34.43 | 21.7 | 82.7 | 7.59 |  | 27 | 29
HAR-6 | 9:02 | 12.44 | 37.747 | 23.93 | 80 | 7.34 | X | 2 | 17 | HAR-6 | 14:45 | 12.86 | 38.79 | 24.67 | 85.6 | 7.74 |  | 2 | 19
| 9:05 | 12.48 | 37.838 | 24 | 82.8 | 7.59 |  | 15 | 17 |  | 14:48 | 12.72 | 38.85 | 24.71 | 84 | 7.59 |  | 17 | 19
Notes: | [9 empty] | Notes:
CSO Long Term Control Plan - Receiving Water Sampling | [9 empty] | CSO Long Term Control Plan - Receiving Water Sampling
Harlem River YSI Data | [9 empty] | Harlem River YSI Data
Wet Weather Event | [9 empty] | Wet Weather Event
Date: | 2016-11-18 |  |  | Sample day |  | 3 - AM |  |  |  | Date: | 2016-11-18 |  |  | Sample day |  | 3- PM
Sampled By: | Laurie Stubenrauch and Chris Oommen | [8 empty] | Sampled By: | Laurie Stubenrauch and Chris Oommen
DO Calibration | Yes | Target: | 100% | Reading: | 98.4% |  |  |  |  | DO Calibration |  | Target: | 100% | Reading: | 98.4%
Courier drop off time (military) : |  |  |  | 11:56 | [5 empty] | Courier drop off time (military) : |  |  |  | 16:41
Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft) | Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft)
HAR-1 | 8:10 | 11.38 | 19.256 | 11.47 | 84.5 | 8.54 |  | 2 | 39 | HAR-1 | 14:11 | 12.54 | 26.195 | 16.04 | 82.4 | 7.91 |  | 2 | 40
| 8:13 | 11.72 | 23.01 | 13.92 | 82.3 | 8.18 |  | 37 | 39 |  | 14:14 | 12.44 | 25.097 | 15.31 | 84.2 | 8.16 |  | 38 | 40
HAR-2 | 8:42 | 11.54 | 21.138 | 12.69 | 83.9 | 8.34 |  | 2 | 24 | HAR-2 | 14:21 | 12.76 | 23.377 | 14.17 | 85.7 | 8.27 |  | 2 | 24
| 8:45 | 11.76 | 21.197 | 12.73 | 81.4 | 8.14 |  | 22 | 24 |  | 14:24 | 12.49 | 23.253 | 14.09 | 87.5 | 8.48 |  | 22 | 24
HAR-3 | 8:51 | 11.78 | 23.554 | 14.28 | 84 | 8.32 |  | 2 | 27 | HAR-3 | 14:33 | 12.34 | 21.794 | 13.13 | 86.6 | 8.49 |  | 2 | 28.5
| 8:54 | 11.87 | 23.58 | 14.3 | 84.1 | 8.31 |  | 25 | 27 |  | 14:36 | 12.35 | 21.72 | 13.08 | 88.4 | 8.65 |  | 26.5 | 28.5
HAR-4 | 9:06 | 11.93 | 31.72 | 19.76 | 81.8 | 7.76 |  | 2 | 24 | HAR-4 | 14:50 | 12.52 | 29.628 | 18.38 | 82.9 | 7.83 |  | 2 | 25.5
| 9:09 | 12.01 | 33.286 | 20.84 | 80.4 | 7.57 |  | 22 | 24 |  | 14:53 | 12.49 | 30.289 | 18.8 | 85 | 7.98 |  | 23.5 | 25.5
HAR-5 | 9:20 | 12.11 | 36.555 | 23.1 | 79 | 7.3 |  | 2 | 27 | HAR-5 | 15:04 | 13.09 | 33.295 | 20.87 | 84.4 | 7.75 |  | 2 | 30
| 9:23 | 12.16 | 36.901 | 23.33 | 83.5 | 7.66 |  | 25 | 27 |  | 15:07 | 12.78 | 37.612 | 23.86 | 84.6 | 7.65 |  | 28 | 30
HAR-6 | 9:30 | 12.28 | 37.847 | 24 | 77.4 | 7.12 | X | 2 | 16 | HAR-6 | 15:15 | 12.79 | 38.232 | 24.29 | 79.9 | 7.27 |  | 2 | 30
| 9:33 | 12.36 | 37.985 | 24.1 | 81.2 | 7.42 |  | 14 | 16 |  | 15:18 | 12.66 | 38.246 | 24.3 | 83 | 7.57 |  | 28 | 30
Notes: | Small outfall across from iHeart Radio sign was flowing (Harlem River) | [8 empty] | Notes: | Some trash and debris from HAR2-HAR6
Duplicate sample taken but not recorded, most likely HAR-6
CSO Long Term Control Plan - Receiving Water Sampling | [9 empty] | CSO Long Term Control Plan - Receiving Water Sampling
Harlem River YSI Data | [9 empty] | Harlem River YSI Data
Dry Weather Event | [9 empty] | Dry Weather Event
| 2016-11-19 |  |  | Sample day |  | 4 - AM |  |  |  | Date: | 2016-11-19 |  |  | Sample day |  | 4 - PM
Sampled By: | Laurie Stubenrauch and Jason Reynolds | [8 empty] | Sampled By: | Laurie Stubenrauch and Jason Reynolds
DO Calibration |  | Target: | 100% | Reading: | 99.5% |  |  |  |  | DO Calibration | Yes | Target: | 100% | Reading: | 99.5%
Courier drop off time (military) : |  |  |  | 10:40 | [5 empty] | Courier drop off time (military) : |  |  |  | 16:40
Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft) | Station | Time (military) | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at this Station | Depth of Sample (ft) | Depth at Station (ft)
HAR-1 | 8:25 | 11.67 | 20.63 | 12.33 | 83.8 | 8.41 |  | 2 | 38 | HAR-1 | 13:55 | 12.69 | 31.275 | 19.48 | 84.4 | 7.92 |  | 2 | 40.6
| 8:28 | 12 | 28.648 | 17.67 | 81.3 | 7.82 |  | 36 | 38 |  | 13:57 | 12.7 | 33.212 | 20.8 | 85.1 | 7.78 |  | 38.6 | 40.6
HAR-2 | 8:42 | 12.16 | 26.378 | 16.16 | 86 | 8.29 |  | 2 | 22 | HAR-2 | 14:07 | 12.91 | 29.163 | 18.05 | 81.3 | 7.67 |  | 2 | 30
| 8:45 | 12.22 | 30.039 | 18.63 | 84.6 | 8.02 |  | 20 | 22 |  | 14:10 | 12.6 | 29.902 | 18.54 | 82.8 | 7.74 |  | 28 | 30
HAR-3 | 8:55 | 12.23 | 32.424 | 21.62 | 82.9 | 7.74 |  | 2 | 26 | HAR-3 | 14:15 | 12.54 | 28.043 | 17.28 | 82.3 | 7.83 |  | 2 | 28.5
| 8:58 | 12.28 | 35.513 | 22.38 | 81 | 7.54 |  | 24 | 26 |  | 14:18 | 12.41 | 28.301 | 17.46 | 82.2 | 7.82 |  | 26.5 | 28.5
HAR-4 | 9:06 | 12.31 | 37.942 | 24.07 | 80.8 | 7.41 |  | 2 | 24 | HAR-4 | 14:26 | 12.44 | 24.631 | 15.01 | 82.1 | 7.95 |  | 2 | 28
| 9:09 | 12.39 | 38.037 | 24.14 | 83.8 | 7.57 |  | 22 | 24 |  | 14:29 | 12.37 | 24.545 | 15.02 | 81.6 | 7.93 |  | 26 | 28
HAR-5 | 9:18 | 12.43 | 38.595 | 24.53 | 81.2 | 7.41 |  | 2 | 27 | HAR-5 | 14:41 | 12.9 | 33.064 | 20.71 | 83.5 | 7.69 |  | 2 | 30
| 9:21 | 12.53 | 38.726 | 24.63 | 82.7 | 7.51 |  | 25 | 27 |  | 14:44 | 12.77 | 37.038 | 23.45 | 79 | 7.22 |  | 28 | 30
HAR-6 | 9:33 | 12.8 | 39.318 | 25.05 | 82.5 | 7.43 | X | 2 | 16 | HAR-6 | 14:52 | 12.85 | 39.417 | 25.12 | 79.7 | 7.16 | X | 2 | -
| 9:36 | 12.52 | 20.347 | 12.14 | 82.3 | 8.11 |  | 14 | 16 |  | 14:55 | 12.69 | 39.355 | 25.08 | 82.7 | 7.5 |  | - | -
[10 empty] | Notes: | HAR-6 depth not recorded
Notes:
Landside Sampling YSI Data
Citywide Phase 1 Long Term Control Plan | [9 empty] | Citywide Phase 1 Long Term Control Plan
Wet Weather Sampling - Field Data Sheet (Landside Crew) | [9 empty] | Wet Weather Sampling - Field Data Sheet (Landside Crew)
CSO | [9 empty] | CSO
Date: 04/26/2016 | [9 empty] | Date: 04/26/2016
Sampled By: | Wayne Price/ Savin | [8 empty] | Sampled By: Vianny Acevedo/ Nova
Courier time: | 19:30 | YSI Calibrated Prior to Sampling? Yes If No, please explain: | [7 empty] | Courier time: | 19:30 | YSI Calibrated Prior to Sampling? Yes If No, please explain:
Station | Time | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at This Station | Flow at the location Yes/No |  | Station | Time | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at This Station | Flow at the location Yes/No
WIB-056-1 | 17:03 | 17.1 | 1.066 | 0.6 | 60 | 5.8 | No | Yes |  | WIB-060-1 | 17:02 | 18.04 | 4.971 | 2.68 | 58.7 | 5.42 | No | Yes
WIB-056-2 | 17:33 | 17 | 1.473 | 0.8 | 73 | 6.9 | Yes | Yes |  | WIB-060-2 | Tide gate closed
WIB-056-3 | 18:03 | 16.8 | 1.931 | 1.2 | 77 | 7.4 | No | Yes |  | WIB-060-3
WIB-056-4 | 18:33 | 16.7 | 2.298 | 1.4 | 76 | 7.2 | No | Yes |  | WIB-060-4
WIB-056-5 | Tide gate closed | [8 empty] | WIB-060-5
Notes: | [9 empty] | Notes:
Citywide Phase 1 Long Term Control Plan | [9 empty] | Citywide Phase 1 Long Term Control Plan
Wet Weather Sampling - Field Data Sheet (Landside Crew) | [9 empty] | Wet Weather Sampling - Field Data Sheet (Landside Crew)
CSO | [9 empty] | CSO
Date: 06/05/2016 | [9 empty] | Date: 06/05/2016
Sampled By: Wayne Price / Savin | [9 empty] | Sampled By: Aga and Vianney/ Nova
Courier time: | 15:16 | YSI Calibrated Prior to Sampling? YES no If No, please explain: | [7 empty] | Courier time: | 15:15 | YSI Calibrated Prior to Sampling? YES No If No, please explain:
Station | Time | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at This Station | Flow at the location Yes/No |  | Station | Time | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at This Station | Flow at the location Yes/No
WIB-056-1 | 12:10 | 21.4 | 0.4362 | 0.2 | 78 | 7.2 |  | Yes |  | WIB-060-1 | 12:00 | 21.07 | 8.9002 | 4.99 | 67.2 | 5.76 |  | Yes
WIB-056-2 | 12:40 | 20.9 | 0.2645 | 0.1 | 87 | 7.7 |  | Yes |  | WIB-060-2 | 12:30 | 21.11 | 0.408 | 0.2 | 64.2 | 5.7 |  | Yes
WIB-056-3 | 13:10 | 20.8 | 0.1626 | 0.1 | 89 | 8 | Yes | Yes |  | WIB-060-3 | 13:00 | 20.84 | 0.131 | 0.06 | 64.7 | 5.76 | Yes | Yes
WIB-056-4 | 13:40 | 20.9 | 0.3919 | 0.2 | 90 | 8 |  | Yes |  | WIB-060-4 | 13:30 | 20.79 | 0.131 | 0.06 | 67.8 | 6.03 |  | Yes
WIB-056-5 | 14:10 | 21.2 | 0.414 | 0.2 | 86 | 7.6 |  | Yes |  | WIB-060-5 | 14:00 | 20.98 | 0.172 | 0.08 | 67.6 | 5.99 |  | Yes*
Notes: | [9 empty] | Notes: | * Minimal flow at Sample #5, flow stopped soon after collecting last sample.
Citywide Phase 1 Long Term Control Plan | [9 empty] | Citywide Phase 1 Long Term Control Plan
Wet Weather Sampling - Field Data Sheet (Landside Crew) | [9 empty] | Wet Weather Sampling - Field Data Sheet (Landside Crew)
CSO | [9 empty] | CSO
Date: 11/15/2016 | [9 empty] | Date: 11/15/2016
Sampled By: Wayne Price/ Savin | [9 empty] | Sampled By: LS and JR / Nova
Courier time: | 10:50 | YSI Calibrated Prior to Sampling? YES no If No, please explain: | [7 empty] | Courier time: | 12:00 | YSI Calibrated Prior to Sampling? YES no If No, please explain:
Station | Time | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at This Station | Flow at the location Yes/No |  | Station | Time | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at This Station | Flow at the location Yes/No
WIB-056-1 | 8:20 | 15.1 | 0.6601 | 0.4 | 77 | 7.6 | X | Yes |  | WIB-060-1 | 8:00 | 13.96 | 1.035 | 0.52 | 67 | 6.9 | X | Yes
WIB-056-2 | 8:50 | 14.6 | 0.4513 | 0.3 | 67 | 6.7 |  | Yes |  | WIB-060-2 | 8:35 | 12.51 | 0.18 | 0.09 | 82.3 | 8.76 |  | Yes
WIB-056-3 | 9:20 | 14.1 | 0.2891 | 0.2 | 61 | 6.3 | X | Yes |  | WIB-060-3 | 9:00 | 12.4 | 0.086 | 0.04 | 89 | 9.43 |  | Yes
WIB-056-4 | 9:50 | 13.7 | 0.2372 | 0.1 | 80 | 8.3 |  | Yes |  | WIB-060-4 | 9:30 | 12.05 | 0.087 | 0.04 | 80.5 | 8.66 |  | Yes
WIB-056-5 | 10:20 | 12.7 | 0.1378 | 0.1 | 98 | 10.3 |  | Yes |  | WIB-060-5 | 10:00 | 12.33 | 0.093 | 0.04 | 84.9 | 9.11 |  | Yes
Notes: | tide was below tide gate at 08:20 sample | [8 empty] | Notes:
Citywide Phase 1 Long Term Control Plan | [9 empty] | Citywide Phase 1 Long Term Control Plan
Wet Weather Sampling - Field Data Sheet (Landside Crew) | [9 empty] | Wet Weather Sampling - Field Data Sheet (Landside Crew)
CSO | [9 empty] | CSO
Date: 11/29/2016 | [9 empty] | Date: 11/29/2016
Sampled By: Wayne Price/ Savin | [9 empty] | Sampled By: Aga and Vianney/ Nova
Courier time: | 14:26 | YSI Calibrated Prior to Sampling? YES no If No, please explain: | [7 empty] | Courier time: | 14:30 | YSI Calibrated Prior to Sampling? YES no If No, please explain:
Station | Time | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at This Station | Flow at the location Yes/No |  | Station | Time | Temp (◦C) | Conductivity (mS/cmc) | Salinity (ppt) | DO (%) | DO (mg/l) | Duplicate Taken at This Station | Flow at the location Yes/No
WIB-056-1 | 11:35 | 16 | 0.648 | 0.4 | 39 | 3.8 |  | Yes |  | WIB-060-1 | 11:30 | 16.25 | 2.309 | 1.19 | 52 | 5.06 | X | Yes
WIB-056-2 | 12:05 | 14.5 | 0.224 | 0.1 | 83 | 8.3 |  | Yes |  | WIB-060-2 | 12:00 | 15.61 | 0.282 | 0.14 | 63.1 | 6.21 | X | Yes
WIB-056-3 | 12:35 | 14.3 | 0.1367 | 0.1 | 103 | 10.5 | X | Yes |  | WIB-060-3 | 12:30 | 15.34 | 0.189 | 0.09 | 81.2 | 8.12 |  | Yes
WIB-056-4 | 13:05 | 14.2 | 0.1404 | 0.1 | 107 | 10.8 |  | Yes |  | WIB-060-4 | 13:00 | 15.19 | 0.174 | 0.08 | 80.3 | 8.04 |  | Yes
WIB-056-5 | 13:35 | 13.9 | 0.1235 | 0.1 | 110 | 11.3 |  | Yes |  | WIB-060-5 | 13:30 | 15.17 | 0.159 | 0.08 | 80.2 | 8.05 |  | Yes
Notes: | [9 empty] | Notes: | Water level for samples 1-3 is the same
WIB-060-1 dup taken for Settlable solids and CBOD, rest at -2
with

## HSM H3
CSO Long Term Control Plan II
Registration No. CTC 826 20121443668
Contract: CSO-LTCP-02
Harlem River
Harbor Survey Station H3
|  | DO |  | Fecal Coliform |  | Enterococcus |  | Weather
|  | (mg/L) |  | (#/100 mL) |  | (#/100 mL) |  | Wet/Dry
Site | Date | Top | Bot | Top | Bot | Top | Bot
H3 | 2013-01-03 | 12.65 | 11.68 | 74 | NS | 39 | NS | D
H3 | 2013-01-07 | NS | NS | NS | NS | NS | NS | D
H3 | 2013-01-14 | 10.11 | 9.99 | 108 | NS | 72 | NS | D
H3 | 2013-02-04 | 12.83 | 12.3 | 93 | NS | 44 | NS | D
H3 | 2013-03-04 | 12.09 | 12.07 | 27 | NS | 12 | NS | D
H3 | 2013-04-01 | 10.68 | 11.09 | 56 | NS | 14 | NS | D
H3 | 2013-05-20 | 6.84 | 6.77 | 292 | NS | 46 | NS | W
H3 | 2013-05-28 | 8.34 | 8.44 | 74 | NS | 17 | NS | D
H3 | 2013-06-03 | 6.36 | 6.3 | 4000 | NS | 2000 | NS | W
H3 | 2013-06-10 | 6.31 | 6.33 | 160 | NS | 124 | NS | W
H3 | 2013-06-17 | 7.37 | 7.26 | 41 | NS | 17 | NS | D
H3 | 2013-06-24 | 6.29 | 6.65 | 21 | NS | 8 | NS | D
H3 | 2013-07-08 | NS | NS | 124 | NS | 17 | NS | D
H3 | 2013-07-15 | 6.12 | 6.01 | 56 | NS | 30 | NS | D
H3 | 2013-07-22 | 4.68 | 4.79 | 39 | NS | 9 | NS | D
H3 | 2013-07-29 | 5.83 | 5.29 | 50 | NS | 9 | NS | W
H3 | 2013-08-05 | 4.8 | 4.85 | 5 | NS | 11 | NS | W
H3 | 2013-08-12 | 6.09 | 5.95 | 45 | NS | 5 | NS | D
H3 | 2013-08-19 | NS | NS | NS | NS | NS | NS | W
H3 | 2013-08-26 | 6.17 | 6.03 | 21 | NS | 8 | NS | W
H3 | 2013-09-03 | 5.26 | 4.5 | 161 | NS | 24 | NS | W
H3 | 2013-09-09 | 5.73 | 5.67 | 22 | NS | 5 | NS | W
H3 | 2013-09-16 | 4.99 | 4.9 | 116 | NS | 31 | NS | D
H3 | 2013-09-23 | 5.68 | 5.96 | 425 | NS | 80 | NS | W
H3 | 2013-10-07 | 5.89 | 5.84 | 39 | NS | 20 | NS | D
H3 | 2013-10-22 | 6.74 | 6.8 | 48 | NS | 8 | NS | D
H3 | 2013-11-12 | 8.33 | 8.28 | 47 | NS | 14 | NS | D
H3 | 2013-12-02 | 8.61 | 8.69 | 18 | NS | 15 | NS | D
H3 | 2014-01-06 | 11.21 | 11.42 | 3600 | NS | 2000 | NS | W
H3 | 2014-02-24 | 12.09 | 12.1 | 22 | NS | 10 | NS | W
H3 | 2014-03-03 | 11.93 | 12.11 | 38 | NS | 11 | NS | D
H3 | 2014-04-01 | 12.16 | 11.89 | 148 | NS | 40 | NS | W
H3 | 2014-06-02 | 7.97 | 8.35 | 42 | NS | 6 | NS | D
H3 | 2014-06-19 | 6.49 | 6.32 | 40 | NS | 7 | NS | D
H3 | 2014-06-23 | 7.16 | 6.05 | 13 | NS | 5 | NS | D
H3 | 2014-06-30 | 6.53 | 6.19 | 42 | NS | 5 | NS | D
H3 | 2014-07-07 | 5.78 | 5.85 | 82 | NS | 9 | NS | D
H3 | 2014-07-14 | 5.79 | 5.5 | 450 | NS | 88 | NS | W
H3 | 2014-07-21 | 5.09 | 5.13 | 33 | NS | 9 | NS | D
H3 | 2014-07-28 | 5.02 | 5 | 38 | NS | 10 | NS | W
H3 | 2014-08-04 | 5.89 | 5.87 | 92 | NS | 6 | NS | W
H3 | 2014-08-11 | 5.43 | 5.38 | 24 | NS | 6 | NS | D
H3 | 2014-08-18 | 4.96 | 4.46 | 90 | NS | 3 | NS | D
H3 | 2014-08-25 | 6.57 | 6.49 | 6 | NS | 350 | NS | D
H3 | 2014-09-08 | 4.42 | 4.53 | 25 | NS | 7 | NS | D
H3 | 2014-09-15 | 5.33 | 5.31 | 112 | NS | 20 | NS | W
H3 | 2014-09-22 | 5.6 | 5.82 | 11 | NS | 8 | NS | D
H3 | 2014-09-29 | 5.98 | 5.62 | 14 | NS | 1 | NS | D
H3 | 2014-10-06 | 5.6 | 5.43 | 260 | NS | 74 | NS | W
H3 | 2014-11-05 | 7.7 | 7.4 | 50 | NS | 3 | NS | D
H3 | 2014-12-02 | 8.48 | 8.38 | 7 | NS | 12 | NS | D
H3 | 2015-01-05 | 11.51 | 11.41 | 236 | NS | 95 | NS | W
H3 | 2015-02-02 | 11.91 | 12.37 | 8 | NS | 6 | NS | W
H3 | 2015-03-16 | 10.52 | 11.03 | 46 | NS | 27 | NS | D
H3 | 2015-04-06 | 11.49 | 11.22 | 14 | NS | 4 | NS | D
H3 | 2015-05-18 | 7.21 | 7.27 | 15 | NS | 2 | NS | W
H3 | 2015-06-04 | 6.55 | 6.55 | 52 | NS | 41 | NS | D
H3 | 2015-06-08 | 6.12 | 6.12 | 35 | NS | 34 | NS | D
H3 | 2015-06-15 | 5.94 | 6.31 | 1000 | NS | 440 | NS | W
H3 | 2015-06-22 | 6.22 | 6.07 | 610 | NS | 105 | NS | W
H3 | 2015-06-29 | 6.45 | 5.38 | 116 | NS | 14 | NS | W
H3 | 2015-07-06 | 6.95 | 6.85 | 24 | NS | 12 | NS | D
H3 | 2015-07-13 | 5.92 | 5.62 | 12 | NS | 2 | NS | D
H3 | 2015-07-20 | 5.99 | 6.48 | 42 | NS | 12 | NS | D
H3 | 2015-07-27 | 4.76 | 4.65 | 268 | NS | 6 | NS | W
H3 | 2015-08-03 | 4.88 | 4.89 | 41 | NS | 6 | NS | D
H3 | 2015-08-10 | 5.79 | 5.23 | 5 | NS | 4 | NS | D
H3 | 2015-08-17 | 5.26 | 5.29 | 20 | NS | 9 | NS | D
H3 | 2015-08-24 | 4.42 | 5.56 | 14 | NS | 4 | NS | D
H3 | 2015-08-31 | 4.7 | 4.59 | 20 | NS | 14 | NS | D
H3 | 2015-09-08 | 4.45 | 3.86 | 56 | NS | 114 | NS | D
H3 | 2015-09-14 | 4.66 | 4.67 | 48 | NS | 24 | NS | W
H3 | 2015-09-21 | 4.9 | 4.91 | 8 | NS | 1 | NS | D
H3 | 2015-09-30 | 5 | 5.14 | 2500 | NS | 1200 | NS | W
H3 | 2015-10-05 | 7.48 | 6.66 | 34 | NS | 19 | NS | D
H3 | 2015-10-14 | 5.89 | 5.85 | 27 | NS | 17 | NS | D
H3 | 2015-10-26 | 7.09 | 7.07 | 12 | NS | 10 | NS | D
H3 | 2015-11-04 | 6.86 | 6.73 | 23 | NS | 9 | NS | D
H3 | 2015-12-01 | 7.11 | 7.55 | 84 | NS | 20 | NS | W
H3 | 2016-01-04 | 9.87 | 9.77 | 50 | NS | 24 | NS | NA
H3 | 2016-02-01 | 10.62 | 10.31 | 20 | NS | 12 | NS | NA
H3 | 2016-03-14 | 10.23 | 10.47 | 50 | NS | 54 | NS | NA
H3 | 2016-05-16 | 7.75 | 7.66 | 28 | NS | 6 | NS | NA
H3 | 2016-05-23 | NS | NS | NS | NS | NS | NS | NA
H3 | 2016-05-31 | 6.44 | NS | 1100 | NS | 20 | NS | NA
H3 | 2016-06-06 | 6.52 | NS | 650 | NS | 390 | NS | NA
H3 | 2016-06-13 | 6.27 | NS | 38 | NS | 17 | NS | NA
H3 | 2016-06-20 | 6.06 | 5.99 | 20 | NS | 12 | NS | NA
H3 | 2016-06-27 | 7.06 | 7.23 | 9 | NS | 2 | NS | NA
H3 | 2016-07-05 | 4.43 | 4.72 | 3700 | NS | 1130 | NS | NA
H3 | 2016-07-11 | 5.27 | 5.54 | 320 | NS | 40 | NS | NA
H3 | 2016-07-18 | 5 | 5.84 | 114 | NS | 8 | NS | NA
H3 | 2016-08-01 | 4.26 | 4.15 | 187 | NS | 38 | NS | NA
H3 | 2016-08-08 | 5.23 | 5.53 | 22 | NS | 12 | NS | NA
H3 | 2016-08-15 | 4.88 | 5.21 | 60 | NS | 2 | NS | NA
H3 | 2016-08-22 | 4.61 | 4.63 | 92 | NS | 52 | NS | NA
H3 | 2016-08-29 | 5.1 | 5.15 | 18 | NS | 2 | NS | NA
H3 | 2016-09-06 | 5.6 | 5.83 | 45 | NS | 10 | NS | NA
H3 | 2016-09-19 | 4.92 | 4.9 | 4300 | NS | 1820 | NS | NA
H3 | 2016-09-26 | 5.04 | 5.27 | 410 | NS | 7 | NS | NA
H3 | 2016-10-03 | 5.86 | 5.84 | 40 | NS | 9 | NS | NA
H3 | 2016-10-11 | NS | NS | NS | NS | 10 | NS | NA
H3 | 2016-10-17 | 6.64 | 6.09 | 31 | NS | 8 | NS | NA
H3 | 2016-10-24 | 6.24 | 6.21 | 120 | NS | 20 | NS | NA
H3 | 2016-10-31 | 7.9 | 6.35 | 2100 | NS | 980 | NS | NA
H3 | 2016-11-09 | 8.28 | 8.09 | 33 | NS | 5 | NS | NA
with

## Sentinel Station S54
CSO Long Term Control Plan II
Registration No. CTC 826 20121443668
Contract: CSO-LTCP-02
Harlem River
Sentinel Sampling Station S54
| Site | Date | Fecal Coliform Count | Weather
| S54 | 2013-01-23 | 97 | D
| S54 | 2013-04-15 | 94 | D
| S54 | 2013-07-31 | 66 | D
| S54 | 2013-10-16 | 34 | D
| S54 | 2014-03-06 | 104 | D
| S54 | 2014-05-20 | 50 | D
| S54 | 2014-08-27 | 9 | D
| S54 | 2014-10-20 | 25 | D
| S54 | 2015-03-24 | 92 | D
| S54 | 2015-05-14 | 370 | D
| S54 | 2015-08-28 | < 4 | D
| S54 | 2015-10-06 | 40 | D
| S54 | 2016-03-08 | < 10 | D
| S54 | 2016-04-20 | 108 | D
| S54 | 2016-07-12 | 144 | D
| S54 | 2016-10-19 | E 48 | D
with

## Sentinel Station S55
CSO Long Term Control Plan II
Registration No. CTC 826 20121443668
Contract: CSO-LTCP-02
Harlem River
Sentinel Sampling Station S55
| Site | Date | Fecal Coliform Count | Weather
| S55 | 2013-01-23 | 184 | D
| S55 | 2013-04-15 | 44 | D
| S55 | 2013-07-31 | 68 | D
| S55 | 2013-10-16 | 14 | D
| S55 | 2014-03-06 | 113 | D
| S55 | 2014-05-20 | 80 | D
| S55 | 2014-08-27 | 27 | D
| S55 | 2014-10-20 | 31 | D
| S55 | 2015-03-24 | 168 | D
| S55 | 2015-05-14 | 226 | D
| S55 | 2015-08-28 | 2 | D
| S55 | 2015-10-06 | 35 | D
| S55 | 2016-03-08 | 45 | D
| S55 | 2016-04-20 | 104 | D
| S55 | 2016-07-12 | 224 | D
| S55 | 2016-10-19 | 96 | D
with

## Sentinel Station S56
CSO Long Term Control Plan II
Registration No. CTC 826 20121443668
Contract: CSO-LTCP-02
Harlem River
Sentinel Sampling Station S56
| Site | Date | Fecal Coliform Count | Weather
| S56 | 2013-01-23 | 109 | D
| S56 | 2013-04-15 | 62 | D
| S56 | 2013-07-31 | 64 | D
| S56 | 2013-10-16 | 14 | D
| S56 | 2014-03-06 | 14 | D
| S56 | 2014-05-20 | 64 | D
| S56 | 2014-08-27 | 162 | D
| S56 | 2014-10-20 | 47 | D
| S56 | 2015-03-24 | 112 | D
| S56 | 2015-05-14 | 136 | D
| S56 | 2015-08-28 | 2 | D
| S56 | 2015-10-06 | 116 | D
| S56 | 2016-03-08 | 153 | D
| S56 | 2016-04-20 | 120 | D
| S56 | 2016-07-12 | 80 | D
| S56 | 2016-10-19 | 84 | D
with

## Sentinel Station S57
CSO Long Term Control Plan II
Registration No. CTC 826 20121443668
Contract: CSO-LTCP-02
Harlem River
Sentinel Sampling Station S57
| Site | Date | Fecal Coliform Count | Weather
| S57 | 2013-01-23 | 66 | D
| S57 | 2013-04-15 | 14 | D
| S57 | 2013-07-31 | 46 | D
| S57 | 2013-10-16 | 16 | D
| S57 | 2014-03-06 | 18 | D
| S57 | 2014-05-20 | 69 | D
| S57 | 2014-08-27 | 108 | D
| S57 | 2014-10-20 | 6 | D
| S57 | 2015-03-24 | 31 | D
| S57 | 2015-05-14 | 15 | D
| S57 | 2015-08-28 | 2 | D
| S57 | 2015-10-06 | 60 | D
| S57 | 2016-03-08 | < 10 | D
| S57 | 2016-04-20 | 128 | D
| S57 | 2016-07-12 | 22 | D
| S57 | 2016-10-19 | 100 | D
with