## Lvl1
Development | Discipline | PBS1 | First year | Year 2-5 | Year 6-10 | Year 11-15 | Year 16-20 | Grand Total
MELTZER TOWER | Apartment | Architectural | 7022096.5509 |  | 6118000 |  |  | 13140096.5509
|  | Electrical | 1129933.2314 |  |  |  | 35550 | 1165483.2314
|  | Mechanical | 191505.9568 |  |  |  |  | 191505.9568
| Apartment Total |  | 8343535.7391 |  | 6118000 |  | 35550 | 14497085.7391
| Architectural | Exterior | 4983669.7194 | 493150.768 | 6800 |  |  | 5483620.4874
|  | Interior | 4528096.0186 |  | 337837.85 |  |  | 4865933.8686
|  | Structural | 10058.213 | 2905.0218 |  |  |  | 12963.2347
| Architectural Total |  | 9521823.9509 | 496055.7898 | 344637.85 |  |  | 10362517.5907
| Conveying | Traction Passenger Elevator | 1600000 |  |  |  |  | 1600000
| Conveying Total |  | 1600000 |  |  |  |  | 1600000
| Electrical | Corridor Lighting | 298231.32 |  |  |  |  | 298231.32
|  | Emergency Lighting |  |  | 24533.0886 |  |  | 24533.0886
|  | Exit Lights |  |  | 5386.736 |  |  | 5386.736
|  | Exit/Emergency Combination |  |  | 5972.7528 |  |  | 5972.7528
|  | Lighting - Exterior Security / Riot Lights | 909.1593 |  | 134497.8906 |  |  | 135407.0499
|  | Lighting Fixture - Fluorescent | 23322.9458 |  | 146688 |  |  | 170010.9458
|  | Lighting Fixture - HID | 1929.289 |  |  |  | 20707.7015 | 22636.9905
|  | Lighting Fixture - Incandescent | 4830.8686 |  | 31911.3547 |  |  | 36742.2233
|  | Motor Starter / Contactor |  |  |  |  | 5195.1806 | 5195.1806
|  | Panelboard | 63000 |  |  |  | 210000 | 273000
|  | Security |  |  |  |  | 117505.01 | 117505.01
|  | Service Switch |  |  |  |  | 326109.1024 | 326109.1024
|  | Stairhall Lighting | 132212.6196 |  |  |  |  | 132212.6196
|  | Switchboard |  |  |  |  | 256392.8099 | 256392.8099
|  | Telephone |  |  |  | 23875.58 |  | 23875.58
| Electrical Total |  | 524436.2023 |  | 348989.8228 | 23875.58 | 935909.8045 | 1833211.4096
| Mechanical | Air Conditioning | 23341.4891 |  |  |  | 12128.6667 | 35470.1557
|  | Domestic Water System | 987440.1733 |  | 4500 |  | 821442.537 | 1813382.7103
|  | Drainage / Sewage System |  |  | 110518.6667 |  | 812248.1818 | 922766.8484
|  | Garbage Chute | 4307.918 |  |  |  |  | 4307.918
|  | Gas Service |  |  |  |  | 291840 | 291840
|  | Heating |  | 13745.4 |  | 2020540.34 |  | 2034285.74
|  | Heating Plant |  |  |  | 4265000 | 153022.1481 | 4418022.1481
|  | Interior Compactor | 49000 |  |  |  |  | 49000
|  | Sprinkler System |  |  |  |  | 29060.5 | 29060.5
|  | Standpipe System |  |  |  |  | 48720 | 48720
| Mechanical Total |  | 1064089.5804 | 13745.4 | 115018.6667 | 6285540.34 | 2168462.0335 | 9646856.0205
| Site - Architectural | Fences | 239609.2152 |  |  |  |  | 239609.2152
|  | Fixed Equipment | 14657.1486 |  |  |  |  | 14657.1486
|  | Landscaping | 499.1449 |  |  |  |  | 499.1449
|  | Parking Lot | 341197.3667 |  |  |  |  | 341197.3667
|  | Paving - Non-Vehicular Area | 523529.8304 |  |  |  |  | 523529.8304
|  | Paving - Vehicular Area | 98285.8021 |  |  |  |  | 98285.8021
|  | Sidewalks & Curb | 18035.348 |  |  |  |  | 18035.348
|  | Site Walls (Not Retaining Walls) | 27729.7631 |  |  |  |  | 27729.7631
|  | Stairs / Ramps | 25661.0197 |  |  |  |  | 25661.0197
| Site - Architectural Total |  | 1289204.6386 |  |  |  |  | 1289204.6386
| Site - Electrical | Lighting |  |  | 98977.2399 |  |  | 98977.2399
| Site - Electrical Total |  |  |  | 98977.2399 |  |  | 98977.2399
| Site - Mechanical | Storm Piping |  |  |  |  | 144000 | 144000
|  | Underground Condensate Return Piping |  |  |  | 60000 |  | 60000
|  | Underground Hydronic Piping |  |  |  | 136500 |  | 136500
|  | Underground Natural Gas Piping |  |  |  | 75000 |  | 75000
|  | Underground Steam Piping |  |  |  | 120000 |  | 120000
| Site - Mechanical Total |  |  |  |  | 391500 | 144000 | 535500
MELTZER TOWER Total |  |  | 22343090.1114 | 509801.1898 | 7025623.5793 | 6700915.92 | 3283921.838 | 39863352.6385

## Lvl2
Development | Discipline | PBS1 | PBS2 | First year | Year 2-5 | Year 6-10 | Year 11-15 | Year 16-20 | Grand Total
MELTZER TOWER | Apartment | Architectural | Bathroom | 61028.5137 |  | 6118000 |  |  | 6179028.5137
|  |  | Ceiling | 40559.3156 |  |  |  |  | 40559.3156
|  |  | Doors | 364173.32 |  |  |  |  | 364173.32
|  |  | Floor | 793060.5258 |  |  |  |  | 793060.5258
|  |  | Kitchen | 5691642.888 |  |  |  |  | 5691642.888
|  |  | Wall | 71631.9878 |  |  |  |  | 71631.9878
|  | Architectural Total |  | 7022096.5509 |  | 6118000 |  |  | 13140096.5509
|  | Electrical | Electrical Panel Board | 956203.472 |  |  |  |  | 956203.472
|  |  | Intercom | 22325 |  |  |  |  | 22325
|  |  | Light Fixtures | 139704.7594 |  |  |  |  | 139704.7594
|  |  | Smoke Detectors | 11700 |  |  |  | 35550 | 47250
|  | Electrical Total |  | 1129933.2314 |  |  |  | 35550 | 1165483.2314
|  | Mechanical | Radiator / Convector / Baseboard | 191505.9568 |  |  |  |  | 191505.9568
|  | Mechanical Total |  | 191505.9568 |  |  |  |  | 191505.9568
| Apartment Total |  |  | 8343535.7391 |  | 6118000 |  | 35550 | 14497085.7391
| Architectural | Exterior | Areaway Drains | 0 |  |  |  |  | 0
|  |  | Areaway Slab | 1689.3834 |  |  |  |  | 1689.3834
|  |  | Areaway Walls | 1292.3753 |  |  |  |  | 1292.3753
|  |  | Areaways Grating | 2512.9511 |  | 6800 |  |  | 9312.9511
|  |  | Chimney | 1019.6667 |  |  |  |  | 1019.6667
|  |  | Doors | 52987.1886 |  |  |  |  | 52987.1886
|  |  | Exterior Walls | 203121.297 | 493150.768 |  |  |  | 696272.065
|  |  | Main Doors | 67000 |  |  |  |  | 67000
|  |  | Roof | 1025164.7177 |  |  |  |  | 1025164.7177
|  |  | Stairs / Ramps | 41443.7858 |  |  |  |  | 41443.7858
|  |  | Windows | 3587438.3537 |  |  |  |  | 3587438.3537
|  | Exterior Total |  | 4983669.7194 | 493150.768 | 6800 |  |  | 5483620.4874
|  | Interior | Common Areas - Bathroom | 632.4162 |  | 337837.85 |  |  | 338470.2662
|  |  | Common Areas - Kitchen | 720000 |  |  |  |  | 720000
|  |  | Common Areas Finishes | 97454.0619 |  |  |  |  | 97454.0619
|  |  | Corridor Finishes | 270606.5704 |  |  |  |  | 270606.5704
|  |  | Directories | 14995.626 |  |  |  |  | 14995.626
|  |  | Entry Doors | 781541.94 |  |  |  |  | 781541.94
|  |  | Fire Rated Doors | 166958.1923 |  |  |  |  | 166958.1923
|  |  | Lobby Finishes | 22693.6272 |  |  |  |  | 22693.6272
|  |  | Mailboxes | 64076.8692 |  |  |  |  | 64076.8692
|  |  | Non Fire Rated Doors | 139136.7153 |  |  |  |  | 139136.7153
|  |  | Roll Down Gate | 35000 |  |  |  |  | 35000
|  |  | Stairs: Interior | 2160000 |  |  |  |  | 2160000
|  |  | Stairs: Lower Level | 55000 |  |  |  |  | 55000
|  | Interior Total |  | 4528096.0186 |  | 337837.85 |  |  | 4865933.8686
|  | Structural | Floor Structure |  | 2905.0218 |  |  |  | 2905.0218
|  |  | Foundation Walls | 10058.213 |  |  |  |  | 10058.213
|  | Structural Total |  | 10058.213 | 2905.0218 |  |  |  | 12963.2347
| Architectural Total |  |  | 9521823.9509 | 496055.7898 | 344637.85 |  |  | 10362517.5907
| Conveying | Traction Passenger Elevator |  | 1600000 |  |  |  |  | 1600000
|  | Traction Passenger Elevator Total |  | 1600000 |  |  |  |  | 1600000
| Conveying Total |  |  | 1600000 |  |  |  |  | 1600000
| Electrical | Corridor Lighting | Lighting Fixture - Fluorescent | 298231.32 |  |  |  |  | 298231.32
|  | Corridor Lighting Total |  | 298231.32 |  |  |  |  | 298231.32
|  | Emergency Lighting | Battery Pack |  |  | 24533.0886 |  |  | 24533.0886
|  | Emergency Lighting Total |  |  |  | 24533.0886 |  |  | 24533.0886
|  | Exit Lights | Non Battery Pack |  |  | 5386.736 |  |  | 5386.736
|  | Exit Lights Total |  |  |  | 5386.736 |  |  | 5386.736
|  | Exit/Emergency Combination | Battery Pack |  |  | 5972.7528 |  |  | 5972.7528
|  | Exit/Emergency Combination Total |  |  |  | 5972.7528 |  |  | 5972.7528
|  | Lighting - Exterior Security / Riot Lights |  | 909.1593 |  | 134497.8906 |  |  | 135407.0499
|  | Lighting - Exterior Security / Riot Lights Total |  | 909.1593 |  | 134497.8906 |  |  | 135407.0499
|  | Lighting Fixture - Fluorescent | Pendant Mounted | 7717.1222 |  | 27504 |  |  | 35221.1222
|  |  | Recessed Mounted | 1919.217 |  | 41256 |  |  | 43175.217
|  |  | Surface Mounted | 13686.6066 |  | 77928 |  |  | 91614.6066
|  | Lighting Fixture - Fluorescent Total |  | 23322.9458 |  | 146688 |  |  | 170010.9458
|  | Lighting Fixture - HID | Pendant Mounted | 1929.289 |  |  |  | 20707.7015 | 22636.9905
|  | Lighting Fixture - HID Total |  | 1929.289 |  |  |  | 20707.7015 | 22636.9905
|  | Lighting Fixture - Incandescent | Recessed Mounted | 1875.9587 |  | 16295.1599 |  |  | 18171.1186
|  |  | Surface Mounted | 2954.9098 |  | 15616.1949 |  |  | 18571.1047
|  | Lighting Fixture - Incandescent Total |  | 4830.8686 |  | 31911.3547 |  |  | 36742.2233
|  | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  |  |  | 5195.1806 | 5195.1806
|  | Motor Starter / Contactor Total | [5 empty] | 5195.1806 | 5195.1806
|  | Panelboard | Fused Knife Switch | 42000 |  |  |  |  | 42000
|  |  | Fused Toggle Switch | 21000 |  |  |  |  | 21000
|  |  | Molded Case Circuit Breakers |  |  |  |  | 210000 | 210000
|  | Panelboard Total |  | 63000 |  |  |  | 210000 | 273000
|  | Security | Closed Circuit Television System |  |  |  |  | 117505.01 | 117505.01
|  | Security Total | [5 empty] | 117505.01 | 117505.01
|  | Service Switch | [5 empty] | 326109.1024 | 326109.1024
|  | Service Switch Total | [5 empty] | 326109.1024 | 326109.1024
|  | Stairhall Lighting | Lighting Fixture - Fluorescent | 132212.6196 |  |  |  |  | 132212.6196
|  | Stairhall Lighting Total |  | 132212.6196 |  |  |  |  | 132212.6196
|  | Switchboard | Fused Disconnect Switch |  |  |  |  | 256392.8099 | 256392.8099
|  | Switchboard Total | [5 empty] | 256392.8099 | 256392.8099
|  | Telephone | PBX / Intercom |  |  |  | 23875.58 |  | 23875.58
|  | Telephone Total |  |  |  |  | 23875.58 |  | 23875.58
| Electrical Total |  |  | 524436.2023 |  | 348989.8228 | 23875.58 | 935909.8045 | 1833211.4096
| Mechanical | Air Conditioning | Dx Split Air-Cooled System | 21597.3224 |  |  |  | 12128.6667 | 33725.9891
|  |  | Window Type A/C | 1744.1667 |  |  |  |  | 1744.1667
|  | Air Conditioning Total |  | 23341.4891 |  |  |  | 12128.6667 | 35470.1557
|  | Domestic Water System | Distribution Piping |  |  |  |  | 810229.28 | 810229.28
|  |  | Domestic Hot Water Circulating Pump |  |  | 4500 |  |  | 4500
|  |  | Gas Fired Water Heater | 87440.1733 |  |  |  |  | 87440.1733
|  |  | Gravity System | 900000 |  |  |  |  | 900000
|  |  | Remote Water Heater Storage Tank |  |  |  |  | 11213.257 | 11213.257
|  | Domestic Water System Total |  | 987440.1733 |  | 4500 |  | 821442.537 | 1813382.7103
|  | Drainage / Sewage System | Building Storm Piping |  |  |  |  | 93122.4 | 93122.4
|  |  | Sewage / Waste Piping |  |  |  |  | 231253.96 | 231253.96
|  |  | Sewage Ejector Pump |  |  | 100000 |  |  | 100000
|  |  | Sump Pump |  |  | 10518.6667 |  |  | 10518.6667
|  |  | Vent Piping |  |  |  |  | 487871.8218 | 487871.8218
|  | Drainage / Sewage System Total |  |  |  | 110518.6667 |  | 812248.1818 | 922766.8484
|  | Garbage Chute |  | 4307.918 |  |  |  |  | 4307.918
|  | Garbage Chute Total |  | 4307.918 |  |  |  |  | 4307.918
|  | Gas Service | Distribution Piping |  |  |  |  | 291840 | 291840
|  | Gas Service Total | [5 empty] | 291840 | 291840
|  | Heating | Radiator / Convector / Baseboard |  | 13745.4 |  |  |  | 13745.4
|  |  | Steam Condensate Return Piping |  |  |  | 876339.1 |  | 876339.1
|  |  | Steam Piping |  |  |  | 1144201.24 |  | 1144201.24
|  | Heating Total |  |  | 13745.4 |  | 2020540.34 |  | 2034285.74
|  | Heating Plant | Boiler Auxiliaries |  |  |  |  | 153022.1481 | 153022.1481
|  |  | Boiler System |  |  |  | 4265000 |  | 4265000
|  | Heating Plant Total |  |  |  |  | 4265000 | 153022.1481 | 4418022.1481
|  | Interior Compactor |  | 49000 |  |  |  |  | 49000
|  | Interior Compactor Total |  | 49000 |  |  |  |  | 49000
|  | Sprinkler System | Piping |  |  |  |  | 29060.5 | 29060.5
|  | Sprinkler System Total | [5 empty] | 29060.5 | 29060.5
|  | Standpipe System | Piping |  |  |  |  | 48720 | 48720
|  | Standpipe System Total | [5 empty] | 48720 | 48720
| Mechanical Total |  |  | 1064089.5804 | 13745.4 | 115018.6667 | 6285540.34 | 2168462.0335 | 9646856.0205
| Site - Architectural | Fences |  | 239609.2152 |  |  |  |  | 239609.2152
|  | Fences Total |  | 239609.2152 |  |  |  |  | 239609.2152
|  | Fixed Equipment |  | 14657.1486 |  |  |  |  | 14657.1486
|  | Fixed Equipment Total |  | 14657.1486 |  |  |  |  | 14657.1486
|  | Landscaping |  | 499.1449 |  |  |  |  | 499.1449
|  | Landscaping Total |  | 499.1449 |  |  |  |  | 499.1449
|  | Parking Lot |  | 341197.3667 |  |  |  |  | 341197.3667
|  | Parking Lot Total |  | 341197.3667 |  |  |  |  | 341197.3667
|  | Paving - Non-Vehicular Area |  | 523529.8304 |  |  |  |  | 523529.8304
|  | Paving - Non-Vehicular Area Total |  | 523529.8304 |  |  |  |  | 523529.8304
|  | Paving - Vehicular Area |  | 98285.8021 |  |  |  |  | 98285.8021
|  | Paving - Vehicular Area Total |  | 98285.8021 |  |  |  |  | 98285.8021
|  | Sidewalks & Curb |  | 18035.348 |  |  |  |  | 18035.348
|  | Sidewalks & Curb Total |  | 18035.348 |  |  |  |  | 18035.348
|  | Site Walls (Not Retaining Walls) |  | 27729.7631 |  |  |  |  | 27729.7631
|  | Site Walls (Not Retaining Walls) Total |  | 27729.7631 |  |  |  |  | 27729.7631
|  | Stairs / Ramps | Railings | 25661.0197 |  |  |  |  | 25661.0197
|  | Stairs / Ramps Total |  | 25661.0197 |  |  |  |  | 25661.0197
| Site - Architectural Total |  |  | 1289204.6386 |  |  |  |  | 1289204.6386
| Site - Electrical | Lighting |  |  |  | 98977.2399 |  |  | 98977.2399
|  | Lighting Total |  |  |  | 98977.2399 |  |  | 98977.2399
| Site - Electrical Total |  |  |  |  | 98977.2399 |  |  | 98977.2399
| Site - Mechanical | Storm Piping | [5 empty] | 144000 | 144000
|  | Storm Piping Total | [5 empty] | 144000 | 144000
|  | Underground Condensate Return Piping |  |  |  |  | 60000 |  | 60000
|  | Underground Condensate Return Piping Total |  |  |  |  | 60000 |  | 60000
|  | Underground Hydronic Piping |  |  |  |  | 136500 |  | 136500
|  | Underground Hydronic Piping Total |  |  |  |  | 136500 |  | 136500
|  | Underground Natural Gas Piping |  |  |  |  | 75000 |  | 75000
|  | Underground Natural Gas Piping Total |  |  |  |  | 75000 |  | 75000
|  | Underground Steam Piping |  |  |  |  | 120000 |  | 120000
|  | Underground Steam Piping Total |  |  |  |  | 120000 |  | 120000
| Site - Mechanical Total | [5 empty] | 391500 | 144000 | 535500
MELTZER TOWER Total |  |  |  | 22343090.1114 | 509801.1898 | 7025623.5793 | 6700915.92 | 3283921.838 | 39863352.6385

## Costed Action
Development | Building | Facility | Discipline | Pbs1 | Pbs2 | Pbs3 | Pbs4 | Deficiency | Quantity | UOM | Action | Cost Likely | Priority Group NA | Remaining Useful Life
MELTZER TOWER |  |  | Site - Architectural | Fences |  |  |  | STEEL BAR FENCE:DAMAGED / DETERIORATED | 25 | LF | Repair | 2255.79 | First year
MELTZER TOWER |  |  | Site - Architectural | Fences |  |  |  | CHAIN LINK:DAMAGED / DETERIORATED | 15 | LF | Repair | 495.17 | First year
MELTZER TOWER |  |  | Site - Architectural | Site Walls (Not Retaining Walls) |  |  |  | CAST IN PLACE CONCRETE:CRACKED / SPALLING / REINFORCEMENT EXPOSED | 720 | SF | Repair | 27729.76 | First year
MELTZER TOWER |  |  | Site - Architectural | Fixed Equipment |  |  |  | BENCH DAMAGED | 8 | EACH | Replace | 14657.15 | First year
MELTZER TOWER |  |  | Site - Architectural | Landscaping |  |  |  | DEAD / DYING LAWN | 420 | SF | Reseed | 499.14 | First year
MELTZER TOWER |  |  | Site - Architectural | Parking Lot |  |  |  | ASPHALT:CRACKED | 2400 | SF | Repair | 26584.46 | First year
MELTZER TOWER |  |  | Site - Architectural | Parking Lot |  |  |  | ASPHALT:LOCALIZED SINK AREA | 410 | SF | Replace | 3622.22 | First year
MELTZER TOWER |  |  | Site - Architectural | Paving - Non-Vehicular Area |  |  |  | ASPHALT:CRACKS - MINOR | 240 | SF | Repair | 2658.45 | First year
MELTZER TOWER |  |  | Site - Architectural | Paving - Non-Vehicular Area |  |  |  | ASPHALT:HEAVING | 280 | SF | Repair | 3101.52 | First year
MELTZER TOWER |  |  | Site - Architectural | Paving - Non-Vehicular Area |  |  |  | CONCRETE PAVERS:HEAVING | 290 | SF | Repair | 11308.01 | First year
MELTZER TOWER |  |  | Site - Architectural | Paving - Non-Vehicular Area |  |  |  | CONCRETE:CRACKS - MINOR | 140 | SF | Repair | 1324.19 | First year
MELTZER TOWER |  |  | Site - Architectural | Paving - Non-Vehicular Area |  |  |  | CONCRETE:HEAVING | 80 | SF | Replace | 1961.71 | First year
MELTZER TOWER |  |  | Site - Electrical | Lighting |  |  |  | PBSREPLACEMENT | 21 | EACH | Replace | 98977.24 | Year 6-10 | 10
MELTZER TOWER |  |  | Site - Architectural | Fences |  |  |  | PBSREPLACEMENT | 1050 | LF | Replace | 236858.25 | First year | 0
MELTZER TOWER |  |  | Site - Architectural | Parking Lot |  |  |  | PBSREPLACEMENT | 8900 | SF | Replace | 310990.7 | First year | 0
MELTZER TOWER |  |  | Site - Architectural | Paving - Non-Vehicular Area |  |  |  | PBSREPLACEMENT | 14400 | SF | Replace | 503175.96 | First year | 0
MELTZER TOWER |  |  | Site - Architectural | Paving - Vehicular Area |  |  |  | PBSREPLACEMENT | 1875 | SF | Replace | 98285.8 | First year | 0
MELTZER TOWER |  |  | Site - Architectural | Sidewalks & Curb |  |  |  | PBSREPLACEMENT | 1100 | SF | Replace | 18035.35 | First year | 0
MELTZER TOWER |  |  | Site - Architectural | Stairs / Ramps | Railings |  |  | PBSREPLACEMENT | 220 | LF | Replace | 25661.02 | First year | 0
MELTZER TOWER |  |  | Site - Mechanical | Underground Hydronic Piping |  |  |  | PBSREPLACEMENT | 130 | LF | Replace | 136500 | Year 11-15 | 15
MELTZER TOWER |  |  | Site - Mechanical | Storm Piping |  |  |  | PBSREPLACEMENT | 150 | LF | Replace | 144000 | Year 16-20 | 35
MELTZER TOWER |  |  | Site - Mechanical | Underground Natural Gas Piping |  |  |  | PBSREPLACEMENT | 100 | LF | Replace | 75000 | Year 11-15 | 15
MELTZER TOWER |  |  | Site - Mechanical | Underground Steam Piping |  |  |  | PBSREPLACEMENT | 80 | LF | Replace | 120000 | Year 11-15 | 15
MELTZER TOWER |  |  | Site - Mechanical | Underground Condensate Return Piping |  |  |  | PBSREPLACEMENT | 80 | LF | Replace | 60000 | Year 11-15 | 15
MELTZER TOWER | Building #1 |  | Architectural | Interior | Lobby Finishes | Floor |  | STONE:DAMAGED / DETERIORATED | 10 | SF | Replace | 609.45 | First year
MELTZER TOWER | Building #1 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | PHOTOCELL NOT OPERATIONAL | 1 | EACH | Replace-in-Kind | 909.16 | First year
MELTZER TOWER | Building #1 |  | Electrical | Lighting Fixture - Fluorescent | Pendant Mounted |  |  | NOT OPERATIONAL | 1 | EACH | Replace | 1929.28 | First year
MELTZER TOWER | Building #1 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | NOT OPERATIONAL | 2 | EACH | Replace | 3041.47 | First year
MELTZER TOWER | Building #1 |  | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | NOT OPERATIONAL | 2 | EACH | Replace | 2954.91 | First year
MELTZER TOWER | Building #1 |  | Architectural | Interior | Corridor Finishes | Floor |  | VCT:BROKEN / MISSING | 125 | SF | Replace | 1046.3 | First year
MELTZER TOWER | Building #1 |  | Architectural | Interior | Corridor Finishes | Walls |  | MASONRY:MINOR CRACKS / SPALLING | 50 | SF | Restitch | 1892.66 | First year
MELTZER TOWER | Building #1 |  | Architectural | Interior | Entry Doors |  |  | METAL:DAMAGED / DETERIORATED | 18 | EACH | Replace | 42341.94 | First year
MELTZER TOWER | Building #1 |  | Architectural | Interior | Fire Rated Doors |  |  | METAL:MISSING / DETERIORATED HARDWARE | 1 | EACH | Maintenance | 2007 | First year
MELTZER TOWER | Building #1 |  | Mechanical | Garbage Chute |  |  |  | DEFECTIVE GARBAGE CHUTE DOOR | 3 | EACH | Replace | 4307.92 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Areaway Drains |  |  | CLOGGED | 8 | EACH | Maintenance | 0 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Areaway Slab |  |  | CONCRETE:DISPLACED | 80 | SF | Replace | 1689.38 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Areaway Walls |  |  | CONCRETE:MAJOR CRACKS / SPALLING | 20 | SF | Repair | 1292.38 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Areaways Grating |  |  | METAL:SLIGHTLY RUSTED | 70 | SF | Repair and Repaint | 2512.95 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Chimney |  |  | BRICK:OPEN JOINTS | 25 | SF | Repoint | 1019.67 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Doors |  |  | METAL:DAMAGED / DETERIORATED | 5 | EACH | Replace Door & Frame | 11064.47 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Exterior Walls | Bulkhead Walls |  | BRICK:OPEN JOINTS | 2500 | SF | Repoint | 95000 | Year 2-5
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | BRICK:OPEN JOINTS | 10000 | SF | Repoint | 398150.77 | Year 2-5
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | BRICK:MAJOR THRU CRACKS | 1000 | SF | Remove and Rebuild | 203121.3 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Roof | Bulkhead Roof | Flashing | DAMAGED / DETERIORATED / TAR COVERED | 75 | LF | Replace | 4551.01 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | BUILT-UP:CRACKS / ALLIGATORING | 300 | SF | Replace | 12557.54 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Flashing | DAMAGED / DETERIORATED / TAR COVERED | 200 | LF | Replace | 12136 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Pitch Pockets | DAMAGED / DETERIORATED | 25 | EACH | Replace | 11314.28 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roof Drains | DETERIORATED | 1 | EACH | Replace | 1003.66 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:CRACKS / ALLIGATORING | 2500 | SF | Replace | 104646.15 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:LEAK - SEVERE | 4870 | SF | Replace | 203850.69 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Water Tank Enclosure | CAST IN PLACE / PRE-CAST CONCRETE:EXPOSED DETERIORATED RE-BAR | 50 | SF | Repair | 500.41 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Water Tank Support Structure | CONCRETE:DAMAGED/DETERIORATED | 50 | SF | Repair | 15204.68 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Stairs / Ramps | Railings |  | MISSING | 10 | LF | Install New | 1056.37 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Stairs / Ramps | Stairs / Ramps |  | CONCRETE:MINOR CRACKS / SPALLING | 20 | SF | Repair | 1276.45 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Stairs / Ramps | Stairs / Ramps |  | CONCRETE:WORN-OUT TREAD / RISER / NOSING | 15 | LF | Replace | 1610.97 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Windows | A/C Brackets and Sleeves |  | MISSING | 56 | EACH | Install New | 17254.06 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Windows | Child Guards |  | MISSING | 81 | EACH | Install New | 36989.49 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Windows | Exterior Guards |  | RUST - MINOR | 15 | EACH | Repaint | 4830 | First year
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Windows | Windows |  | ALUMINUM:HARDWARE MISSING / POOR CONDITION | 200 | EACH | Replace | 62061.8 | First year
MELTZER TOWER | Building #1 |  | Architectural | Structural | Floor Structure |  |  | CONCRETE SLAB ON GRADE:MINOR CRACKS/SPALLING | 50 | SF | Repair | 2905.02 | Year 2-5
MELTZER TOWER | Building #1 |  | Architectural | Structural | Foundation Walls |  |  | CONCRETE:WATER INFILTRATION | 150 | SF | Install Exterior Water Barrier | 10058.21 | First year
MELTZER TOWER | Building #1 |  | Architectural | Interior | Entry Doors |  |  | PBSREPLACEMENT | 231 | EACH | Replace | 739200 | First year | 0
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Areaways Grating |  |  | PBSREPLACEMENT | 80 | SF | Replace | 6800 | Year 6-10 | 10
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Doors |  |  | PBSREPLACEMENT | 8 | EACH | Replace | 41922.72 | First year | 0
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roofing | PBSREPLACEMENT | 5813 | SF | Replace | 571851 | First year | 0
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | PBSREPLACEMENT | 890 | SF | Replace | 87549.3 | First year | 0
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Stairs / Ramps | Railings |  | PBSREPLACEMENT | 250 | LF | Replace | 37500 | First year | 0
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Windows |  |  | PBSREPLACEMENT | 950 | EACH | Replace | 3466303 | First year | 0
MELTZER TOWER | Building #1 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | PBSREPLACEMENT | 20 | EACH | Replace | 134497.89 | Year 6-10 | 10
MELTZER TOWER | Building #1 |  | Electrical | Lighting Fixture - Fluorescent | Pendant Mounted |  |  | PBSREPLACEMENT | 11 | EACH | Replace | 12606 | Year 6-10 | 10
MELTZER TOWER | Building #1 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 23 | EACH | Replace | 26358 | Year 6-10 | 10
MELTZER TOWER | Building #1 |  | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | PBSREPLACEMENT | 18 | EACH | Replace | 12221.37 | Year 6-10 | 10
MELTZER TOWER | Building #1 |  | Electrical | Panelboard | Fused Knife Switch |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 21000 | First year | 0
MELTZER TOWER | Building #1 |  | Electrical | Panelboard | Fused Toggle Switch |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 21000 | First year | 0
MELTZER TOWER | Building #1 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 39 | EACH | Replace | 132600 | First year | 0
MELTZER TOWER | Building #1 |  | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 400 | SF | Replace | 9800 | First year | 0
MELTZER TOWER | Building #1 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 9827 | SF | Replace | 240722.02 | First year | 0
MELTZER TOWER | Building #1 |  | Electrical | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 158 | EACH | Replace | 298231.32 | First year | 0
MELTZER TOWER | Building #1 |  | Electrical | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 81 | EACH | Replace | 132212.62 | First year | 0
MELTZER TOWER | Building #1 |  | Mechanical | Heating | Steam Piping |  |  | PBSREPLACEMENT | 10020 | LF | Replace | 1116348.24 | Year 11-15 | 15
MELTZER TOWER | Building #1 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 1330.2 | Year 2-5 | 0
MELTZER TOWER | Building #1 |  | Electrical | Lighting Fixture - Fluorescent | Recessed Mounted |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 6876 | Year 6-10 | 10
MELTZER TOWER | Building #1 |  | Architectural | Interior | Mailboxes |  |  | PBSREPLACEMENT | 7 | EACH | Replace | 64076.87 | First year | 0
MELTZER TOWER | Building #1 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 8660 | LF | Replace | 791939.68 | Year 16-20 | 35
MELTZER TOWER | Building #1 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 16-20 | 26
MELTZER TOWER | Building #1 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 2900 | First year | 0
MELTZER TOWER | Building #1 |  | Mechanical | Drainage / Sewage System | Building Storm Piping |  |  | PBSREPLACEMENT | 1000 | LF | Replace | 77602 | Year 16-20 | 35
MELTZER TOWER | Building #1 |  | Electrical | Exit Lights | Non Battery Pack |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 769.53 | Year 6-10 | 9
MELTZER TOWER | Building #1 |  | Mechanical | Drainage / Sewage System | Sewage Ejector Pump |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 100000 | Year 6-10 | 7
MELTZER TOWER | Building #1 |  | Conveying | Traction Passenger Elevator |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 800000 | First year | 0
MELTZER TOWER | Building #1 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 10200 | First year | 0
MELTZER TOWER | Building #1 |  | Electrical | Emergency Lighting | Battery Pack |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 2725.9 | Year 6-10 | 9
MELTZER TOWER | Building #1 |  | Electrical | Security | Closed Circuit Television System |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 117505.01 | Year 16-20 | 22
MELTZER TOWER | Building #1 |  | Mechanical | Interior Compactor |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 49000 | First year | 0
MELTZER TOWER | Building #1 |  | Mechanical | Standpipe System | Piping |  |  | PBSREPLACEMENT | 290 | LF | Replace | 48720 | Year 16-20 | 35
MELTZER TOWER | Building #1 |  | Electrical | Exit/Emergency Combination | Battery Pack |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 2389.1 | Year 6-10 | 9
MELTZER TOWER | Building #1 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 16-20 | 26
MELTZER TOWER | Building #1 |  | Mechanical | Heating | Steam Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 11-15 | 15
MELTZER TOWER | Building #1 |  | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 84000 | Year 16-20 | 26
MELTZER TOWER | Building #1 |  | Conveying | Traction Passenger Elevator |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 800000 | First year | 0
MELTZER TOWER | Building #1 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 35
MELTZER TOWER | Building #1 |  | Electrical | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 5195.18 | Year 16-20 | 22
MELTZER TOWER | Building #1 |  | Electrical | Switchboard | Fused Disconnect Switch |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 85464.27 | Year 16-20 | 26
MELTZER TOWER | Building #1 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 35
MELTZER TOWER | Building #1 |  | Mechanical | Sprinkler System | Piping |  |  | PBSREPLACEMENT | 100 | LF | Replace | 11624.2 | Year 16-20 | 35
MELTZER TOWER | Building #1 |  | Electrical | Switchboard | Fused Disconnect Switch |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 85464.27 | Year 16-20 | 26
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | PBSREPLACEMENT | 2 | EACH | Replace | 60000 | First year | 0
MELTZER TOWER | Building #1 |  | Mechanical | Heating | Steam Condensate Return Piping |  |  | PBSREPLACEMENT | 10020 | LF | Replace | 855006.6 | Year 11-15 | 15
MELTZER TOWER | Building #1 |  | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 2400 | LF | Replace | 459173.48 | Year 16-20 | 55
MELTZER TOWER | Building #1 |  | Mechanical | Heating | Steam Condensate Return Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 11-15 | 15
MELTZER TOWER | Building #1 |  | Architectural | Interior | Stairs: Interior |  |  | PBSREPLACEMENT | 40 | EACH | Replace | 2160000 | First year | 0
MELTZER TOWER | Building #1 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 22 | EACH | Replace | 63800 | First year | 0
MELTZER TOWER | Building #1 |  | Mechanical | Standpipe System | Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 35
MELTZER TOWER | Building #1 |  | Architectural | Interior | Stairs: Lower Level |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 55000 | First year | 0
MELTZER TOWER | Building #1 |  | Architectural | Interior | Directories |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 14995.63 | First year | 0
MELTZER TOWER | Building #1 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 2780 | LF | Replace | 215733.56 | Year 16-20 | 35
MELTZER TOWER | Building #1 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 16-20 | 27
MELTZER TOWER | Building #1 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 220 | SF | Replace | 5389.12 | First year | 0
MELTZER TOWER | Building #1 |  | Architectural | Exterior | Main Doors | Secondary | Doors and Frames | PBSREPLACEMENT | 1 | EACH | Replace | 7000 | First year | 0
MELTZER TOWER | Building #1 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 2840 | LF | Replace | 272640 | Year 16-20 | 35
MELTZER TOWER | Building #1 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 35
MELTZER TOWER | Building #1 |  | Electrical | Telephone | PBX / Intercom |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 23875.58 | Year 11-15 | 14
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Ceiling |  |  | CONCRETE:EXCESSIVE MOLD | 77 | SF | Repair | 4969.54 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:CRACKS / SPALLING | 187 | SF | Replace | 10942.66 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:CRACKS / SPALLING | 44 | SF | Repair | 2218.76 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:DAMAGED / DETERIORATED | 44 | SF | Replace | 2574.74 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:DAMAGED / DETERIORATED | 77 | SF | Repair | 3882.82 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:EXCESSIVE MOLD | 77 | SF | Repair | 7098.08 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:EXCESSIVE MOLD / LEAKING PIPE | 55 | SF | Repair | 8872.71 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Floor |  |  | VCT:DAMAGED / DETERIORATED | 717 | SF | Replace | 20016.78 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Floor |  |  | PBSREPLACEMENT | 38175 | SF | Replace | 773043.75 | First year | 0
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Wall |  |  | PLASTER:CRACKS / SPALLING | 496 | SF | Replace | 26835.5 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Wall |  |  | PLASTER:CRACKS / SPALLING | 242 | SF | Repair | 11313.16 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Wall |  |  | PLASTER:DAMAGED / DETERIORATED | 110 | SF | Replace | 6387.86 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Wall |  |  | PLASTER:DAMAGED / DETERIORATED | 540 | SF | Repair | 27095.48 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Doors |  |  | WOOD:DAMAGED / DETERIORATED | 2 | EACH | Replace | 879.04 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Doors |  |  | WOOD:MISSING / DETERIORATED HARDWARE | 2 | EACH | Maintenance | 594.28 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Doors |  |  | PBSREPLACEMENT | 465 | EACH | Replace | 362700 | First year | 0
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Bathroom |  |  | PBSREPLACEMENT | 230 | EACH | Replace | 6118000 | Year 6-10 | 0
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | CERAMIC TILE:BROKEN / MISSING | 64 | SF | Replace | 2253.45 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | TUB SURROUND:EXCESSIVE MOLD | 449 | SF | Replace | 20361.4 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Bathroom | Shower Head & Valve |  | CLOGGED / LEAKING | 6 | EACH | Maintenance | 0 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Bathroom | Shower Head & Valve |  | DEFECTIVE / DETERIORATED | 19 | EACH | Replace | 2491.72 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Bathroom | Sink |  | CLOGGED / LEAKING | 32 | EACH | Maintenance | 0 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Bathroom | Sink |  | DEFECTIVE / DETERIORATED | 6 | EACH | Replace | 12589.34 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Bathroom | Toilet |  | CLOGGED / LEAKING | 12 | EACH | Maintenance | 0 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Bathroom | Exhaust / Vent |  | INOPERABLE | 57 | EACH | Replace | 23332.6 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Kitchen |  |  | PBSREPLACEMENT | 230 | EACH | Replace | 5474000 | First year | 0
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Kitchen | Cabinets |  | DEFECTIVE / DETERIORATED | 109 | EACH | Replace | 217642.89 | First year
MELTZER TOWER | Building #1 |  | Apartment | Architectural | Kitchen | Sink |  | CLOGGED / LEAKING | 38 | EACH | Maintenance | 0 | First year
MELTZER TOWER | Building #1 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | DEFECTIVE | 2 | EACH | Replace | 912.27 | First year
MELTZER TOWER | Building #1 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | DEFECTIVE VALVE | 19 | EACH | Replace | 5817.8 | First year
MELTZER TOWER | Building #1 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 125 | EACH | Replace | 184775.89 | First year | 0
MELTZER TOWER | Building #1 |  | Apartment | Electrical | Intercom |  |  | APARTMENT UNIT NOT OPERATIONAL | 19 | EACH | Replace | 22325 | First year
MELTZER TOWER | Building #1 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | PBSREPLACEMENT | 230 | EACH | Replace | 956203.47 | First year | 2
MELTZER TOWER | Building #1 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | PBSREPLACEMENT | 136 | EACH | Replace | 58823.06 | First year | 0
MELTZER TOWER | Building #1 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | PBSREPLACEMENT | 187 | EACH | Replace | 80881.7 | First year | 0
MELTZER TOWER | Building #1 |  | Apartment | Electrical | Smoke Detectors |  |  | ANTIQUATED / OBSOLETE | 22 | EACH | Replace / Upgrade | 9900 | First year
MELTZER TOWER | Building #1 |  | Apartment | Electrical | Smoke Detectors |  |  | NOT OPERATIONAL | 4 | EACH | Replace | 1800 | First year
MELTZER TOWER | Building #1 |  | Apartment | Electrical | Smoke Detectors |  |  | PBSREPLACEMENT | 79 | EACH | Replace | 35550 | Year 16-20 | 23
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Air Conditioning | Dx Split Air-Cooled System | Outdoor Unit |  | DEFECTIVE OUTDOOR UNIT | 1 | EACH | Replace | 12128.67 | First year
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Air Conditioning | Window Type A/C |  |  | DEFECTIVE | 1 | EACH | Replace | 1744.17 | First year
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Lighting Fixture - Fluorescent | Pendant Mounted |  |  | NOT OPERATIONAL | 3 | EACH | Replace | 5787.84 | First year
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Lighting Fixture - Fluorescent | Recessed Mounted |  |  | NOT OPERATIONAL | 1 | EACH | Replace | 1919.22 | First year
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | NOT OPERATIONAL | 7 | EACH | Replace | 10645.14 | First year
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Lighting Fixture - HID | Pendant Mounted |  |  | NOT OPERATIONAL | 1 | EACH | Replace | 1929.29 | First year
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Lighting Fixture - Incandescent | Recessed Mounted |  |  | NOT OPERATIONAL | 1 | EACH | Replace | 1875.96 | First year
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Architectural | Interior | Fire Rated Doors |  |  | METAL:DAMAGED / DETERIORATED | 1 | EACH | Replace | 1751.2 | First year
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Architectural | Interior | Non Fire Rated Doors |  |  | METAL:DAMAGED / DETERIORATED | 2 | EACH | Replace | 2836.72 | First year
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Architectural | Interior | Lobby Finishes | Floor |  | VCT:DAMAGED / DETERIORATED | 10 | SF | Replace | 279.17 | First year
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Architectural | Interior | Common Areas Finishes | Floor |  | VCT:DAMAGED / DETERIORATED | 30 | SF | Replace | 837.65 | First year
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Architectural | Interior | Common Areas Finishes | Walls |  | PLASTER:DAMAGED / DETERIORATED | 20 | SF | Replace | 1082.08 | First year
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Architectural | Interior | Common Areas - Bathroom | Door Saddle |  | MARBLE / METAL:BROKEN | 1 | EACH | Replace | 632.42 | First year
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Emergency Lighting | Battery Pack |  |  | PBSREPLACEMENT | 16 | EACH | Replace | 21807.19 | Year 6-10 | 9
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Exit Lights | Non Battery Pack |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 4617.2 | Year 6-10 | 9
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Exit/Emergency Combination | Battery Pack |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 3583.65 | Year 6-10 | 9
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Lighting Fixture - Fluorescent | Pendant Mounted |  |  | PBSREPLACEMENT | 13 | EACH | Replace | 14898 | Year 6-10 | 10
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Lighting Fixture - Fluorescent | Recessed Mounted |  |  | PBSREPLACEMENT | 30 | EACH | Replace | 34380 | Year 6-10 | 10
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 45 | EACH | Replace | 51570 | Year 6-10 | 10
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Lighting Fixture - HID | Pendant Mounted |  |  | PBSREPLACEMENT | 10 | EACH | Replace | 20707.7 | Year 16-20 | 17
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Lighting Fixture - Incandescent | Recessed Mounted |  |  | PBSREPLACEMENT | 24 | EACH | Replace | 16295.16 | Year 6-10 | 10
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 3394.82 | Year 6-10 | 10
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Panelboard | Fused Knife Switch |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 21000 | First year | 0
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 126000 | Year 16-20 | 20
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Electrical | Switchboard | Fused Disconnect Switch |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 85464.27 | Year 16-20 | 27
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 20400 | First year | 0
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 24 | EACH | Replace | 69600 | First year | 0
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 490 | SF | Replace | 12005 | First year | 0
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 880 | SF | Replace | 21556.46 | First year | 0
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Architectural | Interior | Roll Down Gate |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 35000 | First year | 0
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Architectural | Interior | Common Areas Finishes | Floor |  | PBSREPLACEMENT | 3900 | SF | Replace | 95534.33 | First year | 0
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Architectural | Interior | Common Areas - Bathroom |  |  | PBSREPLACEMENT | 5 | TOILET STALLS | Replace | 337837.85 | Year 6-10 | 0
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Architectural | Interior | Common Areas - Kitchen |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 720000 | First year | 0
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Air Conditioning | Dx Split Air-Cooled System | Outdoor Unit |  | PBSREPLACEMENT | 1 | EACH | Replace | 12128.67 | Year 16-20 | 19
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Air Conditioning | Dx Split Air-Cooled System | Indoor Unit |  | PBSREPLACEMENT | 1 | EACH | Replace | 9468.66 | First year | 19
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Domestic Water System | Gravity System | Supply Pump |  | PBSREPLACEMENT | 2 | EACH | Replace | 100000 | First year | 0
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Domestic Water System | Gravity System | Roof Tank |  | PBSREPLACEMENT | 1 | EACH | Replace | 800000 | First year | 0
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 200 | LF | Replace | 18289.6 | Year 16-20 | 35
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 43720.09 | First year | 17
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 43720.09 | First year | 17
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 11213.26 | Year 16-20 | 37
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 6-10 | 7
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 200 | LF | Replace | 15520.4 | Year 16-20 | 35
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Drainage / Sewage System | Building Storm Piping |  |  | PBSREPLACEMENT | 200 | LF | Replace | 15520.4 | Year 16-20 | 35
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 150 | LF | Replace | 28698.34 | Year 16-20 | 55
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Drainage / Sewage System | Sump Pump |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 10518.67 | Year 6-10 | 7
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 200 | LF | Replace | 19200 | Year 16-20 | 35
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 28 | EACH | Replace | 12415.2 | Year 2-5 | 0
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Heating | Steam Piping |  |  | PBSREPLACEMENT | 250 | LF | Replace | 27853 | Year 11-15 | 15
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Heating | Steam Condensate Return Piping |  |  | PBSREPLACEMENT | 250 | LF | Replace | 21332.5 | Year 11-15 | 15
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Heating Plant | Boiler System | Boiler, Steam | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 2100000 | Year 11-15 | 12
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Heating Plant | Boiler System | Boiler, Steam | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 2100000 | Year 11-15 | 12
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Heating Plant | Boiler System | Boiler, Steam | Gas / Oil Burner | PBSREPLACEMENT | 1 | EACH | Replace | 65000 | Year 11-15 | 12
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Heating Plant | Boiler Auxiliaries | Boiler Damper (In Breeching) |  | PBSREPLACEMENT | 1 | EACH | Replace | 6018.41 | Year 16-20 | 17
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Heating Plant | Boiler Auxiliaries | Boiler Feedwater System | Tank | PBSREPLACEMENT | 1 | EACH | Replace | 73845.33 | Year 16-20 | 27
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Heating Plant | Boiler Auxiliaries | Boiler Feedwater System | Pump | PBSREPLACEMENT | 3 | EACH | Replace | 43341.2 | Year 16-20 | 17
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Heating Plant | Boiler Auxiliaries | Steam Condensate Return Unit - Vacuum System |  | PBSREPLACEMENT | 1 | EACH | Replace | 29817.2 | Year 16-20 | 22
MELTZER TOWER | Building #1 | SENIOR CENTER/ COMMERCIAL SPACE (STORE #1)/ BOILER/ LAUNDRY ROOM/ ELECTRICIAN SHOP/ MAINTENANCE SHOP | Mechanical | Sprinkler System | Piping |  |  | PBSREPLACEMENT | 150 | LF | Replace | 17436.3 | Year 16-20 | 35
TOTAL | [11 empty] | 39863352.67