## Lvl1
New York City Housing Authority
2017 Physical Needs Assessment (PNA)
2020-02-03
Development | Discipline | PBS1 | Year 1 | Year 2-5 | Year 6-10 | Year 11-15 | Year 16-20 | Grand Total
EAST 165TH STREET-BRYANT AVENUE | Apartment | Architectural | 5824447.0842 |  | 3112200 |  |  | 8936647.0842
|  | Electrical | 437151.4222 |  | 54450 | 461472.1104 |  | 953073.5326
|  | Mechanical | 9422.4042 |  |  | 677018.8658 |  | 686441.27
| Apartment Total |  | 6271020.9105 |  | 3166650 | 1138490.9762 |  | 10576161.8868
| Architectural | Exterior | 2635004.767 | 7943376.4853 |  |  |  | 10578381.2523
|  | Interior | 1207299.548 | 1751.1954 |  | 3029000 |  | 4238050.7434
|  | Structural | 3027.0531 |  |  |  |  | 3027.0531
| Architectural Total |  | 3845331.3681 | 7945127.6807 |  | 3029000 |  | 14819459.0488
| Electrical | Corridor Lighting |  | 233605.6287 |  |  |  | 233605.6287
|  | Emergency Lighting | 7683.5949 |  |  |  |  | 7683.5949
|  | Exit Lights | 1539.0674 |  |  |  |  | 1539.0674
|  | Exit/Emergency Combination | 5130.2247 |  |  |  |  | 5130.2247
|  | Lighting - Exterior Security / Riot Lights |  | 537991.5626 |  |  |  | 537991.5626
|  | Lighting Fixture - Fluorescent |  | 73344 |  |  |  | 73344
|  | Lighting Fixture - HID |  |  |  |  | 16982.1788 | 16982.1788
|  | Lighting Fixture - Incandescent | 321.2005 | 15616.1949 |  |  |  | 15937.3954
|  | Lighting Fixture - LED |  |  |  |  | 8513.224 | 8513.224
|  | Motor Starter / Contactor |  |  |  | 80441.5058 |  | 80441.5058
|  | Panelboard |  |  |  | 924000 |  | 924000
|  | Service Switch |  |  |  | 543515.1706 |  | 543515.1706
|  | Stairhall Lighting | 1520.7341 | 73219.1906 |  |  |  | 74739.9247
| Electrical Total |  | 16194.8217 | 933776.5767 |  | 1547956.6764 | 25495.4027 | 2523423.4775
| Mechanical | Domestic Water System | 4500 |  | 9000 | 9000 | 839852.2713 | 862352.2713
|  | Drainage / Sewage System |  | 5259.3333 |  |  | 833113.3005 | 838372.6338
|  | Gas Service |  |  |  |  | 203904 | 203904
|  | Heating |  |  |  | 12858.6 | 2270177.28 | 2283035.88
|  | Heating Plant |  |  | 907459 |  |  | 907459
|  | Standpipe System |  |  |  |  | 0 | 0
| Mechanical Total |  | 4500 | 5259.3333 | 916459 | 21858.6 | 4147046.8518 | 5095123.7851
| Site - Architectural | Fences | 723449.2675 |  |  |  |  | 723449.2675
|  | Parking Lot | 439765.3001 |  |  |  |  | 439765.3001
|  | Paving - Non-Vehicular Area | 523627.9595 |  |  |  |  | 523627.9595
|  | Playgrounds |  | 66023.1635 |  |  |  | 66023.1635
|  | Sidewalks & Curb | 43901.0467 |  |  |  |  | 43901.0467
| Site - Architectural Total |  | 1730743.5738 | 66023.1635 |  |  |  | 1796766.7373
| Site - Electrical | Lighting |  | 4713.2019 |  |  |  | 4713.2019
| Site - Electrical Total |  |  | 4713.2019 |  |  |  | 4713.2019
| Site - Mechanical | Storm Piping |  |  |  |  | 76800 | 76800
|  | Underground Hydronic Piping |  |  |  |  | 514500 | 514500
|  | Underground Natural Gas Piping |  |  |  |  | 150000 | 150000
| Site - Mechanical Total | [5 empty] | 741300 | 741300
EAST 165TH STREET-BRYANT AVENUE Total |  |  | 11867790.6741 | 8954899.9562 | 4083109 | 5737306.2526 | 4913842.2545 | 35556948.1374

## Lvl2
New York City Housing Authority
2017 Physical Needs Assessment (PNA)
2020-02-03
Development | Discipline | PBS1 | PBS2 | Year 1 | Year 2-5 | Year 6-10 | Year 11-15 | Year 16-20 | Grand Total
EAST 165TH STREET-BRYANT AVENUE | Apartment | Architectural | Bathroom | 4112.9591 |  | 3112200 |  |  | 3116312.9591
|  |  | Ceiling | 96209.7513 |  |  |  |  | 96209.7513
|  |  | Doors | 819978.08 |  |  |  |  | 819978.08
|  |  | Floor | 2240177.4867 |  |  |  |  | 2240177.4867
|  |  | Kitchen | 2653780.3425 |  |  |  |  | 2653780.3425
|  |  | Wall | 10188.4646 |  |  |  |  | 10188.4646
|  | Architectural Total |  | 5824447.0842 |  | 3112200 |  |  | 8936647.0842
|  | Electrical | Electrical Panel Board |  |  |  | 461472.1104 |  | 461472.1104
|  |  | Light Fixtures | 437151.4222 |  |  |  |  | 437151.4222
|  |  | Smoke Detectors |  |  | 54450 |  |  | 54450
|  | Electrical Total |  | 437151.4222 |  | 54450 | 461472.1104 |  | 953073.5326
|  | Mechanical | Radiator / Convector / Baseboard | 9422.4042 |  |  | 677018.8658 |  | 686441.27
|  | Mechanical Total |  | 9422.4042 |  |  | 677018.8658 |  | 686441.27
| Apartment Total |  |  | 6271020.9105 |  | 3166650 | 1138490.9762 |  | 10576161.8868
| Architectural | Exterior | Areaway Walls | 595.5061 |  |  |  |  | 595.5061
|  |  | Areaways Grating | 1272.1027 | 12750 |  |  |  | 14022.1027
|  |  | Chimney | 5644.9418 |  |  |  |  | 5644.9418
|  |  | Coping |  | 303075 |  |  |  | 303075
|  |  | Door Lintels | 1964.1898 |  |  |  |  | 1964.1898
|  |  | Doors | 251229.9996 |  |  |  |  | 251229.9996
|  |  | Exterior Walls | 1405.2818 |  |  |  |  | 1405.2818
|  |  | Main Doors | 20902.3169 | 570000 |  |  |  | 590902.3169
|  |  | Parapets | 9660 | 2907540 |  |  |  | 2917200
|  |  | Roof | 451782.681 | 3625687.8853 |  |  |  | 4077470.5663
|  |  | Stairs / Ramps | 1133.3986 | 13500 |  |  |  | 14633.3986
|  |  | Windows | 1889414.3485 | 510823.6 |  |  |  | 2400237.9485
|  | Exterior Total |  | 2635004.767 | 7943376.4853 |  |  |  | 10578381.2523
|  | Interior | Corridor Finishes | 128481.4301 |  |  |  |  | 128481.4301
|  |  | Directories | 71229.2234 |  |  |  |  | 71229.2234
|  |  | Entry Doors | 355200 |  |  |  |  | 355200
|  |  | Fire Rated Doors | 49351.1954 | 1751.1954 |  |  |  | 51102.3909
|  |  | Lobby Finishes | 23914.7684 |  |  |  |  | 23914.7684
|  |  | Mailboxes | 173922.9307 |  |  |  |  | 173922.9307
|  |  | Non Fire Rated Doors | 81200 |  |  |  |  | 81200
|  |  | Stairs: Interior | 324000 |  |  | 2754000 |  | 3078000
|  |  | Stairs: Lower Level |  |  |  | 275000 |  | 275000
|  | Interior Total |  | 1207299.548 | 1751.1954 |  | 3029000 |  | 4238050.7434
|  | Structural | Columns / Beams / Bearing Walls | 1574.5422 |  |  |  |  | 1574.5422
|  |  | Floor Structure | 1452.5109 |  |  |  |  | 1452.5109
|  | Structural Total |  | 3027.0531 |  |  |  |  | 3027.0531
| Architectural Total |  |  | 3845331.3681 | 7945127.6807 |  | 3029000 |  | 14819459.0488
| Electrical | Corridor Lighting | Lighting Fixture - Fluorescent |  | 211404.48 |  |  |  | 211404.48
|  |  | Lighting Fixture - Incandescent |  | 22201.1487 |  |  |  | 22201.1487
|  | Corridor Lighting Total |  |  | 233605.6287 |  |  |  | 233605.6287
|  | Emergency Lighting | Non Battery Pack | 7683.5949 |  |  |  |  | 7683.5949
|  | Emergency Lighting Total |  | 7683.5949 |  |  |  |  | 7683.5949
|  | Exit Lights | Non Battery Pack | 1539.0674 |  |  |  |  | 1539.0674
|  | Exit Lights Total |  | 1539.0674 |  |  |  |  | 1539.0674
|  | Exit/Emergency Combination | Non Battery Pack | 5130.2247 |  |  |  |  | 5130.2247
|  | Exit/Emergency Combination Total |  | 5130.2247 |  |  |  |  | 5130.2247
|  | Lighting - Exterior Security / Riot Lights |  |  | 537991.5626 |  |  |  | 537991.5626
|  | Lighting - Exterior Security / Riot Lights Total |  |  | 537991.5626 |  |  |  | 537991.5626
|  | Lighting Fixture - Fluorescent | Surface Mounted |  | 73344 |  |  |  | 73344
|  | Lighting Fixture - Fluorescent Total |  |  | 73344 |  |  |  | 73344
|  | Lighting Fixture - HID | Surface Mounted |  |  |  |  | 16982.1788 | 16982.1788
|  | Lighting Fixture - HID Total | [5 empty] | 16982.1788 | 16982.1788
|  | Lighting Fixture - Incandescent | Surface Mounted | 321.2005 | 15616.1949 |  |  |  | 15937.3954
|  | Lighting Fixture - Incandescent Total |  | 321.2005 | 15616.1949 |  |  |  | 15937.3954
|  | Lighting Fixture - LED | Surface Mounted |  |  |  |  | 8513.224 | 8513.224
|  | Lighting Fixture - LED Total | [5 empty] | 8513.224 | 8513.224
|  | Motor Starter / Contactor | Combination Fused Type |  |  |  | 80441.5058 |  | 80441.5058
|  | Motor Starter / Contactor Total |  |  |  |  | 80441.5058 |  | 80441.5058
|  | Panelboard | Molded Case Circuit Breakers |  |  |  | 924000 |  | 924000
|  | Panelboard Total |  |  |  |  | 924000 |  | 924000
|  | Service Switch |  |  |  |  | 543515.1706 |  | 543515.1706
|  | Service Switch Total |  |  |  |  | 543515.1706 |  | 543515.1706
|  | Stairhall Lighting | Lighting Fixture - Fluorescent | 1520.7341 | 65290.1825 |  |  |  | 66810.9166
|  |  | Lighting Fixture - Incandescent |  | 7929.0081 |  |  |  | 7929.0081
|  | Stairhall Lighting Total |  | 1520.7341 | 73219.1906 |  |  |  | 74739.9247
| Electrical Total |  |  | 16194.8217 | 933776.5767 |  | 1547956.6764 | 25495.4027 | 2523423.4775
| Mechanical | Domestic Water System | Distribution Piping |  |  |  |  | 446266.24 | 446266.24
|  |  | Domestic Hot Water Circulating Pump | 4500 |  | 9000 | 9000 | 18000 | 40500
|  |  | Gas Fired Water Heater |  |  |  |  | 218600.4333 | 218600.4333
|  |  | Remote Water Heater Storage Tank |  |  |  |  | 156985.5979 | 156985.5979
|  | Domestic Water System Total |  | 4500 |  | 9000 | 9000 | 839852.2713 | 862352.2713
|  | Drainage / Sewage System | Building Storm Piping |  |  |  |  | 129905.748 | 129905.748
|  |  | Sewage / Waste Piping |  |  |  |  | 164826.648 | 164826.648
|  |  | Sump Pump |  | 5259.3333 |  |  |  | 5259.3333
|  |  | Vent Piping |  |  |  |  | 538380.9045 | 538380.9045
|  | Drainage / Sewage System Total |  |  | 5259.3333 |  |  | 833113.3005 | 838372.6338
|  | Gas Service | Distribution Piping |  |  |  |  | 203904 | 203904
|  | Gas Service Total | [5 empty] | 203904 | 203904
|  | Heating | Hot Water Piping (Hydronic Return) |  |  |  |  | 1135088.64 | 1135088.64
|  |  | Hot Water Piping (Hydronic Supply) |  |  |  |  | 1135088.64 | 1135088.64
|  |  | Radiator / Convector / Baseboard |  |  |  | 12858.6 |  | 12858.6
|  | Heating Total |  |  |  |  | 12858.6 | 2270177.28 | 2283035.88
|  | Heating Plant | Boiler System |  |  | 907459 |  |  | 907459
|  | Heating Plant Total |  |  |  | 907459 |  |  | 907459
|  | Standpipe System | Piping |  |  |  |  | 0 | 0
|  | Standpipe System Total | [5 empty] | 0 | 0
| Mechanical Total |  |  | 4500 | 5259.3333 | 916459 | 21858.6 | 4147046.8518 | 5095123.7851
| Site - Architectural | Fences |  | 723449.2675 |  |  |  |  | 723449.2675
|  | Fences Total |  | 723449.2675 |  |  |  |  | 723449.2675
|  | Parking Lot |  | 439765.3001 |  |  |  |  | 439765.3001
|  | Parking Lot Total |  | 439765.3001 |  |  |  |  | 439765.3001
|  | Paving - Non-Vehicular Area |  | 523627.9595 |  |  |  |  | 523627.9595
|  | Paving - Non-Vehicular Area Total |  | 523627.9595 |  |  |  |  | 523627.9595
|  | Playgrounds |  |  | 66023.1635 |  |  |  | 66023.1635
|  | Playgrounds Total |  |  | 66023.1635 |  |  |  | 66023.1635
|  | Sidewalks & Curb |  | 43901.0467 |  |  |  |  | 43901.0467
|  | Sidewalks & Curb Total |  | 43901.0467 |  |  |  |  | 43901.0467
| Site - Architectural Total |  |  | 1730743.5738 | 66023.1635 |  |  |  | 1796766.7373
| Site - Electrical | Lighting |  |  | 4713.2019 |  |  |  | 4713.2019
|  | Lighting Total |  |  | 4713.2019 |  |  |  | 4713.2019
| Site - Electrical Total |  |  |  | 4713.2019 |  |  |  | 4713.2019
| Site - Mechanical | Storm Piping | [5 empty] | 76800 | 76800
|  | Storm Piping Total | [5 empty] | 76800 | 76800
|  | Underground Hydronic Piping | [5 empty] | 514500 | 514500
|  | Underground Hydronic Piping Total | [5 empty] | 514500 | 514500
|  | Underground Natural Gas Piping | [5 empty] | 150000 | 150000
|  | Underground Natural Gas Piping Total | [5 empty] | 150000 | 150000
| Site - Mechanical Total | [6 empty] | 741300 | 741300
EAST 165TH STREET-BRYANT AVENUE Total |  |  |  | 11867790.6741 | 8954899.9562 | 4083109 | 5737306.2526 | 4913842.2545 | 35556948.1374

## Costed Action
Development | Building | Facility | Discipline | Pbs1 | Pbs2 | Pbs3 | Pbs4 | Deficiency | Quantity | UOM | Action | Cost Likely | Priority Group NA | Remaining Useful Life
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Architectural | Fences |  |  |  | METAL PANEL:DAMAGED / DETERIORATED | 30 | LF | Replace | 6767.38 | First year
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Architectural | Fences |  |  |  | STEEL BOLLARD / CHAIN:MISSING SECTION | 90 | LF | Install New | 12874.52 | First year
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Architectural | Parking Lot |  |  |  | ASPHALT:CRACKED | 800 | SF | Repair | 8861.49 | First year
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Architectural | Parking Lot |  |  |  | ASPHALT:CRACKED | 100 | SF | Repair | 1107.69 | First year
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Architectural | Paving - Non-Vehicular Area |  |  |  | ASPHALT:CRACKS - MAJOR | 400 | SF | Replace | 4430.74 | First year
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Architectural | Paving - Non-Vehicular Area |  |  |  | ASPHALT:LOCALIZED SINK AREA | 500 | SF | Replace | 5538.43 | First year
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Architectural | Sidewalks & Curb |  |  |  | CONCRETE:CRACKED | 125 | SF | Repair | 2255.79 | First year
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Electrical | Lighting |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4713.2 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Mechanical | Underground Hydronic Piping |  |  |  | PBSREPLACEMENT | 490 | LF | Replace | 514500 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Mechanical | Storm Piping |  |  |  | PBSREPLACEMENT | 80 | LF | Replace | 76800 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Mechanical | Underground Natural Gas Piping |  |  |  | PBSREPLACEMENT | 200 | LF | Replace | 150000 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Architectural | Fences |  |  |  | PBSREPLACEMENT | 3120 | LF | Replace | 703807.37 | First year | 0
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Architectural | Parking Lot |  |  |  | PBSREPLACEMENT | 4500 | SF | Replace | 157242.49 | First year | 0
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Architectural | Parking Lot |  |  |  | PBSREPLACEMENT | 4300 | SF | Replace | 150253.93 | First year | 0
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Architectural | Parking Lot |  |  |  | PBSREPLACEMENT | 3500 | SF | Replace | 122299.71 | First year | 0
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Architectural | Paving - Non-Vehicular Area |  |  |  | PBSREPLACEMENT | 14700 | SF | Replace | 513658.79 | First year | 0
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Architectural | Sidewalks & Curb |  |  |  | PBSREPLACEMENT | 2540 | SF | Replace | 41645.26 | First year | 0
EAST 165TH STREET-BRYANT AVENUE |  |  | Site - Architectural | Playgrounds |  |  |  | PBSREPLACEMENT | 1200 | SF | Replace | 66023.16 | Year 2-5 | 4
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Interior | Lobby Finishes | Floor |  | QUARRY TILE:DAMAGED / DETERIORATED | 15 | SF | Replace | 739.46 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | LAMPS MISSING | 2 | EACH | Replace | 214.13 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Exterior | Areaways Grating |  |  | METAL:RUST/BROKEN | 4 | SF | Replace | 554.12 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Exterior | Main Doors | Primary | Transom / Side Light | STAINLESS STEEL:DAMAGED / DETERIORATED | 2 | LF | Repair | 902.32 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Flashing | DAMAGED / DETERIORATED / TAR COVERED | 10 | LF | Replace | 606.8 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roof Drains | CLOGGED | 1 | EACH | Maintenance | 0 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:LEAK - LOCAL | 1101 | SF | Repair | 46086.16 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Exterior | Windows | A/C Brackets and Sleeves |  | MISSING | 18 | EACH | Install New | 5545.95 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Structural | Columns / Beams / Bearing Walls |  |  | STEEL / COLUMNS / BEAMS:DETERIORATED FIREPROOFING | 10 | SF | Replace | 60.21 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 930 | LF | Replace | 85046.64 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 43720.09 | Year 16-20 | 29
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 22426.51 | Year 16-20 | 26
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 11213.26 | Year 16-20 | 21
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 406 | LF | Replace | 31506.41 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Drainage / Sewage System | Building Storm Piping |  |  | PBSREPLACEMENT | 316 | LF | Replace | 24522.23 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 556 | LF | Replace | 106375.19 | Year 16-20 | 71
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 406 | LF | Replace | 38976 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 1330.2 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 1248 | LF | Replace | 218609.66 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 1248 | LF | Replace | 218609.66 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | Year 6-10 | 10
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Gas Burner | PBSREPLACEMENT | 1 | EACH | Replace | 11243.17 | Year 6-10 | 10
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Exterior | Areaways Grating |  |  | PBSREPLACEMENT | 30 | SF | Replace | 2550 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Exterior | Coping |  |  | PBSREPLACEMENT | 435 | LF | Replace | 58725 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | PBSREPLACEMENT | 4 | EACH | Replace | 120000 | Year 2-5 | 5
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Exterior | Doors |  |  | PBSREPLACEMENT | 8 | EACH | Replace | 41922.72 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Exterior | Parapets |  |  | PBSREPLACEMENT | 435 | LF | Replace | 567675 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roofing | PBSREPLACEMENT | 6960 | SF | Replace | 684686.56 | Year 2-5 | 4
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Exterior | Roof | Low Roof | Roofing | PBSREPLACEMENT | 285 | SF | Replace | 28036.73 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | PBSREPLACEMENT | 129 | SF | Replace | 12689.73 | Year 2-5 | 4
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Exterior | Windows |  |  | PBSREPLACEMENT | 124 | EACH | Replace | 452443.76 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Electrical | Emergency Lighting | Non Battery Pack |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 960.45 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Electrical | Exit/Emergency Combination | Non Battery Pack |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 2052.09 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | PBSREPLACEMENT | 13 | EACH | Replace | 87423.63 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 8 | EACH | Replace | 9168 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Electrical | Lighting Fixture - HID | Surface Mounted |  |  | PBSREPLACEMENT | 8 | EACH | Replace | 16982.18 | Year 16-20 | 29
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 3394.82 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Electrical | Motor Starter / Contactor | Combination Fused Type |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 16088.3 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 9 | EACH | Replace | 189000 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Interior | Entry Doors |  |  | PBSREPLACEMENT | 21 | EACH | Replace | 67200 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 11600 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 855 | SF | Replace | 20944.07 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Interior | Stairs: Interior |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 648000 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Electrical | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 32 | EACH | Replace | 60401.28 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Electrical | Corridor Lighting | Lighting Fixture - Incandescent | Surface Mounted |  | PBSREPLACEMENT | 4 | EACH | Replace | 6343.19 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 1773.6 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 13600 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Interior | Stairs: Lower Level |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 55000 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 200 | SF | Replace | 4900 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 240 | SF | Replace | 5879.04 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Interior | Directories |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 14995.63 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Architectural | Interior | Mailboxes |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 36615.35 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Apartment | Architectural | Floor |  |  | PBSREPLACEMENT | 21356 | SF | Replace | 432459 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Apartment | Architectural | Doors |  |  | PBSREPLACEMENT | 196 | EACH | Replace | 152880 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Apartment | Architectural | Bathroom |  |  | PBSREPLACEMENT | 21 | EACH | Replace | 558600 | Year 6-10 | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Apartment | Architectural | Kitchen |  |  | PBSREPLACEMENT | 21 | EACH | Replace | 499800 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 87 | EACH | Replace | 128604.02 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | PBSREPLACEMENT | 21 | EACH | Replace | 87305.53 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | PBSREPLACEMENT | 43 | EACH | Replace | 18598.47 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | PBSREPLACEMENT | 130 | EACH | Replace | 56227.92 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #1 |  | Apartment | Electrical | Smoke Detectors |  |  | PBSREPLACEMENT | 21 | EACH | Replace | 9450 | Year 6-10 | 6
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Interior | Lobby Finishes | Floor |  | QUARRY TILE:DAMAGED / DETERIORATED | 10 | SF | Repair | 387.34 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Chimney |  |  | BRICK:MINOR CRACKS / SPALLING | 10 | SF | Restitch | 1309.27 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Door Lintels |  |  | BRICK:CHIPPED / SPALLED / BROKEN PIECES | 15 | LF | Replace | 1964.19 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Doors |  |  | METAL:RUST - MAJOR | 2 | EACH | Replace | 2894.99 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | STAINLESS STEEL:DAMAGED / DETERIORATED | 1 | EACH | Replace | 20000 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Roof | Main Roof | Flashing | DAMAGED / DETERIORATED / TAR COVERED | 30 | LF | Replace | 1820.4 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:LEAK - LOCAL | 1168 | SF | Repair | 48890.68 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Stairs / Ramps | Railings |  | RUST - MINOR | 10 | LF | Repaint | 176.06 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Stairs / Ramps | Stairs / Ramps |  | CONCRETE:MINOR CRACKS / SPALLING | 15 | SF | Repair | 957.34 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Windows | A/C Brackets and Sleeves |  | MISSING | 20 | EACH | Install New | 6162.16 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Structural | Columns / Beams / Bearing Walls |  |  | STEEL / COLUMNS / BEAMS:DETERIORATED FIREPROOFING | 10 | SF | Replace | 60.21 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Structural | Floor Structure |  |  | CONCRETE SLAB ON GRADE:MINOR CRACKS/SPALLING | 10 | SF | Repair | 581 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 1050 | LF | Replace | 96020.4 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 43720.09 | Year 16-20 | 29
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 22426.51 | Year 16-20 | 26
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 11213.26 | Year 16-20 | 47
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 16-20 | 19
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 16-20 | 19
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 453 | LF | Replace | 35153.71 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Drainage / Sewage System | Building Storm Piping |  |  | PBSREPLACEMENT | 333 | LF | Replace | 25841.47 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 603 | LF | Replace | 115367.34 | Year 16-20 | 71
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 453 | LF | Replace | 43488 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 886.8 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 1370 | LF | Replace | 239980.16 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 1370 | LF | Replace | 239980.16 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | Year 6-10 | 10
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Gas Burner | PBSREPLACEMENT | 1 | EACH | Replace | 11243.17 | Year 6-10 | 10
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Electrical | Emergency Lighting | Non Battery Pack |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 960.45 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Electrical | Exit Lights | Non Battery Pack |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 769.53 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Electrical | Exit/Emergency Combination | Non Battery Pack |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 1026.04 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | PBSREPLACEMENT | 17 | EACH | Replace | 114323.21 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 8 | EACH | Replace | 9168 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 3394.82 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Electrical | Lighting Fixture - LED | Surface Mounted |  |  | PBSREPLACEMENT | 10 | EACH | Replace | 8513.22 | Year 16-20 | 29
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Electrical | Motor Starter / Contactor | Combination Fused Type |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 16088.3 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 10 | EACH | Replace | 210000 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Areaways Grating |  |  | PBSREPLACEMENT | 30 | SF | Replace | 2550 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Coping |  |  | PBSREPLACEMENT | 470 | LF | Replace | 63450 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | PBSREPLACEMENT | 4 | EACH | Replace | 120000 | Year 2-5 | 5
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Doors |  |  | PBSREPLACEMENT | 9 | EACH | Replace | 47163.06 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Parapets |  |  | PBSREPLACEMENT | 470 | LF | Replace | 613350 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Roof | Main Roof | Roofing | PBSREPLACEMENT | 7704 | SF | Replace | 757877.19 | Year 2-5 | 4
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Roof | Low Roof | Roofing | PBSREPLACEMENT | 284 | SF | Replace | 27938.36 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | PBSREPLACEMENT | 129 | SF | Replace | 12689.73 | Year 2-5 | 4
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Stairs / Ramps | Railings |  | PBSREPLACEMENT | 90 | LF | Replace | 13500 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Exterior | Windows |  |  | PBSREPLACEMENT | 140 | EACH | Replace | 510823.6 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Interior | Entry Doors |  |  | PBSREPLACEMENT | 24 | EACH | Replace | 76800 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 11600 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 807 | SF | Replace | 19768.26 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Interior | Stairs: Interior |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 648000 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Electrical | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 32 | EACH | Replace | 60401.28 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Electrical | Corridor Lighting | Lighting Fixture - Incandescent | Surface Mounted |  | PBSREPLACEMENT | 4 | EACH | Replace | 6343.19 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 1773.6 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Mechanical | Standpipe System | Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 13600 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Interior | Stairs: Lower Level |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 55000 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 200 | SF | Replace | 4900 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 240 | SF | Replace | 5879.04 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Interior | Directories |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 14995.63 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Architectural | Interior | Mailboxes |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 36615.35 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:DAMAGED / DETERIORATED | 231 | SF | Repair | 11648.47 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Architectural | Floor |  |  | CERAMIC TILE:DAMAGED / DETERIORATED | 99 | SF | Repair | 4152.24 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Architectural | Floor |  |  | PBSREPLACEMENT | 23742 | SF | Replace | 480775.5 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Architectural | Wall |  |  | GYPSUM BOARD:DAMAGED / DETERIORATED | 297 | SF | Repair | 7451.26 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Architectural | Doors |  |  | PBSREPLACEMENT | 251 | EACH | Replace | 195780 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Architectural | Bathroom |  |  | PBSREPLACEMENT | 30 | EACH | Replace | 798000 | Year 6-10 | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Architectural | Kitchen |  |  | PBSREPLACEMENT | 24 | EACH | Replace | 571200 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Architectural | Kitchen | Cabinets |  | DEFECTIVE / DETERIORATED | 6 | EACH | Replace | 11980.34 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | DEFECTIVE | 19 | EACH | Repair | 7322.4 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 105 | EACH | Replace | 155211.75 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | PBSREPLACEMENT | 24 | EACH | Replace | 99777.75 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | PBSREPLACEMENT | 52 | EACH | Replace | 22491.17 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | ANTIQUATED / OBSOLETE | 105 | EACH | Replace / Upgrade | 45414.86 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | DEFECTIVE | 6 | EACH | Repair | 1601.29 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | PBSREPLACEMENT | 145 | EACH | Replace | 62715.76 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #2 |  | Apartment | Electrical | Smoke Detectors |  |  | PBSREPLACEMENT | 33 | EACH | Replace | 14850 | Year 6-10 | 6
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Electrical | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | NOT OPERATIONAL | 1 | EACH | Replace | 1520.73 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | LAMPS MISSING | 1 | EACH | Replace | 107.07 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Areaways Grating |  |  | METAL:SLIGHTLY RUSTED | 10 | SF | Repair and Repaint | 358.99 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Chimney |  |  | BRICK:MINOR CRACKS / SPALLING | 30 | SF | Restitch | 3927.81 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Doors |  |  | METAL:DAMAGED / DETERIORATED | 6 | EACH | Replace | 5785.74 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Exterior Walls | Bulkhead Walls |  | BRICK:MINOR CRACKS / SPALLING | 10 | SF | Restitch | 1405.28 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Parapets |  |  | CMU:TAR COVERED | 60 | LF | Repair | 9660 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Roof | Main Roof | Flashing | DAMAGED / DETERIORATED / TAR COVERED | 15 | LF | Replace | 910.2 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:LEAK - LOCAL | 1122 | SF | Repair | 46965.19 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Windows | A/C Brackets and Sleeves |  | MISSING | 22 | EACH | Install New | 6778.38 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Interior | Entry Doors |  |  | PBSREPLACEMENT | 30 | EACH | Replace | 96000 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 14500 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 1091 | SF | Replace | 26725.12 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Interior | Stairs: Interior |  |  | PBSREPLACEMENT | 15 | EACH | Replace | 810000 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Electrical | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 40 | EACH | Replace | 65290.18 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Electrical | Stairhall Lighting | Lighting Fixture - Incandescent | Surface Mounted |  | PBSREPLACEMENT | 5 | EACH | Replace | 7929.01 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 2217 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Standpipe System | Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Electrical | Emergency Lighting | Non Battery Pack |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 1920.9 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Electrical | Exit/Emergency Combination | Non Battery Pack |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 1026.04 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | PBSREPLACEMENT | 19 | EACH | Replace | 127773 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 18 | EACH | Replace | 20628 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 3394.82 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Electrical | Motor Starter / Contactor | Combination Fused Type |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 16088.3 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 10 | EACH | Replace | 210000 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 1250 | LF | Replace | 114310 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 43720.09 | Year 16-20 | 29
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 22426.51 | Year 16-20 | 26
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 11213.26 | Year 16-20 | 35
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 9000 | Year 16-20 | 19
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 554 | LF | Replace | 42991.51 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Drainage / Sewage System | Building Storm Piping |  |  | PBSREPLACEMENT | 434 | LF | Replace | 33679.27 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 704 | LF | Replace | 134690.89 | Year 16-20 | 71
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Drainage / Sewage System | Sump Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 5259.33 | Year 2-5 | 5
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 554 | LF | Replace | 53184 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 886.8 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 1632 | LF | Replace | 285874.18 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 1632 | LF | Replace | 285874.18 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | Year 6-10 | 10
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | Year 6-10 | 10
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Gas Burner | PBSREPLACEMENT | 2 | EACH | Replace | 22486.33 | Year 6-10 | 10
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 6800 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Interior | Stairs: Lower Level |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 55000 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 8700 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 230 | SF | Replace | 5635 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 280 | SF | Replace | 6858.88 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Interior | Directories |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 18744.53 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Interior | Mailboxes |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 45769.19 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Areaways Grating |  |  | PBSREPLACEMENT | 30 | SF | Replace | 2550 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Coping |  |  | PBSREPLACEMENT | 550 | LF | Replace | 74250 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | PBSREPLACEMENT | 5 | EACH | Replace | 150000 | Year 2-5 | 5
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Doors |  |  | PBSREPLACEMENT | 11 | EACH | Replace | 57643.74 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Parapets |  |  | PBSREPLACEMENT | 550 | LF | Replace | 717750 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Roof | Main Roof | Roofing | PBSREPLACEMENT | 9336 | SF | Replace | 918424.39 | Year 2-5 | 4
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Roof | Low Roof | Roofing | PBSREPLACEMENT | 351 | SF | Replace | 34529.45 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | PBSREPLACEMENT | 129 | SF | Replace | 12689.73 | Year 2-5 | 4
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Architectural | Exterior | Windows |  |  | PBSREPLACEMENT | 158 | EACH | Replace | 576500.92 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:EXCESSIVE MOLD | 593 | SF | Repair | 54664.4 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Apartment | Architectural | Floor |  |  | PBSREPLACEMENT | 28921 | SF | Replace | 585650.25 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Apartment | Architectural | Doors |  |  | PBSREPLACEMENT | 271 | EACH | Replace | 211380 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Apartment | Architectural | Bathroom |  |  | PBSREPLACEMENT | 30 | EACH | Replace | 798000 | Year 6-10 | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Apartment | Architectural | Bathroom | Door Saddle |  | MARBLE/METAL:BROKEN | 15 | EACH | Replace | 4112.96 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Apartment | Architectural | Kitchen |  |  | PBSREPLACEMENT | 30 | EACH | Replace | 714000 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 118 | EACH | Replace | 174428.44 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | PBSREPLACEMENT | 30 | EACH | Replace | 124722.19 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | PBSREPLACEMENT | 67 | EACH | Replace | 28979.01 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | PBSREPLACEMENT | 169 | EACH | Replace | 73096.3 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #3 |  | Apartment | Electrical | Smoke Detectors |  |  | PBSREPLACEMENT | 33 | EACH | Replace | 14850 | Year 6-10 | 6
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Interior | Fire Rated Doors |  |  | METAL:DAMAGED / DETERIORATED | 1 | EACH | Replace | 1751.2 | Year 2-5
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Areaway Walls |  |  | CONCRETE:MINOR CRACKS / SPALLING | 10 | SF | Replace | 595.51 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Areaways Grating |  |  | METAL:SLIGHTLY RUSTED | 10 | SF | Repair and Repaint | 358.99 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Chimney |  |  | BRICK:OPEN JOINTS | 10 | SF | Repoint | 407.87 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Doors |  |  | METAL:RUST - MAJOR | 5 | EACH | Replace | 7237.47 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Doors |  |  | METAL:MISSING / DETERIORATED HARDWARE | 2 | EACH | Maintenance | 1843.99 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Roof | Main Roof | Flashing | IMPROPERLY INSTALLED | 140 | LF | Replace | 8495.2 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Roof | Main Roof | Flashing | MISSING | 10 | LF | Install New | 539.7 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Roof | Main Roof | Roof Drains | CLOGGED | 1 | EACH | Maintenance | 0 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:LOSS OF GRAVEL | 140 | SF | Install New | 835.28 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:LEAK - LOCAL | 818 | SF | Repair | 34240.22 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Windows | A/C Brackets and Sleeves |  | MISSING | 5 | EACH | Install New | 1540.54 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Structural | Columns / Beams / Bearing Walls |  |  | STEEL / COLUMNS / BEAMS:DETERIORATED FIREPROOFING | 10 | SF | Replace | 60.21 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Interior | Entry Doors |  |  | PBSREPLACEMENT | 24 | EACH | Replace | 76800 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 11600 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 882 | SF | Replace | 21605.46 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Interior | Stairs: Interior |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 648000 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Electrical | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 32 | EACH | Replace | 60401.28 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Electrical | Corridor Lighting | Lighting Fixture - Incandescent | Surface Mounted |  | PBSREPLACEMENT | 4 | EACH | Replace | 6343.19 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 1773.6 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Standpipe System | Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Electrical | Emergency Lighting | Non Battery Pack |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 1920.9 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Electrical | Exit/Emergency Combination | Non Battery Pack |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 1026.04 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | PBSREPLACEMENT | 17 | EACH | Replace | 114323.21 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 17 | EACH | Replace | 19482 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 2715.86 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Electrical | Motor Starter / Contactor | Combination Fused Type |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 16088.3 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 10 | EACH | Replace | 210000 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 1050 | LF | Replace | 96020.4 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 43720.09 | Year 16-20 | 21
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 33639.77 | Year 16-20 | 26
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 455 | LF | Replace | 35308.91 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Drainage / Sewage System | Building Storm Piping |  |  | PBSREPLACEMENT | 365 | LF | Replace | 28324.73 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 575 | LF | Replace | 110010.31 | Year 16-20 | 71
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 455 | LF | Replace | 43680 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 886.8 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 1374 | LF | Replace | 240680.83 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 1374 | LF | Replace | 240680.83 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | Year 6-10 | 10
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Gas Burner | PBSREPLACEMENT | 1 | EACH | Replace | 11243.17 | Year 6-10 | 10
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 6800 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Interior | Stairs: Lower Level |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 55000 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 8700 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 200 | SF | Replace | 4900 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 240 | SF | Replace | 5879.04 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Interior | Directories |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 14995.63 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Interior | Mailboxes |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 36615.35 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Areaways Grating |  |  | PBSREPLACEMENT | 30 | SF | Replace | 2550 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Coping |  |  | PBSREPLACEMENT | 475 | LF | Replace | 64125 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | PBSREPLACEMENT | 4 | EACH | Replace | 120000 | Year 2-5 | 5
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Doors |  |  | PBSREPLACEMENT | 10 | EACH | Replace | 52403.4 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Parapets |  |  | PBSREPLACEMENT | 475 | LF | Replace | 619875 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Roof | Main Roof | Roofing | PBSREPLACEMENT | 7738 | SF | Replace | 761221.93 | Year 2-5 | 4
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Roof | Low Roof | Roofing | PBSREPLACEMENT | 284 | SF | Replace | 27938.36 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | PBSREPLACEMENT | 129 | SF | Replace | 12689.73 | Year 2-5 | 4
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Architectural | Exterior | Windows |  |  | PBSREPLACEMENT | 142 | EACH | Replace | 518121.08 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:EXCESSIVE MOLD / LEAKING PIPE | 140 | SF | Repair | 22585.08 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Apartment | Architectural | Floor |  |  | PBSREPLACEMENT | 22213 | SF | Replace | 449813.25 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Apartment | Architectural | Wall |  |  | CERAMIC TILE:BROKEN / MISSING | 56 | SF | Repair | 1708.58 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Apartment | Architectural | Doors |  |  | PBSREPLACEMENT | 202 | EACH | Replace | 157560 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Apartment | Architectural | Bathroom |  |  | PBSREPLACEMENT | 24 | EACH | Replace | 638400 | Year 6-10 | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Apartment | Architectural | Bathroom | Bathtub |  | CLOGGED / LEAKING | 6 | EACH | Maintenance | 0 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Apartment | Architectural | Kitchen |  |  | PBSREPLACEMENT | 24 | EACH | Replace | 571200 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 90 | EACH | Replace | 133038.64 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | PBSREPLACEMENT | 24 | EACH | Replace | 99777.75 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | PBSREPLACEMENT | 45 | EACH | Replace | 19463.51 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | PBSREPLACEMENT | 135 | EACH | Replace | 58390.53 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #4 |  | Apartment | Electrical | Smoke Detectors |  |  | PBSREPLACEMENT | 22 | EACH | Replace | 9900 | Year 6-10 | 6
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Interior | Fire Rated Doors |  |  | METAL:DAMAGED / DETERIORATED | 1 | EACH | Replace | 1751.2 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Interior | Lobby Finishes | Floor |  | QUARRY TILE:DAMAGED / DETERIORATED | 10 | SF | Replace | 492.97 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Doors |  |  | METAL:DAMAGED / DETERIORATED | 3 | EACH | Replace | 2892.87 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Roof | Low Roof | Roofing | BUILT-UP:LEAK - SEVERE | 98 | SF | Replace | 4102.13 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Roof | Main Roof | Flashing | MISSING | 20 | LF | Install New | 1079.4 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Roof | Main Roof | Roof Drains | DETERIORATED | 1 | EACH | Replace | 1003.66 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:LOSS OF GRAVEL | 110 | SF | Install New | 656.3 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:LEAK - SEVERE | 2923 | SF | Replace | 122352.27 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Windows | A/C Brackets and Sleeves |  | MISSING | 4 | EACH | Install New | 1232.43 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Structural | Columns / Beams / Bearing Walls |  |  | STEEL / COLUMNS / BEAMS:RUST - MAJOR | 10 | SF | Replace | 1393.92 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Structural | Floor Structure |  |  | CONCRETE SLAB ON GRADE:MINOR CRACKS/SPALLING | 15 | SF | Repair | 871.51 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Interior | Entry Doors |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 38400 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 5800 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 470 | SF | Replace | 11513.11 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Interior | Stairs: Interior |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 324000 | First year | 11
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Electrical | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 16 | EACH | Replace | 30200.64 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Electrical | Corridor Lighting | Lighting Fixture - Incandescent | Surface Mounted |  | PBSREPLACEMENT | 2 | EACH | Replace | 3171.59 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 886.8 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Electrical | Emergency Lighting | Non Battery Pack |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 1920.9 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Electrical | Exit Lights | Non Battery Pack |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 769.53 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | PBSREPLACEMENT | 14 | EACH | Replace | 94148.52 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 13 | EACH | Replace | 14898 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 2715.86 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Electrical | Motor Starter / Contactor | Combination Fused Type |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 16088.3 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 105000 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 600 | LF | Replace | 54868.8 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 43720.09 | Year 16-20 | 19
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 11213.26 | Year 16-20 | 46
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 11213.26 | Year 16-20 | 39
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 6-10 | 9
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 6-10 | 9
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 256 | LF | Replace | 19866.11 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Drainage / Sewage System | Building Storm Piping |  |  | PBSREPLACEMENT | 226 | LF | Replace | 17538.05 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 376 | LF | Replace | 71937.18 | Year 16-20 | 71
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 256 | LF | Replace | 24576 | Year 16-20 | 51
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 443.4 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 856 | LF | Replace | 149943.81 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 856 | LF | Replace | 149943.81 | Year 16-20 | 31
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | Year 6-10 | 10
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Gas Burner | PBSREPLACEMENT | 1 | EACH | Replace | 11243.17 | Year 6-10 | 10
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 6800 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Interior | Stairs: Lower Level |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 55000 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 8700 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 80 | SF | Replace | 1960 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 140 | SF | Replace | 3429.44 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Interior | Directories |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 7497.81 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Interior | Mailboxes |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 18307.68 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Areaways Grating |  |  | PBSREPLACEMENT | 30 | SF | Replace | 2550 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Coping |  |  | PBSREPLACEMENT | 315 | LF | Replace | 42525 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | PBSREPLACEMENT | 2 | EACH | Replace | 60000 | Year 2-5 | 5
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Doors |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 31442.04 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Parapets |  |  | PBSREPLACEMENT | 298 | LF | Replace | 388890 | Year 2-5 | 1
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Roof | Main Roof | Roofing | PBSREPLACEMENT | 4473 | SF | Replace | 440029.17 | Year 2-5 | 4
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Roof | Low Roof | Roofing | PBSREPLACEMENT | 150 | SF | Replace | 14756.18 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | PBSREPLACEMENT | 129 | SF | Replace | 12689.73 | Year 2-5 | 4
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Architectural | Exterior | Windows |  |  | PBSREPLACEMENT | 88 | EACH | Replace | 321089.12 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:DAMAGED / DETERIORATED | 145 | SF | Repair | 7311.81 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Apartment | Architectural | Floor |  |  | PBSREPLACEMENT | 14189 | SF | Replace | 287327.25 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Apartment | Architectural | Wall |  |  | GYPSUM BOARD:DAMAGED / DETERIORATED | 41 | SF | Repair | 1028.62 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Apartment | Architectural | Doors |  |  | WOOD:DAMAGED / DETERIORATED | 4 | EACH | Replace | 1758.08 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Apartment | Architectural | Doors |  |  | PBSREPLACEMENT | 129 | EACH | Replace | 100620 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Apartment | Architectural | Bathroom |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 319200 | Year 6-10 | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Apartment | Architectural | Kitchen |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 285600 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | DEFECTIVE GUARD / SHIELD | 4 | EACH | Repair | 2100 | First year
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 58 | EACH | Replace | 85736.01 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | PBSREPLACEMENT | 12 | EACH | Replace | 49888.88 | Year 11-15 | 11
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | PBSREPLACEMENT | 25 | EACH | Replace | 10813.06 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | PBSREPLACEMENT | 91 | EACH | Replace | 39359.55 | First year | 0
EAST 165TH STREET-BRYANT AVENUE | Building #5 |  | Apartment | Electrical | Smoke Detectors |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 5400 | Year 6-10 | 6
TOTAL | [11 empty] | 35556948.19