## Lvl1
New York City Housing Authority
2017 Physical Needs Assessment (PNA)
2020-02-03
Development | Discipline | PBS1 | Year 1 | Year 2-5 | Year 6-10 | Year 11-15 | Year 16-20 | Grand Total
LONGFELLOW AVENUE REHAB | Apartment | Architectural | 6419020.6283 |  | 1117200 |  |  | 7536220.6283
|  | Electrical | 22601.977 | 298873.0302 |  | 330598.0736 | 16650 | 668723.0808
|  | Mechanical | 3675 |  |  | 747972.8081 |  | 751647.8081
| Apartment Total |  | 6445297.6052 | 298873.0302 | 1117200 | 1078570.8817 | 16650 | 8956591.5171
| Architectural | Exterior | 3512173.6627 | 2149966.7258 | 1585204.6307 | 2100000 |  | 9347345.0191
|  | Interior | 1451110.6774 |  | 202702.71 | 1458000 |  | 3111813.3874
|  | Structural | 5565.0218 |  |  |  |  | 5565.0218
| Architectural Total |  | 4968849.3618 | 2149966.7258 | 1787907.3407 | 3558000 |  | 12464723.4282
| Electrical | Corridor Lighting |  | 152287.2527 |  |  |  | 152287.2527
|  | Emergency Lighting | 1920.8987 |  |  |  |  | 1920.8987
|  | Exit Lights | 23855.5451 |  | 2308.6011 |  |  | 26164.1462
|  | Lighting - Exterior Security / Riot Lights | 2603.305 | 342969.6211 |  |  |  | 345572.9261
|  | Lighting Fixture - Fluorescent | 7603.6703 | 127206 |  |  |  | 134809.6703
|  | Motor Starter / Contactor |  |  |  | 20780.7225 |  | 20780.7225
|  | Panelboard |  |  |  | 483000 | 21000 | 504000
|  | Security |  |  | 117505.01 |  |  | 117505.01
|  | Service Switch |  |  |  | 434812.1365 |  | 434812.1365
|  | Stairhall Lighting |  | 32645.0913 |  |  |  | 32645.0913
| Electrical Total |  | 35983.4191 | 655107.9651 | 119813.6111 | 938592.859 | 21000 | 1770497.8544
| Mechanical | Domestic Water System |  | 9000 |  | 131160.26 | 375415.794 | 515576.054
|  | Drainage / Sewage System |  |  |  |  | 452998.0502 | 452998.0502
|  | Garbage Chute | 654.6346 |  |  |  |  | 654.6346
|  | Gas Service |  |  |  |  | 168000 | 168000
|  | Heating |  |  |  | 19509.6 | 1506444.8 | 1525954.4
|  | Heating Plant |  |  | 302486.3333 |  |  | 302486.3333
|  | Interior Compactor | 245000 |  |  |  |  | 245000
|  | Sprinkler System | 0 |  |  |  | 259219.66 | 259219.66
|  | Standpipe System |  |  |  |  | 0 | 0
| Mechanical Total |  | 245654.6346 | 9000 | 302486.3333 | 150669.86 | 2762078.3042 | 3469889.1322
| Site - Architectural | Fences | 18046.3428 |  |  |  |  | 18046.3428
|  | Paving - Non-Vehicular Area | 73379.827 |  |  |  |  | 73379.827
| Site - Architectural Total |  | 91426.1698 |  |  |  |  | 91426.1698
| Site - Mechanical | Storm Piping |  |  |  |  | 240000 | 240000
|  | Underground Hydronic Piping |  |  |  |  | 94500 | 94500
|  | Underground Natural Gas Piping |  |  |  |  | 67500 | 67500
| Site - Mechanical Total | [5 empty] | 402000 | 402000
LONGFELLOW AVENUE REHAB Total |  |  | 11787211.1906 | 3112947.7211 | 3327407.2851 | 5725833.6007 | 3201728.3042 | 27155128.1017

## Lvl2
New York City Housing Authority
2017 Physical Needs Assessment (PNA)
2020-02-03
Development | Discipline | PBS1 | PBS2 | Year 1 | Year 2-5 | Year 6-10 | Year 11-15 | Year 16-20 | Grand Total
LONGFELLOW AVENUE REHAB | Apartment | Architectural | Bathroom | 1886919.8101 |  | 1117200 |  |  | 3004119.8101
|  |  | Ceiling | 105128.3889 |  |  |  |  | 105128.3889
|  |  | Doors | 864648.34 |  |  |  |  | 864648.34
|  |  | Floor | 1750390.6924 |  |  |  |  | 1750390.6924
|  |  | Kitchen | 1801134.4749 |  |  |  |  | 1801134.4749
|  |  | Wall | 10798.922 |  |  |  |  | 10798.922
|  | Architectural Total |  | 6419020.6283 |  | 1117200 |  |  | 7536220.6283
|  | Electrical | Electrical Panel Board | 5825.5596 |  |  | 307648.0736 |  | 313473.6332
|  |  | Light Fixtures | 16776.4173 | 298873.0302 |  |  |  | 315649.4476
|  |  | Smoke Detectors |  |  |  | 22950 | 16650 | 39600
|  | Electrical Total |  | 22601.977 | 298873.0302 |  | 330598.0736 | 16650 | 668723.0808
|  | Mechanical | Radiator / Convector / Baseboard | 3675 |  |  | 747972.8081 |  | 751647.8081
|  | Mechanical Total |  | 3675 |  |  | 747972.8081 |  | 751647.8081
| Apartment Total |  |  | 6445297.6052 | 298873.0302 | 1117200 | 1078570.8817 | 16650 | 8956591.5171
| Architectural | Exterior | Chimney | 1355.7282 |  |  |  |  | 1355.7282
|  |  | Coping | 41474.2602 | 196425 |  |  |  | 237899.2602
|  |  | Doors | 121492.1053 |  |  |  |  | 121492.1053
|  |  | Exterior Walls | 130464.2316 |  |  |  |  | 130464.2316
|  |  | Fire Escape-Steel | 102335.9536 |  |  | 2100000 |  | 2202335.9536
|  |  | Louver | 5567.9566 |  |  |  |  | 5567.9566
|  |  | Main Doors | 77611.9718 |  |  |  |  | 77611.9718
|  |  | Parapets | 12695.687 | 1898775 |  |  |  | 1911470.687
|  |  | Roof | 251018.0586 | 36766.7258 | 1585204.6307 |  |  | 1872989.415
|  |  | Stairs / Ramps | 12460.7775 | 18000 |  |  |  | 30460.7775
|  |  | Windows | 2755696.9323 |  |  |  |  | 2755696.9323
|  |  | Windows Lintels | 0 |  |  |  |  | 0
|  | Exterior Total |  | 3512173.6627 | 2149966.7258 | 1585204.6307 | 2100000 |  | 9347345.0191
|  | Interior | Common Areas - Bathroom |  |  | 202702.71 |  |  | 202702.71
|  |  | Common Areas - Kitchen | 360000 |  |  |  |  | 360000
|  |  | Common Areas Finishes | 31844.7777 |  |  |  |  | 31844.7777
|  |  | Corridor Finishes | 150405.3348 |  |  |  |  | 150405.3348
|  |  | Directories | 11246.7195 |  |  |  |  | 11246.7195
|  |  | Entry Doors | 242352.33 |  |  |  |  | 242352.33
|  |  | Fire Rated Doors | 51000 |  |  |  |  | 51000
|  |  | Lobby Finishes | 4900 |  |  |  |  | 4900
|  |  | Mailboxes | 27461.5154 |  |  |  |  | 27461.5154
|  |  | Non Fire Rated Doors | 31900 |  |  |  |  | 31900
|  |  | Roll Down Gate | 420000 |  |  |  |  | 420000
|  |  | Stairs: Interior |  |  |  | 1458000 |  | 1458000
|  |  | Storefront | 120000 |  |  |  |  | 120000
|  | Interior Total |  | 1451110.6774 |  | 202702.71 | 1458000 |  | 3111813.3874
|  | Structural | Columns / Beams / Bearing Walls | 2280 |  |  |  |  | 2280
|  |  | Floor Structure | 2905.0218 |  |  |  |  | 2905.0218
|  |  | Foundation Walls | 380 |  |  |  |  | 380
|  | Structural Total |  | 5565.0218 |  |  |  |  | 5565.0218
| Architectural Total |  |  | 4968849.3618 | 2149966.7258 | 1787907.3407 | 3558000 |  | 12464723.4282
| Electrical | Corridor Lighting | Lighting Fixture - Fluorescent |  | 149115.66 |  |  |  | 149115.66
|  |  | Lighting Fixture - Incandescent |  | 3171.5927 |  |  |  | 3171.5927
|  | Corridor Lighting Total |  |  | 152287.2527 |  |  |  | 152287.2527
|  | Emergency Lighting | Non Battery Pack | 1920.8987 |  |  |  |  | 1920.8987
|  | Emergency Lighting Total |  | 1920.8987 |  |  |  |  | 1920.8987
|  | Exit Lights | Non Battery Pack | 23855.5451 |  | 2308.6011 |  |  | 26164.1462
|  | Exit Lights Total |  | 23855.5451 |  | 2308.6011 |  |  | 26164.1462
|  | Lighting - Exterior Security / Riot Lights |  | 2603.305 | 342969.6211 |  |  |  | 345572.9261
|  | Lighting - Exterior Security / Riot Lights Total |  | 2603.305 | 342969.6211 |  |  |  | 345572.9261
|  | Lighting Fixture - Fluorescent | Pendant Mounted |  | 19482 |  |  |  | 19482
|  |  | Surface Mounted | 7603.6703 | 107724 |  |  |  | 115327.6703
|  | Lighting Fixture - Fluorescent Total |  | 7603.6703 | 127206 |  |  |  | 134809.6703
|  | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  |  | 20780.7225 |  | 20780.7225
|  | Motor Starter / Contactor Total |  |  |  |  | 20780.7225 |  | 20780.7225
|  | Panelboard | Molded Case Circuit Breakers |  |  |  | 483000 | 21000 | 504000
|  | Panelboard Total |  |  |  |  | 483000 | 21000 | 504000
|  | Security | Closed Circuit Television System |  |  | 117505.01 |  |  | 117505.01
|  | Security Total |  |  |  | 117505.01 |  |  | 117505.01
|  | Service Switch |  |  |  |  | 434812.1365 |  | 434812.1365
|  | Service Switch Total |  |  |  |  | 434812.1365 |  | 434812.1365
|  | Stairhall Lighting | Lighting Fixture - Fluorescent |  | 32645.0913 |  |  |  | 32645.0913
|  | Stairhall Lighting Total |  |  | 32645.0913 |  |  |  | 32645.0913
| Electrical Total |  |  | 35983.4191 | 655107.9651 | 119813.6111 | 938592.859 | 21000 | 1770497.8544
| Mechanical | Domestic Water System | Distribution Piping |  |  |  |  | 352989.28 | 352989.28
|  |  | Domestic Hot Water Circulating Pump |  | 9000 |  |  |  | 9000
|  |  | Gas Fired Water Heater |  |  |  | 131160.26 |  | 131160.26
|  |  | Remote Water Heater Storage Tank |  |  |  |  | 22426.514 | 22426.514
|  | Domestic Water System Total |  |  | 9000 |  | 131160.26 | 375415.794 | 515576.054
|  | Drainage / Sewage System | Building Storm Piping |  |  |  |  | 23280.6 | 23280.6
|  |  | Sewage / Waste Piping |  |  |  |  | 138907.58 | 138907.58
|  |  | Vent Piping |  |  |  |  | 290809.8702 | 290809.8702
|  | Drainage / Sewage System Total | [5 empty] | 452998.0502 | 452998.0502
|  | Garbage Chute |  | 654.6346 |  |  |  |  | 654.6346
|  | Garbage Chute Total |  | 654.6346 |  |  |  |  | 654.6346
|  | Gas Service | Distribution Piping |  |  |  |  | 168000 | 168000
|  | Gas Service Total | [5 empty] | 168000 | 168000
|  | Heating | Hot Water Piping (Hydronic Return) |  |  |  |  | 753222.4 | 753222.4
|  |  | Hot Water Piping (Hydronic Supply) |  |  |  |  | 753222.4 | 753222.4
|  |  | Radiator / Convector / Baseboard |  |  |  | 19509.6 |  | 19509.6
|  | Heating Total |  |  |  |  | 19509.6 | 1506444.8 | 1525954.4
|  | Heating Plant | Boiler System |  |  | 302486.3333 |  |  | 302486.3333
|  | Heating Plant Total |  |  |  | 302486.3333 |  |  | 302486.3333
|  | Interior Compactor |  | 245000 |  |  |  |  | 245000
|  | Interior Compactor Total |  | 245000 |  |  |  |  | 245000
|  | Sprinkler System | Piping |  |  |  |  | 259219.66 | 259219.66
|  |  | Valve Chain | 0 |  |  |  |  | 0
|  | Sprinkler System Total |  | 0 |  |  |  | 259219.66 | 259219.66
|  | Standpipe System | Piping |  |  |  |  | 0 | 0
|  | Standpipe System Total | [5 empty] | 0 | 0
| Mechanical Total |  |  | 245654.6346 | 9000 | 302486.3333 | 150669.86 | 2762078.3042 | 3469889.1322
| Site - Architectural | Fences |  | 18046.3428 |  |  |  |  | 18046.3428
|  | Fences Total |  | 18046.3428 |  |  |  |  | 18046.3428
|  | Paving - Non-Vehicular Area |  | 73379.827 |  |  |  |  | 73379.827
|  | Paving - Non-Vehicular Area Total |  | 73379.827 |  |  |  |  | 73379.827
| Site - Architectural Total |  |  | 91426.1698 |  |  |  |  | 91426.1698
| Site - Mechanical | Storm Piping | [5 empty] | 240000 | 240000
|  | Storm Piping Total | [5 empty] | 240000 | 240000
|  | Underground Hydronic Piping | [5 empty] | 94500 | 94500
|  | Underground Hydronic Piping Total | [5 empty] | 94500 | 94500
|  | Underground Natural Gas Piping | [5 empty] | 67500 | 67500
|  | Underground Natural Gas Piping Total | [5 empty] | 67500 | 67500
| Site - Mechanical Total | [6 empty] | 402000 | 402000
LONGFELLOW AVENUE REHAB Total |  |  |  | 11787211.1906 | 3112947.7211 | 3327407.2851 | 5725833.6007 | 3201728.3042 | 27155128.1017

## Costed Action
Development | Building | Facility | Discipline | Pbs1 | Pbs2 | Pbs3 | Pbs4 | Deficiency | Quantity | UOM | Action | Cost Likely | Priority Group NA | Remaining Useful Life
LONGFELLOW AVENUE REHAB |  |  | Site - Mechanical | Underground Hydronic Piping |  |  |  | PBSREPLACEMENT | 90 | LF | Replace | 94500 | Year 16-20 | 33
LONGFELLOW AVENUE REHAB |  |  | Site - Mechanical | Storm Piping |  |  |  | PBSREPLACEMENT | 250 | LF | Replace | 240000 | Year 16-20 | 53
LONGFELLOW AVENUE REHAB |  |  | Site - Mechanical | Underground Natural Gas Piping |  |  |  | PBSREPLACEMENT | 90 | LF | Replace | 67500 | Year 16-20 | 34
LONGFELLOW AVENUE REHAB |  |  | Site - Architectural | Fences |  |  |  | PBSREPLACEMENT | 80 | LF | Replace | 18046.34 | First year | 0
LONGFELLOW AVENUE REHAB |  |  | Site - Architectural | Paving - Non-Vehicular Area |  |  |  | PBSREPLACEMENT | 2100 | SF | Replace | 73379.83 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Sprinkler System | Valve Chain |  |  | INSECURE / UNLOCKED | 1 | EACH | Maintenance | 0 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | TIME CLOCK DEFECTIVE | 1 | EACH | Repair | 1301.65 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | NOT OPERATIONAL | 2 | EACH | Replace | 3041.47 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Chimney |  |  | STUCCO CEMENT:MINOR CRACKS / SPALLING | 10 | SF | Repair | 451.91 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Coping |  |  | CAST STONE:TAR COVERED | 200 | LF | Replace Cast Stone | 41474.26 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Doors |  |  | METAL:DAMAGED / DETERIORATED | 1 | EACH | Replace | 964.29 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Exterior Walls | Bulkhead Walls |  | STUCCO CEMENT:CRACKS / SPALLING | 40 | SF | Replace | 1936.68 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | BRICK:OPEN JOINTS | 1000 | SF | Repoint | 39815.08 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Fire Escape-Steel |  |  | METAL:MINOR RUST | 600 | SF | Repair | 40934.38 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Louver |  |  | MISSING SCREEN | 60 | SF | Replace | 3037.07 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Main Doors | Primary | Transom / Side Light | METAL:DENTS / RUST | 10 | LF | Replace | 5611.97 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Parapets |  |  | BRICK:MINOR CRACKS / SPALLING | 30 | LF | Repair | 12695.69 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Roof | Bulkhead Roof | Flashing | DAMAGED / DETERIORATED / TAR COVERED | 20 | LF | Replace | 1213.6 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Roof | Low Roof | Roofing | BUILT-UP:LEAK - SEVERE | 24 | SF | Replace | 1004.6 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Flashing | MISSING | 500 | LF | Install New | 26985.1 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roofing | SPF:LEAK - SEVERE | 2043 | SF | Replace | 169279.25 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Stairs / Ramps | Stairs / Ramps |  | CONCRETE:WORN-OUT TREAD / RISER / NOSING | 50 | LF | Replace | 5369.89 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Windows | A/C Brackets and Sleeves |  | MISSING | 13 | EACH | Install New | 4005.41 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Windows | Child Guards |  | MISSING | 5 | EACH | Install New | 2283.3 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Windows | Windows |  | ALUMINUM:HARDWARE MISSING / POOR CONDITION | 20 | EACH | Replace | 6206.18 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Windows Lintels |  |  | STEEL:MINOR RUST | 60 | EACH | Maintenance | 0 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Structural | Columns / Beams / Bearing Walls |  |  | MASONRY BEARING WALL:OPEN JOINTS | 20 | SF | Repoint | 760 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Structural | Floor Structure |  |  | CONCRETE SLAB ON GRADE:MINOR CRACKS/SPALLING | 20 | SF | Repair | 1162.01 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Structural | Foundation Walls |  |  | STONE:OPEN JOINTS | 10 | SF | Repoint | 380 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Interior Compactor |  |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 98000 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 1400 | LF | Replace | 128027.2 | Year 16-20 | 53
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 43720.09 | Year 11-15 | 13
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 11213.26 | Year 16-20 | 33
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 2-5 | 3
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 650 | LF | Replace | 50441.3 | Year 16-20 | 53
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Drainage / Sewage System | Building Storm Piping |  |  | PBSREPLACEMENT | 100 | LF | Replace | 7760.2 | Year 16-20 | 53
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 500 | LF | Replace | 95661.14 | Year 16-20 | 73
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 650 | LF | Replace | 62400 | Year 16-20 | 53
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 2217 | Year 11-15 | 13
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 1600 | LF | Replace | 280268.8 | Year 16-20 | 33
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 1600 | LF | Replace | 280268.8 | Year 16-20 | 33
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | Year 6-10 | 8
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Gas Burner | PBSREPLACEMENT | 1 | EACH | Replace | 11243.17 | Year 6-10 | 8
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Sprinkler System | Piping |  |  | PBSREPLACEMENT | 1980 | LF | Replace | 230159.16 | Year 16-20 | 53
LONGFELLOW AVENUE REHAB | Building #1 |  | Electrical | Exit Lights | Non Battery Pack |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 769.53 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | PBSREPLACEMENT | 26 | EACH | Replace | 174847.26 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #1 |  | Electrical | Lighting Fixture - Fluorescent | Pendant Mounted |  |  | PBSREPLACEMENT | 11 | EACH | Replace | 12606 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #1 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 38 | EACH | Replace | 43548 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #1 |  | Electrical | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 5195.18 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #1 |  | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 7 | EACH | Replace | 147000 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #1 |  | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 21000 | Year 16-20 | 37
LONGFELLOW AVENUE REHAB | Building #1 |  | Electrical | Security | Closed Circuit Television System |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 117505.01 | Year 6-10 | 9
LONGFELLOW AVENUE REHAB | Building #1 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Interior | Entry Doors |  |  | PBSREPLACEMENT | 27 | EACH | Replace | 86400 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Electrical | Exit Lights | Non Battery Pack |  |  | PBSREPLACEMENT | 10 | EACH | Replace | 7695.34 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 6800 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 2900 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 1140 | SF | Replace | 27925.42 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Interior | Stairs: Interior |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 648000 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #1 |  | Electrical | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 16 | EACH | Replace | 30200.64 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #1 |  | Electrical | Corridor Lighting | Lighting Fixture - Incandescent | Surface Mounted |  | PBSREPLACEMENT | 1 | EACH | Replace | 1585.8 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #1 |  | Electrical | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 10 | EACH | Replace | 16322.55 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 54
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 54
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 54
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 15 | EACH | Replace | 6651 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 34
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 34
LONGFELLOW AVENUE REHAB | Building #1 |  | Mechanical | Standpipe System | Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 54
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Coping |  |  | PBSREPLACEMENT | 583 | LF | Replace | 78705 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | PBSREPLACEMENT | 1 | EACH | Replace | 30000 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Doors |  |  | PBSREPLACEMENT | 11 | EACH | Replace | 57643.74 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Parapets |  |  | PBSREPLACEMENT | 583 | LF | Replace | 760815 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roofing | PBSREPLACEMENT | 5805 | SF | Replace | 571064.01 | Year 6-10 | 7
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Roof | Low Roof | Roofing | PBSREPLACEMENT | 68 | SF | Replace | 6689.47 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | PBSREPLACEMENT | 277 | SF | Replace | 27248.49 | Year 6-10 | 7
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Roof | Bulkhead Roof | Skylight | PBSREPLACEMENT | 2 | EACH | Replace | 14706.69 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Stairs / Ramps | Railings |  | PBSREPLACEMENT | 10 | LF | Replace | 1500 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Windows |  |  | PBSREPLACEMENT | 290 | EACH | Replace | 1058134.6 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Exterior | Fire Escape-Steel |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 840000 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 10200 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 11600 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 85 | SF | Replace | 2082.5 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Interior | Roll Down Gate |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 175000 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Interior | Storefront |  |  | PBSREPLACEMENT | 80 | SF | Replace | 40000 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Interior | Common Areas - Bathroom |  |  | PBSREPLACEMENT | 2 | TOILET STALLS | Replace | 135135.14 | Year 6-10 | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Interior | Directories |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 3748.91 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Architectural | Interior | Mailboxes |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 9153.84 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Ceiling |  |  | GYPSUM BOARD:EXCESSIVE MOLD | 125 | SF | Replace | 3381.48 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:EXCESSIVE MOLD | 146 | SF | Repair | 13458.69 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Floor |  |  | WOOD:DETERIORATED | 83 | SF | Replace | 4676.2 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Floor |  |  | PBSREPLACEMENT | 35699 | SF | Replace | 722904.75 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Wall |  |  | PLASTER:CRACKS / SPALLING | 83 | SF | Repair | 3880.13 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Doors |  |  | WOOD:DAMAGED / DETERIORATED | 4 | EACH | Replace | 1758.08 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Doors |  |  | WOOD:MISSING / DETERIORATED HARDWARE | 12 | EACH | Maintenance | 3565.68 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Doors |  |  | WOOD:MISSING DOOR | 12 | EACH | Replace | 5274.24 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Doors |  |  | PBSREPLACEMENT | 453 | EACH | Replace | 353340 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Bathroom |  |  | PBSREPLACEMENT | 42 | EACH | Replace | 1117200 | Year 6-10 | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | CERAMIC TILE:BROKEN / MISSING | 60 | SF | Repair | 1830.63 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | CERAMIC TILE:EXCESSIVE MOLD | 90 | SF | Repair | 4081.35 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Bathroom | Bathtub |  | CLOGGED / LEAKING | 6 | EACH | Maintenance | 0 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Bathroom | Vanity |  | DEFECTIVE / DETERIORATED | 3 | EACH | Replace | 4081.82 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Bathroom | Accessories |  | MISSING / BROKEN | 3 | EACH | Install New | 8520.61 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Kitchen |  |  | PBSREPLACEMENT | 27 | EACH | Replace | 642600 | First year | 0
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Architectural | Kitchen | Sink |  | CLOGGED / LEAKING | 6 | EACH | Maintenance | 0 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 239 | EACH | Replace | 353291.5 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | PBSREPLACEMENT | 27 | EACH | Replace | 112249.97 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | LAMPS MISSING | 4 | EACH | Replace | 1067.53 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | PBSREPLACEMENT | 83 | EACH | Replace | 35899.37 | Year 2-5 | 3
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | ANTIQUATED / OBSOLETE | 4 | EACH | Replace / Upgrade | 1730.09 | First year
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | PBSREPLACEMENT | 201 | EACH | Replace | 86937.02 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #1 |  | Apartment | Electrical | Smoke Detectors |  |  | PBSREPLACEMENT | 37 | EACH | Replace | 16650 | Year 16-20 | 25
LONGFELLOW AVENUE REHAB | Building #2 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | TIME CLOCK DEFECTIVE | 1 | EACH | Repair | 1301.65 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | NOT OPERATIONAL | 3 | EACH | Replace | 4562.2 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Interior | Entry Doors |  |  | METAL:DAMAGED / DETERIORATED | 1 | EACH | Replace | 2352.33 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Garbage Chute |  |  |  | DEFECTIVE GARBAGE CHUTE DOOR | 1 | EACH | Repair | 654.63 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Chimney |  |  | STUCCO CEMENT:MINOR CRACKS / SPALLING | 20 | SF | Repair | 903.82 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | BRICK:OPEN JOINTS | 1200 | SF | Repoint | 47778.09 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | BRICK:MINOR CRACKS / SPALLING | 300 | SF | Restitch | 40934.38 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Fire Escape-Steel |  |  | METAL:MINOR RUST | 900 | SF | Repair | 61401.57 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Louver |  |  | MISSING SCREEN | 50 | SF | Replace | 2530.89 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | METAL:DAMAGED / DETERIORATED | 1 | EACH | Replace | 12000 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | SPF:PONDING | 20 | SF | Repair | 1180.67 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Roof | Main Roof | Flashing | MISSING | 700 | LF | Install New | 37779.15 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Stairs / Ramps | Cheek / Flank Walls |  | CONCRETE:MINOR CRACKS / SPALLING | 30 | SF | Repair | 1914.67 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Stairs / Ramps | Railings |  | RUST - MINOR | 50 | LF | Repaint | 880.31 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Stairs / Ramps | Stairs / Ramps |  | CONCRETE:WORN-OUT TREAD / RISER / NOSING | 40 | LF | Replace | 4295.91 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Windows | A/C Brackets and Sleeves |  | MISSING | 15 | EACH | Install New | 4621.62 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Windows | Child Guards |  | MISSING | 24 | EACH | Install New | 10959.85 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Windows | Windows |  | ALUMINUM:HARDWARE MISSING / POOR CONDITION | 30 | EACH | Replace | 9309.27 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Windows Lintels |  |  | STEEL:MINOR RUST | 60 | EACH | Maintenance | 0 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Structural | Columns / Beams / Bearing Walls |  |  | MASONRY BEARING WALL:OPEN JOINTS | 40 | SF | Repoint | 1520 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Structural | Floor Structure |  |  | CONCRETE SLAB ON GRADE:MINOR CRACKS/SPALLING | 30 | SF | Repair | 1743.01 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Sprinkler System | Valve Chain |  |  | INSECURE / UNLOCKED | 1 | EACH | Maintenance | 0 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Interior Compactor |  |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 147000 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 2200 | LF | Replace | 201185.6 | Year 16-20 | 53
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 1000 | LF | Replace | 77602 | Year 16-20 | 53
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Drainage / Sewage System | Building Storm Piping |  |  | PBSREPLACEMENT | 200 | LF | Replace | 15520.4 | Year 16-20 | 53
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 1000 | LF | Replace | 191322.28 | Year 16-20 | 73
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 900 | LF | Replace | 86400 | Year 16-20 | 53
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 1330.2 | Year 11-15 | 13
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 2400 | LF | Replace | 420403.2 | Year 16-20 | 33
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 2400 | LF | Replace | 420403.2 | Year 16-20 | 33
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Sprinkler System | Piping |  |  | PBSREPLACEMENT | 250 | LF | Replace | 29060.5 | Year 16-20 | 53
LONGFELLOW AVENUE REHAB | Building #2 |  | Electrical | Exit Lights | Non Battery Pack |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 2308.6 | Year 6-10 | 9
LONGFELLOW AVENUE REHAB | Building #2 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | PBSREPLACEMENT | 25 | EACH | Replace | 168122.36 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #2 |  | Electrical | Lighting Fixture - Fluorescent | Pendant Mounted |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 6876 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #2 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 36 | EACH | Replace | 41256 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #2 |  | Electrical | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 15585.54 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #2 |  | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 15 | EACH | Replace | 315000 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #2 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #2 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #2 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Interior | Entry Doors |  |  | PBSREPLACEMENT | 48 | EACH | Replace | 153600 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Electrical | Exit Lights | Non Battery Pack |  |  | PBSREPLACEMENT | 18 | EACH | Replace | 13851.61 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 6800 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 2900 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 5000 | SF | Replace | 122479.91 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Interior | Stairs: Interior |  |  | PBSREPLACEMENT | 15 | EACH | Replace | 810000 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #2 |  | Electrical | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 63 | EACH | Replace | 118915.02 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #2 |  | Electrical | Corridor Lighting | Lighting Fixture - Incandescent | Surface Mounted |  | PBSREPLACEMENT | 1 | EACH | Replace | 1585.8 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #2 |  | Electrical | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 10 | EACH | Replace | 16322.55 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 54
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 54
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 54
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 16 | EACH | Replace | 7094.4 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 34
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 34
LONGFELLOW AVENUE REHAB | Building #2 |  | Mechanical | Standpipe System | Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 54
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Coping |  |  | PBSREPLACEMENT | 872 | LF | Replace | 117720 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | PBSREPLACEMENT | 1 | EACH | Replace | 30000 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Doors |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 62884.08 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Parapets |  |  | PBSREPLACEMENT | 872 | LF | Replace | 1137960 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Roof | Main Roof | Roofing | PBSREPLACEMENT | 9830 | SF | Replace | 967021.39 | Year 6-10 | 7
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Roof | Low Roof | Roofing | PBSREPLACEMENT | 70 | SF | Replace | 6886.22 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | PBSREPLACEMENT | 202 | SF | Replace | 19870.74 | Year 6-10 | 7
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Roof | Bulkhead Roof | Skylight | PBSREPLACEMENT | 3 | EACH | Replace | 22060.04 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Stairs / Ramps | Railings |  | PBSREPLACEMENT | 110 | LF | Replace | 16500 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Windows |  |  | PBSREPLACEMENT | 455 | EACH | Replace | 1660176.7 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Exterior | Fire Escape-Steel |  |  | PBSREPLACEMENT | 9 | EACH | Replace | 1260000 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 10200 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 8700 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 80 | SF | Replace | 1960 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Interior | Roll Down Gate |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 210000 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Interior | Storefront |  |  | PBSREPLACEMENT | 80 | SF | Replace | 40000 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Interior | Directories |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 7497.81 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Architectural | Interior | Mailboxes |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 18307.68 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Ceiling |  |  | GYPSUM BOARD:EXCESSIVE MOLD | 222 | SF | Replace | 6005.51 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:ACTIVE LEAKS | 259 | SF | Repair | 17118.83 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:CRACKS / SPALLING | 296 | SF | Replace | 17321.01 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:EXCESSIVE MOLD | 519 | SF | Repair | 47842.87 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Floor |  |  | VCT:DAMAGED / DETERIORATED | 148 | SF | Replace | 4131.78 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Floor |  |  | WOOD:DETERIORATED | 445 | SF | Replace | 25071.21 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Floor |  |  | PBSREPLACEMENT | 49067 | SF | Replace | 993606.75 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Wall |  |  | PLASTER:CRACKS / SPALLING | 148 | SF | Repair | 6918.79 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Doors |  |  | WOOD:DAMAGED / DETERIORATED | 14 | EACH | Replace | 6153.28 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Doors |  |  | WOOD:MISSING / DETERIORATED HARDWARE | 29 | EACH | Maintenance | 8617.06 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Doors |  |  | PBSREPLACEMENT | 623 | EACH | Replace | 485940 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Bathroom |  |  | PBSREPLACEMENT | 68 | EACH | Replace | 1808800 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | CERAMIC TILE:BROKEN / MISSING | 137 | SF | Repair | 4179.93 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | CERAMIC TILE:EXCESSIVE MOLD | 205 | SF | Repair | 9296.41 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Bathroom | Bathtub |  | CLOGGED / LEAKING | 6 | EACH | Maintenance | 0 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Bathroom | Sink |  | CLOGGED / LEAKING | 6 | EACH | Maintenance | 0 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Bathroom | Toilet |  | DEFECTIVE / DETERIORATED | 13 | EACH | Replace | 18035.55 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Bathroom | Accessories |  | MISSING / BROKEN | 6 | EACH | Install New | 17041.23 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Bathroom | Exhaust / Vent |  | INOPERABLE | 27 | EACH | Replace | 11052.28 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Kitchen |  |  | PBSREPLACEMENT | 47 | EACH | Replace | 1118600 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Kitchen | Cabinets |  | DEFECTIVE / DETERIORATED | 20 | EACH | Replace | 39934.47 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Architectural | Kitchen | Sink |  | CLOGGED / LEAKING | 13 | EACH | Maintenance | 0 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | DEFECTIVE GUARD / SHIELD | 7 | EACH | Replace | 3675 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 267 | EACH | Replace | 394681.3 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | DOOR LOCK IS MISSING | 6 | EACH | Replace-in-Kind | 5825.56 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | PBSREPLACEMENT | 47 | EACH | Replace | 195398.1 | Year 11-15 | 12
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | ANTIQUATED / OBSOLETE | 14 | EACH | Replace / Upgrade | 6055.31 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | BALLAST DEFECTIVE | 7 | EACH | Replace | 1868.17 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | PBSREPLACEMENT | 118 | EACH | Replace | 51037.65 | Year 2-5 | 2
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | ANTIQUATED / OBSOLETE | 14 | EACH | Replace / Upgrade | 6055.31 | First year
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | PBSREPLACEMENT | 289 | EACH | Replace | 124999 | Year 2-5 | 2
LONGFELLOW AVENUE REHAB | Building #2 |  | Apartment | Electrical | Smoke Detectors |  |  | PBSREPLACEMENT | 51 | EACH | Replace | 22950 | Year 11-15 | 11
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 260 | LF | Replace | 23776.48 | Year 16-20 | 53
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 87440.17 | Year 11-15 | 13
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 11213.26 | Year 16-20 | 33
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 2-5 | 3
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 140 | LF | Replace | 10864.28 | Year 16-20 | 53
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 20 | LF | Replace | 3826.45 | Year 16-20 | 73
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 200 | LF | Replace | 19200 | Year 16-20 | 53
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 2217 | Year 11-15 | 13
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 300 | LF | Replace | 52550.4 | Year 16-20 | 33
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 300 | LF | Replace | 52550.4 | Year 16-20 | 33
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | Year 6-10 | 8
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Gas Burner | PBSREPLACEMENT | 1 | EACH | Replace | 11243.17 | Year 6-10 | 8
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Electrical | Emergency Lighting | Non Battery Pack |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 1920.9 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Electrical | Exit Lights | Non Battery Pack |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 1539.07 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 20 | EACH | Replace | 22920 | Year 2-5 | 4
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 21000 | Year 11-15 | 14
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 17000 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 5800 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 35 | SF | Replace | 857.5 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Architectural | Interior | Roll Down Gate |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 35000 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Architectural | Interior | Storefront |  |  | PBSREPLACEMENT | 80 | SF | Replace | 40000 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Architectural | Interior | Common Areas Finishes | Floor |  | PBSREPLACEMENT | 1300 | SF | Replace | 31844.78 | First year | 0
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Architectural | Interior | Common Areas - Bathroom |  |  | PBSREPLACEMENT | 1 | TOILET STALLS | Replace | 67567.57 | Year 6-10 | 0
LONGFELLOW AVENUE REHAB | Building #2 | COMMUNITY ROOM/ BOILER | Architectural | Interior | Common Areas - Kitchen |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 360000 | First year | 0
TOTAL | [11 empty] | 27155128.1