## Lvl1
New York City Housing Authority
2017 Physical Needs Assessment (PNA)
2020-02-03
Development | Discipline | PBS1 | Year 1 | Year 2-5 | Year 6-10 | Year 11-15 | Year 16-20 | Grand Total
WEST FARMS SQUARE CONVENTIONAL | Apartment | Architectural | 1604174.3075 |  |  |  |  | 1604174.3075
|  | Electrical | 9438.6894 |  | 57525.4892 |  | 104298.128 | 171262.3066
|  | Mechanical |  |  |  |  | 115300.1562 | 115300.1562
| Apartment Total |  | 1613612.9969 |  | 57525.4892 |  | 219598.2842 | 1890736.7703
| Architectural | Exterior | 1066840.3521 | 323454.5871 | 420000 |  |  | 1810294.9392
|  | Interior | 276550.825 |  | 55000 |  | 270000 | 601550.825
|  | Structural | 856.3303 |  |  |  |  | 856.3303
| Architectural Total |  | 1344247.5074 | 323454.5871 | 475000 |  | 270000 | 2412702.0944
| Electrical | Corridor Lighting |  |  | 19857.709 |  |  | 19857.709
|  | Exit Lights |  | 28421.5851 |  |  |  | 28421.5851
|  | Exit/Emergency Combination |  |  | 1194.5506 |  |  | 1194.5506
|  | Lighting - Exterior Security / Riot Lights |  |  | 127772.9961 |  |  | 127772.9961
|  | Lighting Fixture - Fluorescent |  |  | 34380 |  |  | 34380
|  | Lighting Fixture - Incandescent | 678.965 |  |  |  |  | 678.965
|  | Motor Starter / Contactor |  |  | 4022.0753 |  |  | 4022.0753
|  | Panelboard |  |  | 189000 |  |  | 189000
|  | Service Switch |  |  | 108703.0341 |  |  | 108703.0341
|  | Stairhall Lighting | 466.7283 |  | 9793.5274 |  |  | 10260.2557
|  | Switchboard |  | 0 | 85464.27 |  |  | 85464.27
| Electrical Total |  | 1145.6933 | 28421.5851 | 580188.1624 |  |  | 609755.4408
| Mechanical | Domestic Water System |  |  |  | 4500 | 45724 | 50224
|  | Drainage / Sewage System |  |  |  |  | 143774.3815 | 143774.3815
|  | Gas Service |  |  |  |  | 48000 | 48000
|  | Heating |  |  |  |  | 295113 | 295113
|  | Heating Plant |  |  | 140000 |  | 11243.1667 | 151243.1667
|  | Interior Compactor | 49000 |  |  |  |  | 49000
|  | Sprinkler System | 0 |  |  |  | 3487.26 | 3487.26
| Mechanical Total |  | 49000 |  | 140000 | 4500 | 547341.8082 | 740841.8082
| Site - Architectural | Fences | 38700.6033 |  |  |  |  | 38700.6033
|  | Paving - Non-Vehicular Area | 57201.3223 |  |  |  |  | 57201.3223
| Site - Architectural Total |  | 95901.9256 |  |  |  |  | 95901.9256
| Site - Mechanical | Storm Piping |  |  |  |  | 144000 | 144000
|  | Underground Hydronic Piping |  |  |  |  | 105000 | 105000
|  | Underground Natural Gas Piping |  |  |  |  | 18750 | 18750
| Site - Mechanical Total | [5 empty] | 267750 | 267750
WEST FARMS SQUARE CONVENTIONAL Total |  |  | 3103908.1232 | 351876.1722 | 1252713.6516 | 4500 | 1304690.0924 | 6017688.0393

## Lvl2
New York City Housing Authority
2017 Physical Needs Assessment (PNA)
2020-02-03
Development | Discipline | PBS1 | PBS2 | Year 1 | Year 2-5 | Year 6-10 | Year 11-15 | Year 16-20 | Grand Total
WEST FARMS SQUARE CONVENTIONAL | Apartment | Architectural | Bathroom | 602043.8216 |  |  |  |  | 602043.8216
|  |  | Doors | 156736.64 |  |  |  |  | 156736.64
|  |  | Floor | 327838.0572 |  |  |  |  | 327838.0572
|  |  | Kitchen | 501957.4087 |  |  |  |  | 501957.4087
|  |  | Wall | 15598.3801 |  |  |  |  | 15598.3801
|  | Architectural Total |  | 1604174.3075 |  |  |  |  | 1604174.3075
|  | Electrical | Electrical Panel Board |  |  |  |  | 83148.128 | 83148.128
|  |  | Light Fixtures | 7739.5678 |  | 57525.4892 |  |  | 65265.057
|  |  | Smoke Detectors | 1699.1216 |  |  |  | 21150 | 22849.1215
|  | Electrical Total |  | 9438.6894 |  | 57525.4892 |  | 104298.128 | 171262.3066
|  | Mechanical | Radiator / Convector / Baseboard |  |  |  |  | 115300.1562 | 115300.1562
|  | Mechanical Total | [5 empty] | 115300.1562 | 115300.1562
| Apartment Total |  |  | 1613612.9969 |  | 57525.4892 |  | 219598.2842 | 1890736.7703
| Architectural | Exterior | Chimney | 1084.3729 |  |  |  |  | 1084.3729
|  |  | Coping | 42120 |  |  |  |  | 42120
|  |  | Doors | 16685.3089 |  |  |  |  | 16685.3089
|  |  | Exterior Walls | 97550.8367 |  |  |  |  | 97550.8367
|  |  | Fire Escape-Steel |  |  | 420000 |  |  | 420000
|  |  | Louver | 1214.8269 |  |  |  |  | 1214.8269
|  |  | Main Doors | 30000 |  |  |  |  | 30000
|  |  | Parapets | 407160 |  |  |  |  | 407160
|  |  | Roof | 14260.337 | 323454.5871 |  |  |  | 337714.924
|  |  | Stairs / Ramps | 10073.9772 |  |  |  |  | 10073.9772
|  |  | Windows | 426267.517 |  |  |  |  | 426267.517
|  |  | Windows Lintels | 20423.1756 |  |  |  |  | 20423.1756
|  | Exterior Total |  | 1066840.3521 | 323454.5871 | 420000 |  |  | 1810294.9392
|  | Interior | Common Areas Finishes | 5879.0359 |  |  |  |  | 5879.0359
|  |  | Corridor Finishes | 11564.2305 |  |  |  |  | 11564.2305
|  |  | Directories | 3748.9065 |  |  |  |  | 3748.9065
|  |  | Entry Doors | 79368.57 |  |  |  |  | 79368.57
|  |  | Fire Rated Doors | 29667.5801 |  |  |  |  | 29667.5801
|  |  | Lobby Finishes | 6125 |  |  |  |  | 6125
|  |  | Mailboxes | 9153.8385 |  |  |  |  | 9153.8385
|  |  | Non Fire Rated Doors | 19406.9969 |  |  |  |  | 19406.9969
|  |  | Roll Down Gate | 86636.6667 |  |  |  |  | 86636.6667
|  |  | Stairs: Interior |  |  |  |  | 270000 | 270000
|  |  | Stairs: Lower Level |  |  | 55000 |  |  | 55000
|  |  | Storefront | 25000 |  |  |  |  | 25000
|  | Interior Total |  | 276550.825 |  | 55000 |  | 270000 | 601550.825
|  | Structural | Columns / Beams / Bearing Walls | 856.3303 |  |  |  |  | 856.3303
|  | Structural Total |  | 856.3303 |  |  |  |  | 856.3303
| Architectural Total |  |  | 1344247.5074 | 323454.5871 | 475000 |  | 270000 | 2412702.0944
| Electrical | Corridor Lighting | Lighting Fixture - Fluorescent |  |  | 15100.32 |  |  | 15100.32
|  |  | Lighting Fixture - Incandescent |  |  | 4757.389 |  |  | 4757.389
|  | Corridor Lighting Total |  |  |  | 19857.709 |  |  | 19857.709
|  | Exit Lights | Battery Pack |  | 24573.9165 |  |  |  | 24573.9165
|  |  | Non Battery Pack |  | 3847.6686 |  |  |  | 3847.6686
|  | Exit Lights Total |  |  | 28421.5851 |  |  |  | 28421.5851
|  | Exit/Emergency Combination | Battery Pack |  |  | 1194.5506 |  |  | 1194.5506
|  | Exit/Emergency Combination Total |  |  |  | 1194.5506 |  |  | 1194.5506
|  | Lighting - Exterior Security / Riot Lights |  |  |  | 127772.9961 |  |  | 127772.9961
|  | Lighting - Exterior Security / Riot Lights Total |  |  |  | 127772.9961 |  |  | 127772.9961
|  | Lighting Fixture - Fluorescent | Pendant Mounted |  |  | 26358 |  |  | 26358
|  |  | Surface Mounted |  |  | 8022 |  |  | 8022
|  | Lighting Fixture - Fluorescent Total |  |  |  | 34380 |  |  | 34380
|  | Lighting Fixture - Incandescent | Surface Mounted | 678.965 |  |  |  |  | 678.965
|  | Lighting Fixture - Incandescent Total |  | 678.965 |  |  |  |  | 678.965
|  | Motor Starter / Contactor | Combination Fused Type |  |  | 4022.0753 |  |  | 4022.0753
|  | Motor Starter / Contactor Total |  |  |  | 4022.0753 |  |  | 4022.0753
|  | Panelboard | Molded Case Circuit Breakers |  |  | 189000 |  |  | 189000
|  | Panelboard Total |  |  |  | 189000 |  |  | 189000
|  | Service Switch |  |  |  | 108703.0341 |  |  | 108703.0341
|  | Service Switch Total |  |  |  | 108703.0341 |  |  | 108703.0341
|  | Stairhall Lighting | Lighting Fixture - Fluorescent | 466.7283 |  | 9793.5274 |  |  | 10260.2557
|  | Stairhall Lighting Total |  | 466.7283 |  | 9793.5274 |  |  | 10260.2557
|  | Switchboard | Fused Disconnect Switch |  | 0 | 85464.27 |  |  | 85464.27
|  | Switchboard Total |  |  | 0 | 85464.27 |  |  | 85464.27
| Electrical Total |  |  | 1145.6933 | 28421.5851 | 580188.1624 |  |  | 609755.4408
| Mechanical | Domestic Water System | Distribution Piping |  |  |  |  | 45724 | 45724
|  |  | Domestic Hot Water Circulating Pump |  |  |  | 4500 |  | 4500
|  | Domestic Water System Total |  |  |  |  | 4500 | 45724 | 50224
|  | Drainage / Sewage System | Building Storm Piping |  |  |  |  | 9312.24 | 9312.24
|  |  | Sewage / Waste Piping |  |  |  |  | 38801 | 38801
|  |  | Vent Piping |  |  |  |  | 95661.1415 | 95661.1415
|  | Drainage / Sewage System Total | [5 empty] | 143774.3815 | 143774.3815
|  | Gas Service | Distribution Piping |  |  |  |  | 48000 | 48000
|  | Gas Service Total | [5 empty] | 48000 | 48000
|  | Heating | Steam Condensate Return Piping |  |  |  |  | 127995 | 127995
|  |  | Steam Piping |  |  |  |  | 167118 | 167118
|  | Heating Total | [5 empty] | 295113 | 295113
|  | Heating Plant | Boiler System |  |  | 140000 |  | 11243.1667 | 151243.1667
|  | Heating Plant Total |  |  |  | 140000 |  | 11243.1667 | 151243.1667
|  | Interior Compactor |  | 49000 |  |  |  |  | 49000
|  | Interior Compactor Total |  | 49000 |  |  |  |  | 49000
|  | Sprinkler System | Piping |  |  |  |  | 3487.26 | 3487.26
|  |  | Valve Chain | 0 |  |  |  |  | 0
|  | Sprinkler System Total |  | 0 |  |  |  | 3487.26 | 3487.26
| Mechanical Total |  |  | 49000 |  | 140000 | 4500 | 547341.8082 | 740841.8082
| Site - Architectural | Fences |  | 38700.6033 |  |  |  |  | 38700.6033
|  | Fences Total |  | 38700.6033 |  |  |  |  | 38700.6033
|  | Paving - Non-Vehicular Area |  | 57201.3223 |  |  |  |  | 57201.3223
|  | Paving - Non-Vehicular Area Total |  | 57201.3223 |  |  |  |  | 57201.3223
| Site - Architectural Total |  |  | 95901.9256 |  |  |  |  | 95901.9256
| Site - Mechanical | Storm Piping | [5 empty] | 144000 | 144000
|  | Storm Piping Total | [5 empty] | 144000 | 144000
|  | Underground Hydronic Piping | [5 empty] | 105000 | 105000
|  | Underground Hydronic Piping Total | [5 empty] | 105000 | 105000
|  | Underground Natural Gas Piping | [5 empty] | 18750 | 18750
|  | Underground Natural Gas Piping Total | [5 empty] | 18750 | 18750
| Site - Mechanical Total | [6 empty] | 267750 | 267750
WEST FARMS SQUARE CONVENTIONAL Total |  |  |  | 3103908.1232 | 351876.1722 | 1252713.6516 | 4500 | 1304690.0924 | 6017688.0393

## Costed Action
Development | Building | Facility | Discipline | Pbs1 | Pbs2 | Pbs3 | Pbs4 | Deficiency | Quantity | UOM | Action | Cost Likely | Priority Group NA | Remaining Useful Life
WEST FARMS SQUARE CONVENTIONAL |  |  | Site - Architectural | Fences |  |  |  | CHAIN LINK:DAMAGED / DETERIORATED | 30 | LF | Replace | 2607.92 | First year
WEST FARMS SQUARE CONVENTIONAL |  |  | Site - Architectural | Fences |  |  |  | PBSREPLACEMENT | 160 | LF | Replace | 36092.69 | First year | 0
WEST FARMS SQUARE CONVENTIONAL |  |  | Site - Mechanical | Storm Piping |  |  |  | PBSREPLACEMENT | 150 | LF | Replace | 144000 | Year 16-20 | 50
WEST FARMS SQUARE CONVENTIONAL |  |  | Site - Mechanical | Underground Hydronic Piping |  |  |  | PBSREPLACEMENT | 100 | LF | Replace | 105000 | Year 16-20 | 30
WEST FARMS SQUARE CONVENTIONAL |  |  | Site - Architectural | Paving - Non-Vehicular Area |  |  |  | PBSREPLACEMENT | 1637 | SF | Replace | 57201.32 | First year | 0
WEST FARMS SQUARE CONVENTIONAL |  |  | Site - Mechanical | Underground Natural Gas Piping |  |  |  | PBSREPLACEMENT | 25 | LF | Replace | 18750 | Year 16-20 | 30
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Switchboard | Fused Disconnect Switch |  |  | ID IS MISSING | 1 | EACH | Maintenance | 0 | Year 2-5
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Sprinkler System | Valve Chain |  |  | INSECURE / UNLOCKED | 1 | EACH | Maintenance | 0 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Fire Rated Doors |  |  | METAL:DAMAGED / DETERIORATED | 3 | EACH | Replace | 5253.59 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Fire Rated Doors |  |  | METAL:MISSING / DETERIORATED HARDWARE | 2 | EACH | Maintenance | 4013.99 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Non Fire Rated Doors |  |  | METAL:MISSING / DETERIORATED HARDWARE | 1 | EACH | Maintenance | 2007 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Roll Down Gate |  |  | METAL:DAMAGED / DETERIORATED | 1 | EACH | Repair | 16636.67 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Chimney |  |  | METAL:CAP DETERIORATED | 1 | EACH | Repair | 1084.37 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Doors |  |  | METAL:DAMAGED / DETERIORATED | 1 | EACH | Replace | 964.29 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Exterior Walls | Bulkhead Walls |  | STUCCO CEMENT:CRACKS / SPALLING | 40 | SF | Replace | 1936.68 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | BRICK:MINOR CRACKS / SPALLING | 200 | SF | Restitch | 27289.59 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | BRICK:OPEN JOINTS | 500 | SF | Repoint | 19907.54 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | STUCCO CEMENT:CRACKS / SPALLING | 1000 | SF | Replace | 48417.03 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Louver |  |  | MISSING SCREEN | 24 | SF | Replace | 1214.83 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Roof | Main Roof | Roof Drains | DETERIORATED | 1 | EACH | Replace | 1003.66 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Roof | Main Roof | Roofing | SPF:PONDING | 100 | SF | Repair | 5903.33 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Stairs / Ramps | Stairs / Ramps |  | CONCRETE:WORN-OUT TREAD / RISER / NOSING | 10 | LF | Replace | 1073.98 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Windows | A/C Brackets and Sleeves |  | MISSING | 10 | EACH | Install New | 3081.08 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Windows | Child Guards |  | MISSING | 2 | EACH | Install New | 913.32 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Windows | Exterior Guards |  | MISSING | 2 | EACH | Install New | 644 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Windows | Windows |  | ALUMINUM:DAMAGED / DETERIORATED FRAME | 8 | EACH | Replace | 14061.53 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Windows | Windows |  | ALUMINUM:HARDWARE MISSING / POOR CONDITION | 20 | EACH | Replace | 6206.18 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Windows Lintels |  |  | STEEL:DETERIORATION | 40 | EACH | Replace | 20423.18 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Structural | Columns / Beams / Bearing Walls |  |  | STEEL / COLUMNS / BEAMS:DETERIORATED FIREPROOFING | 16 | SF | Replace | 96.33 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Structural | Columns / Beams / Bearing Walls |  |  | MASONRY BEARING WALL:OPEN JOINTS | 20 | SF | Repoint | 760 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | BALLAST DEFECTIVE | 1 | EACH | Replace | 466.73 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Corridor Finishes | Walls |  | PLASTER:CRACKS / SPALLING | 10 | SF | Replace | 541.04 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Entry Doors |  |  | WOOD:DAMAGED / DETERIORATED | 7 | EACH | Replace | 15368.57 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Entry Doors |  |  | PBSREPLACEMENT | 20 | EACH | Replace | 64000 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Doors |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 15721.02 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Roof | Main Roof | Roofing | PBSREPLACEMENT | 3113 | SF | Replace | 306239.84 | Year 2-5 | 1
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Windows |  |  | PBSREPLACEMENT | 110 | EACH | Replace | 401361.4 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 678.96 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Switchboard | Fused Disconnect Switch |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 85464.27 | Year 6-10 | 10
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 20400 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 8700 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Roll Down Gate |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 70000 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 6 | EACH | Replace | 9793.53 | Year 6-10 | 7
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Fire Escape-Steel |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 420000 | Year 6-10 | 10
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Roof | Bulkhead Roof | Skylight | PBSREPLACEMENT | 1 | EACH | Replace | 7353.35 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Drainage / Sewage System | Building Storm Piping |  |  | PBSREPLACEMENT | 120 | LF | Replace | 9312.24 | Year 16-20 | 50
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 500 | LF | Replace | 38801 | Year 16-20 | 50
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 8 | EACH | Replace | 15100.32 | Year 6-10 | 7
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | PBSREPLACEMENT | 19 | EACH | Replace | 127773 | Year 6-10 | 7
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 500 | LF | Replace | 48000 | Year 16-20 | 50
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Stairs: Lower Level |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 55000 | Year 6-10 | 10
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Stairs / Ramps | Railings |  | PBSREPLACEMENT | 60 | LF | Replace | 9000 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 57
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Interior Compactor |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 49000 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Heating | Steam Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 37
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 9 | EACH | Replace | 189000 | Year 6-10 | 10
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Motor Starter / Contactor | Combination Fused Type |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4022.08 | Year 6-10 | 10
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 450 | SF | Replace | 11023.19 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 57
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Sprinkler System | Piping |  |  | PBSREPLACEMENT | 30 | LF | Replace | 3487.26 | Year 16-20 | 50
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Exit/Emergency Combination | Battery Pack |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 1194.55 | Year 6-10 | 9
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | Year 6-10 | 6
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Lighting Fixture - Fluorescent | Pendant Mounted |  |  | PBSREPLACEMENT | 23 | EACH | Replace | 26358 | Year 6-10 | 7
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 7 | EACH | Replace | 8022 | Year 6-10 | 7
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Exit Lights | Battery Pack |  |  | PBSREPLACEMENT | 9 | EACH | Replace | 24573.92 | Year 2-5 | 2
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 500 | LF | Replace | 45724 | Year 16-20 | 50
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | PBSREPLACEMENT | 1 | EACH | Replace | 30000 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Gas Burner | PBSREPLACEMENT | 1 | EACH | Replace | 11243.17 | Year 16-20 | 16
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Parapets |  |  | PBSREPLACEMENT | 312 | LF | Replace | 407160 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Storefront |  |  | PBSREPLACEMENT | 50 | SF | Replace | 25000 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Heating | Steam Condensate Return Piping |  |  | PBSREPLACEMENT | 1500 | LF | Replace | 127995 | Year 16-20 | 30
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 6-10 | 10
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Stairs: Interior |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 270000 | Year 16-20 | 17
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Exit Lights | Non Battery Pack |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 3847.67 | Year 2-5 | 2
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Electrical | Corridor Lighting | Lighting Fixture - Incandescent | Surface Mounted |  | PBSREPLACEMENT | 3 | EACH | Replace | 4757.39 | Year 6-10 | 7
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Heating | Steam Piping |  |  | PBSREPLACEMENT | 1500 | LF | Replace | 167118 | Year 16-20 | 30
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Common Areas Finishes | Floor |  | PBSREPLACEMENT | 240 | SF | Replace | 5879.04 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 11-15 | 14
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Mailboxes |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 9153.84 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Coping |  |  | PBSREPLACEMENT | 312 | LF | Replace | 42120 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Heating | Steam Condensate Return Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 37
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 8700 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 57
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | PBSREPLACEMENT | 175 | SF | Replace | 17214.75 | Year 2-5 | 1
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 500 | LF | Replace | 95661.14 | Year 16-20 | 70
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Directories |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 3748.91 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 250 | SF | Replace | 6125 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Architectural | Floor |  |  | VCT:DAMAGED / DETERIORATED | 78 | SF | Replace | 2177.56 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Architectural | Floor |  |  | PBSREPLACEMENT | 16082 | SF | Replace | 325660.5 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Architectural | Wall |  |  | PLASTER:ACTIVE LEAKS | 354 | SF | Repair | 15598.38 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Architectural | Doors |  |  | WOOD:MISSING DOOR | 7 | EACH | Replace | 3076.64 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Architectural | Doors |  |  | PBSREPLACEMENT | 197 | EACH | Replace | 153660 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Architectural | Bathroom |  |  | PBSREPLACEMENT | 20 | EACH | Replace | 532000 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | CERAMIC TILE:EXCESSIVE MOLD | 533 | SF | Repair | 24170.66 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Architectural | Bathroom | Shower Head & Valve |  | DEFECTIVE / DETERIORATED | 6 | EACH | Replace | 786.86 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Architectural | Bathroom | Sink |  | CLOGGED / LEAKING | 6 | EACH | Maintenance | 0 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Architectural | Bathroom | Vanity |  | DEFECTIVE / DETERIORATED | 6 | EACH | Replace | 8163.64 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Architectural | Bathroom | Accessories |  | MISSING / BROKEN | 13 | EACH | Install New | 36922.66 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Architectural | Kitchen |  |  | PBSREPLACEMENT | 20 | EACH | Replace | 476000 | First year | 0
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Architectural | Kitchen | Cabinets |  | DEFECTIVE / DETERIORATED | 13 | EACH | Replace | 25957.41 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 78 | EACH | Replace | 115300.16 | Year 16-20 | 17
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | PBSREPLACEMENT | 20 | EACH | Replace | 83148.13 | Year 16-20 | 17
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | BALLAST DEFECTIVE | 7 | EACH | Replace | 1868.17 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | LAMPS MISSING | 7 | EACH | Replace | 1868.17 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | PBSREPLACEMENT | 39 | EACH | Replace | 16868.38 | Year 6-10 | 7
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | LAMPS MISSING | 15 | EACH | Replace | 4003.22 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | PBSREPLACEMENT | 94 | EACH | Replace | 40657.11 | Year 6-10 | 7
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Electrical | Smoke Detectors |  |  | POORLY MOUNTED | 7 | EACH | Repair | 1699.12 | First year
WEST FARMS SQUARE CONVENTIONAL | Building #2 |  | Apartment | Electrical | Smoke Detectors |  |  | PBSREPLACEMENT | 47 | EACH | Replace | 21150 | Year 16-20 | 35
6017688.08