## Lvl1
New York City Housing Authority
2017 Physical Needs Assessment (PNA)
2020-02-03
Development | Discipline | PBS1 | Year 1 | Year 2-5 | Year 6-10 | Year 11-15 | Year 16-20 | Grand Total
WEST FARMS ROAD REHAB | Apartment | Architectural | 11438293.6298 | 2135441 | 3404800 |  |  | 16978534.6298
|  | Electrical | 377788.685 | 196797.7261 | 610682.525 | 239394.5547 | 200987.0048 | 1625650.4956
|  | Mechanical | 20061.7951 |  | 1240215.7826 |  |  | 1260277.5777
| Apartment Total |  | 11836144.1099 | 2332238.7261 | 5255698.3076 | 239394.5547 | 200987.0048 | 19864462.7031
| Architectural | Exterior | 10899583.2073 | 1766800.4405 | 3780000 |  |  | 16446383.6478
|  | Interior | 2552564.4167 |  | 3242540.56 |  |  | 5795104.9767
|  | Structural | 13937.8487 |  |  |  |  | 13937.8487
| Architectural Total |  | 13466085.4728 | 1766800.4405 | 7022540.56 |  |  | 22255426.4733
| Conveying | Traction Passenger Elevator |  |  | 5600000 |  |  | 5600000
| Conveying Total |  |  |  | 5600000 |  |  | 5600000
| Electrical | Corridor Lighting | 182417.383 |  | 39638.34 |  |  | 222055.723
|  | Emergency Lighting |  | 12266.5443 |  |  |  | 12266.5443
|  | Exit Lights | 2543.8837 | 32765.2221 |  |  |  | 35309.1058
|  | Exit/Emergency Combination |  | 3583.6517 |  |  |  | 3583.6517
|  | Lighting - Exterior Security / Riot Lights | 739738.3985 |  |  |  |  | 739738.3985
|  | Lighting Fixture - Fluorescent | 190236 |  | 9168 |  |  | 199404
|  | Lighting Fixture - Incandescent | 10184.4749 |  |  |  |  | 10184.4749
|  | Motor Starter / Contactor |  |  | 46086.2796 |  |  | 46086.2796
|  | Panelboard |  |  | 1470000 |  |  | 1470000
|  | Security |  | 340430.6948 |  |  |  | 340430.6948
|  | Service Switch |  |  | 1087030.3413 |  |  | 1087030.3413
|  | Stairhall Lighting | 91406.2555 |  | 42438.6186 |  |  | 133844.8742
|  | Switchboard |  | 0 | 256392.8099 |  |  | 256392.8099
| Electrical Total |  | 1216526.3957 | 389046.1128 | 2950754.3894 |  |  | 4556326.898
| Mechanical | Domestic Water System |  |  |  | 18000 | 772558.2886 | 790558.2886
|  | Drainage / Sewage System |  |  |  | 42074.6667 | 952449.7226 | 994524.3893
|  | Gas Service |  |  |  |  | 259200 | 259200
|  | Heating |  |  | 28377.6 |  | 2785171.2 | 2813548.8
|  | Heating Plant |  |  |  |  | 756215.8333 | 756215.8333
|  | Interior Compactor | 343000 |  |  |  |  | 343000
|  | Sprinkler System |  |  |  |  | 23248.4 | 23248.4
| Mechanical Total |  | 343000 |  | 28377.6 | 60074.6667 | 5548843.4446 | 5980295.7112
| Site - Architectural | Fences | 47371.6499 |  |  |  |  | 47371.6499
|  | Paving - Non-Vehicular Area | 572205.6957 |  |  |  |  | 572205.6957
| Site - Architectural Total |  | 619577.3456 |  |  |  |  | 619577.3456
| Site - Mechanical | Storm Piping |  |  |  |  | 288000 | 288000
|  | Underground Hydronic Piping |  |  |  |  | 105000 | 105000
|  | Underground Natural Gas Piping |  |  |  |  | 60000 | 60000
| Site - Mechanical Total | [5 empty] | 453000 | 453000
WEST FARMS ROAD REHAB Total |  |  | 27481333.324 | 4488085.2795 | 20857370.857 | 299469.2214 | 6202830.4494 | 59329089.1313

## Lvl2
New York City Housing Authority
2017 Physical Needs Assessment (PNA)
2020-02-03
Development | Discipline | PBS1 | PBS2 | Year 1 | Year 2-5 | Year 6-10 | Year 11-15 | Year 16-20 | Grand Total
WEST FARMS ROAD REHAB | Apartment | Architectural | Bathroom | 3118882.4589 |  | 3404800 |  |  | 6523682.4589
|  |  | Ceiling | 187392.8072 |  |  |  |  | 187392.8072
|  |  | Doors | 1591582.96 |  |  |  |  | 1591582.96
|  |  | Floor | 2135968.0194 | 1373841 |  |  |  | 3509809.0194
|  |  | Kitchen | 4304770.662 | 761600 |  |  |  | 5066370.662
|  |  | Wall | 99696.7222 |  |  |  |  | 99696.7222
|  | Architectural Total |  | 11438293.6298 | 2135441 | 3404800 |  |  | 16978534.6298
|  | Electrical | Electrical Panel Board | 29562.498 |  | 494731.3616 | 232814.7584 | 133037.0048 | 890145.6228
|  |  | Intercom | 22325 |  |  |  |  | 22325
|  |  | Light Fixtures | 325901.187 | 196797.7261 | 70501.1634 | 6579.7963 |  | 599779.8728
|  |  | Smoke Detectors |  |  | 45450 |  | 67950 | 113400
|  | Electrical Total |  | 377788.685 | 196797.7261 | 610682.525 | 239394.5547 | 200987.0048 | 1625650.4956
|  | Mechanical | Radiator / Convector / Baseboard | 20061.7951 |  | 1240215.7826 |  |  | 1260277.5777
|  | Mechanical Total |  | 20061.7951 |  | 1240215.7826 |  |  | 1260277.5777
| Apartment Total |  |  | 11836144.1099 | 2332238.7261 | 5255698.3076 | 239394.5547 | 200987.0048 | 19864462.7031
| Architectural | Exterior | Chimney | 3163.3657 |  |  |  |  | 3163.3657
|  |  | Coping | 307935 |  |  |  |  | 307935
|  |  | Door Lintels | 0 |  |  |  |  | 0
|  |  | Doors | 271114.4886 |  |  |  |  | 271114.4886
|  |  | Exterior Walls | 361590.9155 |  |  |  |  | 361590.9155
|  |  | Fire Escape-Steel | 81868.7628 |  | 3780000 |  |  | 3861868.7628
|  |  | Louver | 1872.8581 |  |  |  |  | 1872.8581
|  |  | Main Doors | 210000 |  |  |  |  | 210000
|  |  | Parapets | 2976705 |  |  |  |  | 2976705
|  |  | Roof | 1563237.7445 | 1766800.4405 |  |  |  | 3330038.185
|  |  | Stairs / Ramps | 46056.3709 |  |  |  |  | 46056.3709
|  |  | Windows | 5076038.7012 |  |  |  |  | 5076038.7012
|  | Exterior Total |  | 10899583.2073 | 1766800.4405 | 3780000 |  |  | 16446383.6478
|  | Interior | Closets | 1125.9658 |  |  |  |  | 1125.9658
|  |  | Common Areas - Bathroom |  |  | 540540.56 |  |  | 540540.56
|  |  | Common Areas - Kitchen | 360000 |  |  |  |  | 360000
|  |  | Common Areas Finishes | 103301.9542 |  |  |  |  | 103301.9542
|  |  | Corridor Finishes | 281607.8811 |  |  |  |  | 281607.8811
|  |  | Directories | 62864.7479 |  |  |  |  | 62864.7479
|  |  | Display Unit | 13118.911 |  |  |  |  | 13118.911
|  |  | Entry Doors | 665600 |  |  |  |  | 665600
|  |  | Fire Rated Doors | 135065.1009 |  |  |  |  | 135065.1009
|  |  | Lobby Finishes | 10895.5977 |  |  |  |  | 10895.5977
|  |  | Mailboxes | 80603.2976 |  |  |  |  | 80603.2976
|  |  | Non Fire Rated Doors | 88418.3576 |  |  |  |  | 88418.3576
|  |  | Roll Down Gate | 595000 |  |  |  |  | 595000
|  |  | Stairs: Interior |  |  | 2592000 |  |  | 2592000
|  |  | Stairs: Lower Level |  |  | 110000 |  |  | 110000
|  |  | Storefront | 154962.603 |  |  |  |  | 154962.603
|  | Interior Total |  | 2552564.4167 |  | 3242540.56 |  |  | 5795104.9767
|  | Structural | Columns / Beams / Bearing Walls | 11846.2331 |  |  |  |  | 11846.2331
|  |  | Floor Structure | 2091.6157 |  |  |  |  | 2091.6157
|  | Structural Total |  | 13937.8487 |  |  |  |  | 13937.8487
| Architectural Total |  |  | 13466085.4728 | 1766800.4405 | 7022540.56 |  |  | 22255426.4733
| Conveying | Traction Passenger Elevator |  |  |  | 5600000 |  |  | 5600000
|  | Traction Passenger Elevator Total |  |  |  | 5600000 |  |  | 5600000
| Conveying Total |  |  |  |  | 5600000 |  |  | 5600000
| Electrical | Corridor Lighting | Lighting Fixture - Fluorescent | 149115.66 |  | 39638.34 |  |  | 188754
|  |  | Lighting Fixture - Incandescent | 33301.723 |  |  |  |  | 33301.723
|  | Corridor Lighting Total |  | 182417.383 |  | 39638.34 |  |  | 222055.723
|  | Emergency Lighting | Battery Pack |  | 12266.5443 |  |  |  | 12266.5443
|  | Emergency Lighting Total |  |  | 12266.5443 |  |  |  | 12266.5443
|  | Exit Lights | Battery Pack | 2543.8837 | 32765.2221 |  |  |  | 35309.1058
|  | Exit Lights Total |  | 2543.8837 | 32765.2221 |  |  |  | 35309.1058
|  | Exit/Emergency Combination | Battery Pack |  | 3583.6517 |  |  |  | 3583.6517
|  | Exit/Emergency Combination Total |  |  | 3583.6517 |  |  |  | 3583.6517
|  | Lighting - Exterior Security / Riot Lights |  | 739738.3985 |  |  |  |  | 739738.3985
|  | Lighting - Exterior Security / Riot Lights Total |  | 739738.3985 |  |  |  |  | 739738.3985
|  | Lighting Fixture - Fluorescent | Pendant Mounted | 40110 |  | 9168 |  |  | 49278
|  |  | Surface Mounted | 150126 |  |  |  |  | 150126
|  | Lighting Fixture - Fluorescent Total |  | 190236 |  | 9168 |  |  | 199404
|  | Lighting Fixture - Incandescent | Surface Mounted | 10184.4749 |  |  |  |  | 10184.4749
|  | Lighting Fixture - Incandescent Total |  | 10184.4749 |  |  |  |  | 10184.4749
|  | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | 25975.9032 |  |  | 25975.9032
|  |  | Combination Fused Type |  |  | 20110.3764 |  |  | 20110.3764
|  | Motor Starter / Contactor Total |  |  |  | 46086.2796 |  |  | 46086.2796
|  | Panelboard | Molded Case Circuit Breakers |  |  | 1470000 |  |  | 1470000
|  | Panelboard Total |  |  |  | 1470000 |  |  | 1470000
|  | Security | Closed Circuit Television System |  | 235010.02 |  |  |  | 235010.02
|  |  | Intrusion Alarm |  | 105420.6748 |  |  |  | 105420.6748
|  | Security Total |  |  | 340430.6948 |  |  |  | 340430.6948
|  | Service Switch |  |  |  | 1087030.3413 |  |  | 1087030.3413
|  | Service Switch Total |  |  |  | 1087030.3413 |  |  | 1087030.3413
|  | Stairhall Lighting | Lighting Fixture - Fluorescent | 91406.2555 |  | 42438.6186 |  |  | 133844.8742
|  | Stairhall Lighting Total |  | 91406.2555 |  | 42438.6186 |  |  | 133844.8742
|  | Switchboard | Fused Disconnect Switch |  | 0 | 256392.8099 |  |  | 256392.8099
|  | Switchboard Total |  |  | 0 | 256392.8099 |  |  | 256392.8099
| Electrical Total |  |  | 1216526.3957 | 389046.1128 | 2950754.3894 |  |  | 4556326.898
| Mechanical | Domestic Water System | Distribution Piping |  |  |  |  | 530398.4 | 530398.4
|  |  | Domestic Hot Water Circulating Pump |  |  |  | 18000 |  | 18000
|  |  | Gas Fired Water Heater |  |  |  |  | 174880.3467 | 174880.3467
|  |  | Remote Water Heater Storage Tank |  |  |  |  | 67279.542 | 67279.542
|  | Domestic Water System Total |  |  |  |  | 18000 | 772558.2886 | 790558.2886
|  | Drainage / Sewage System | Building Storm Piping |  |  |  |  | 73721.9 | 73721.9
|  |  | Sewage / Waste Piping |  |  |  |  | 206421.32 | 206421.32
|  |  | Sump Pump |  |  |  | 42074.6667 |  | 42074.6667
|  |  | Vent Piping |  |  |  |  | 672306.5026 | 672306.5026
|  | Drainage / Sewage System Total |  |  |  |  | 42074.6667 | 952449.7226 | 994524.3893
|  | Gas Service | Distribution Piping |  |  |  |  | 259200 | 259200
|  | Gas Service Total | [5 empty] | 259200 | 259200
|  | Heating | Hot Water Piping (Hydronic Return) |  |  |  |  | 1392585.6 | 1392585.6
|  |  | Hot Water Piping (Hydronic Supply) |  |  |  |  | 1392585.6 | 1392585.6
|  |  | Radiator / Convector / Baseboard |  |  | 28377.6 |  |  | 28377.6
|  | Heating Total |  |  |  | 28377.6 |  | 2785171.2 | 2813548.8
|  | Heating Plant | Boiler System |  |  |  |  | 756215.8333 | 756215.8333
|  | Heating Plant Total | [5 empty] | 756215.8333 | 756215.8333
|  | Interior Compactor |  | 343000 |  |  |  |  | 343000
|  | Interior Compactor Total |  | 343000 |  |  |  |  | 343000
|  | Sprinkler System | Piping |  |  |  |  | 23248.4 | 23248.4
|  | Sprinkler System Total | [5 empty] | 23248.4 | 23248.4
| Mechanical Total |  |  | 343000 |  | 28377.6 | 60074.6667 | 5548843.4446 | 5980295.7112
| Site - Architectural | Fences |  | 47371.6499 |  |  |  |  | 47371.6499
|  | Fences Total |  | 47371.6499 |  |  |  |  | 47371.6499
|  | Paving - Non-Vehicular Area |  | 572205.6957 |  |  |  |  | 572205.6957
|  | Paving - Non-Vehicular Area Total |  | 572205.6957 |  |  |  |  | 572205.6957
| Site - Architectural Total |  |  | 619577.3456 |  |  |  |  | 619577.3456
| Site - Mechanical | Storm Piping | [5 empty] | 288000 | 288000
|  | Storm Piping Total | [5 empty] | 288000 | 288000
|  | Underground Hydronic Piping | [5 empty] | 105000 | 105000
|  | Underground Hydronic Piping Total | [5 empty] | 105000 | 105000
|  | Underground Natural Gas Piping | [5 empty] | 60000 | 60000
|  | Underground Natural Gas Piping Total | [5 empty] | 60000 | 60000
| Site - Mechanical Total | [6 empty] | 453000 | 453000
WEST FARMS ROAD REHAB Total |  |  |  | 27481333.324 | 4488085.2795 | 20857370.857 | 299469.2214 | 6202830.4494 | 59329089.1313

## Costed Action
Development | Building | Facility | Discipline | Pbs1 | Pbs2 | Pbs3 | Pbs4 | Deficiency | Quantity | UOM | Action | Cost Likely | Priority Group NA | Remaining Useful Life
WEST FARMS ROAD REHAB |  |  | Site - Architectural | Paving - Non-Vehicular Area |  |  |  | CONCRETE:CRACKS - MINOR | 2200 | SF | Repair | 20808.71 | First year
WEST FARMS ROAD REHAB |  |  | Site - Architectural | Paving - Non-Vehicular Area |  |  |  | PBSREPLACEMENT | 15780 | SF | Replace | 551396.99 | First year | 0
WEST FARMS ROAD REHAB |  |  | Site - Mechanical | Underground Natural Gas Piping |  |  |  | PBSREPLACEMENT | 80 | LF | Replace | 60000 | Year 16-20 | 30
WEST FARMS ROAD REHAB |  |  | Site - Mechanical | Storm Piping |  |  |  | PBSREPLACEMENT | 300 | LF | Replace | 288000 | Year 16-20 | 50
WEST FARMS ROAD REHAB |  |  | Site - Architectural | Fences |  |  |  | PBSREPLACEMENT | 210 | LF | Replace | 47371.65 | First year | 0
WEST FARMS ROAD REHAB |  |  | Site - Mechanical | Underground Hydronic Piping |  |  |  | PBSREPLACEMENT | 100 | LF | Replace | 105000 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Interior | Non Fire Rated Doors |  |  | METAL:DAMAGED / DETERIORATED | 1 | EACH | Replace | 1418.36 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Door Lintels |  |  | STEEL:MINOR RUST | 5 | LF | Maintenance | 0 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Doors |  |  | METAL:DAMAGED / DETERIORATED | 1 | EACH | Replace | 964.29 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Exterior Walls | Bulkhead Walls |  | STUCCO CEMENT:CRACKS / SPALLING | 20 | SF | Replace | 968.34 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | STUCCO CEMENT:CRACKS / SPALLING | 1200 | SF | Replace | 58100.44 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Louver |  |  | MISSING SCREEN | 5 | SF | Replace | 253.09 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Flashing | DAMAGED / DETERIORATED / TAR COVERED | 400 | LF | Replace | 24272 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roof Fence | CHAIN LINK:DAMAGED/DETERIORATED | 20 | LF | Replace | 2090.74 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:LEAK - LOCAL | 598 | SF | Repair | 25031.36 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Windows | A/C Brackets and Sleeves |  | MISSING | 15 | EACH | Install New | 4621.62 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Windows | Child Guards |  | MISSING | 1 | EACH | Install New | 456.66 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Windows | Windows |  | ALUMINUM:HARDWARE MISSING / POOR CONDITION | 8 | EACH | Replace | 2482.47 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Structural | Columns / Beams / Bearing Walls |  |  | MASONRY BEARING WALL:CRACKS / SPALLING | 10 | SF | Repair | 1657.92 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Structural | Floor Structure |  |  | CONCRETE SLAB ON GRADE:MINOR CRACKS/SPALLING | 16 | SF | Repair | 929.61 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Doors |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 31442.04 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Roof | Main Roof | Roofing | PBSREPLACEMENT | 4526 | SF | Replace | 445243.01 | Year 2-5 | 5
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Windows |  |  | PBSREPLACEMENT | 204 | EACH | Replace | 744342.96 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | PBSREPLACEMENT | 15 | EACH | Replace | 100873.42 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Electrical | Lighting Fixture - Fluorescent | Pendant Mounted |  |  | PBSREPLACEMENT | 9 | EACH | Replace | 10314 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 10 | EACH | Replace | 11460 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 2036.89 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 2900 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Gas Burner | PBSREPLACEMENT | 1 | EACH | Replace | 11243.17 | Year 16-20 | 17
WEST FARMS ROAD REHAB | Building #1 |  | Electrical | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 21 | EACH | Replace | 39638.34 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 1100 | LF | Replace | 100592.8 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Fire Escape-Steel |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 840000 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 17000 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | PBSREPLACEMENT | 1 | EACH | Replace | 30000 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Coping |  |  | PBSREPLACEMENT | 391 | LF | Replace | 52785 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 2900 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 500 | LF | Replace | 48000 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #1 |  | Electrical | Emergency Lighting | Battery Pack |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 4088.85 | Year 2-5 | 2
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #1 |  | Conveying | Traction Passenger Elevator |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 800000 | Year 6-10 | 9
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Interior | Entry Doors |  |  | PBSREPLACEMENT | 32 | EACH | Replace | 102400 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Sprinkler System | Piping |  |  | PBSREPLACEMENT | 30 | LF | Replace | 3487.26 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | Year 16-20 | 17
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 900 | LF | Replace | 172190.05 | Year 16-20 | 70
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Interior Compactor |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 49000 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Interior | Directories |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 3748.91 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Stairs / Ramps | Railings |  | PBSREPLACEMENT | 15 | LF | Replace | 2250 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Interior | Stairs: Interior |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 648000 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 290 | SF | Replace | 7103.84 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Parapets |  |  | PBSREPLACEMENT | 391 | LF | Replace | 510255 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Electrical | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 5195.18 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #1 |  | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 42000 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Drainage / Sewage System | Building Storm Piping |  |  | PBSREPLACEMENT | 150 | LF | Replace | 11640.3 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | PBSREPLACEMENT | 401 | SF | Replace | 39446.37 | Year 2-5 | 5
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 6800 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 1559 | SF | Replace | 38189.24 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 1330.2 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Interior | Storefront |  |  | PBSREPLACEMENT | 45 | SF | Replace | 22500 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 500 | LF | Replace | 38801 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 43720.09 | Year 16-20 | 22
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 55 | SF | Replace | 1347.5 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Drainage / Sewage System | Sump Pump |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 10518.67 | Year 11-15 | 12
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 1330.2 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 11-15 | 12
WEST FARMS ROAD REHAB | Building #1 |  | Electrical | Exit Lights | Battery Pack |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 5460.87 | Year 2-5 | 2
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 1500 | LF | Replace | 262752 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #1 |  | Electrical | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 5195.18 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 22426.51 | Year 16-20 | 42
WEST FARMS ROAD REHAB | Building #1 |  | Electrical | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 26 | EACH | Replace | 42438.62 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #1 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 1500 | LF | Replace | 262752 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #1 |  | Architectural | Interior | Mailboxes |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 9153.84 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:ACTIVE LEAKS | 42 | SF | Repair | 2776.03 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:CRACKS / SPALLING | 42 | SF | Repair | 2117.9 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:EXCESSIVE MOLD / LEAKING PIPE | 171 | SF | Repair | 27586.06 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Architectural | Floor |  |  | VCT:DAMAGED / DETERIORATED | 214 | SF | Replace | 5974.32 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Architectural | Floor |  |  | PBSREPLACEMENT | 26104 | SF | Replace | 528606 | Year 2-5 | 4
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Architectural | Wall |  |  | GYPSUM BOARD:DAMAGED / DETERIORATED | 42 | SF | Repair | 1053.71 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Architectural | Wall |  |  | GYPSUM BOARD:EXCESSIVE MOLD / LEAKING PIPE | 150 | SF | Replace | 11466.42 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Architectural | Doors |  |  | PBSREPLACEMENT | 296 | EACH | Replace | 230880 | First year | 0
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Architectural | Bathroom |  |  | PBSREPLACEMENT | 40 | EACH | Replace | 1064000 | Year 6-10 | 0
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | CERAMIC TILE:BROKEN / MISSING | 20 | SF | Repair | 610.21 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | CERAMIC TILE:EXCESSIVE MOLD | 720 | SF | Repair | 32650.8 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Architectural | Bathroom | Door Saddle |  | MARBLE/METAL:BROKEN | 4 | EACH | Replace | 1096.79 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Architectural | Kitchen |  |  | PBSREPLACEMENT | 32 | EACH | Replace | 761600 | Year 2-5 | 3
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Architectural | Kitchen | Sink |  | CLOGGED / LEAKING | 8 | EACH | Maintenance | 0 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | DEFECTIVE GUARD / SHIELD | 12 | EACH | Replace | 6300 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 133 | EACH | Replace | 196601.55 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | DOOR LOCK IS MISSING | 16 | EACH | Replace-in-Kind | 15534.83 | First year
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | PBSREPLACEMENT | 32 | EACH | Replace | 133037 | Year 16-20 | 17
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | PBSREPLACEMENT | 60 | EACH | Replace | 25951.35 | Year 6-10 | 9
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | ANTIQUATED / OBSOLETE | 8 | EACH | Replace / Upgrade | 3460.18 | Year 2-5
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | PBSREPLACEMENT | 103 | EACH | Replace | 44549.81 | Year 6-10 | 8
WEST FARMS ROAD REHAB | Building #1 |  | Apartment | Electrical | Smoke Detectors |  |  | PBSREPLACEMENT | 34 | EACH | Replace | 15300 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Switchboard | Fused Disconnect Switch |  |  | ID IS MISSING | 1 | EACH | Maintenance | 0 | Year 2-5
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Interior | Directories |  |  | STAINLESS STEEL AND GLASS:DAMAGED / DETERIORATED | 1 | EACH | Replace | 4709.65 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Door Lintels |  |  | STEEL:MINOR RUST | 5 | LF | Maintenance | 0 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Doors |  |  | METAL:DAMAGED / DETERIORATED | 1 | EACH | Replace | 964.29 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Exterior Walls | Bulkhead Walls |  | STUCCO CEMENT:CRACKS / SPALLING | 20 | SF | Replace | 968.34 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | STUCCO CEMENT:CRACKS / SPALLING | 1200 | SF | Replace | 58100.44 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Roof | Main Roof | Flashing | DAMAGED / DETERIORATED / TAR COVERED | 400 | LF | Replace | 24272 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Windows | A/C Brackets and Sleeves |  | MISSING | 14 | EACH | Install New | 4313.52 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Windows | Child Guards |  | MISSING | 2 | EACH | Install New | 913.32 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Structural | Columns / Beams / Bearing Walls |  |  | MASONRY BEARING WALL:CRACKS / SPALLING | 10 | SF | Repair | 1657.92 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Doors |  |  | PBSREPLACEMENT | 8 | EACH | Replace | 41922.72 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | PBSREPLACEMENT | 18 | EACH | Replace | 121048.1 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Lighting Fixture - Fluorescent | Pendant Mounted |  |  | PBSREPLACEMENT | 10 | EACH | Replace | 11460 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 9 | EACH | Replace | 10314 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 4073.79 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Switchboard | Fused Disconnect Switch |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 85464.27 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Interior | Directories |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 11246.72 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 22 | EACH | Replace | 41525.88 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Corridor Lighting | Lighting Fixture - Incandescent | Surface Mounted |  | PBSREPLACEMENT | 7 | EACH | Replace | 11100.57 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 14 | EACH | Replace | 22851.56 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Parapets |  |  | PBSREPLACEMENT | 397 | LF | Replace | 518085 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Sprinkler System | Piping |  |  | PBSREPLACEMENT | 30 | LF | Replace | 3487.26 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Interior | Mailboxes |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 9153.84 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Interior | Entry Doors |  |  | PBSREPLACEMENT | 31 | EACH | Replace | 99200 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Stairs / Ramps | Railings |  | PBSREPLACEMENT | 15 | LF | Replace | 2250 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 1100 | LF | Replace | 100592.8 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Fire Escape-Steel |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 840000 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 5195.18 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 5320.8 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 1500 | LF | Replace | 262752 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 1500 | LF | Replace | 262752 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Exit Lights | Battery Pack |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 5460.87 | Year 2-5 | 2
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | PBSREPLACEMENT | 401 | SF | Replace | 39446.37 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Conveying | Traction Passenger Elevator |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 800000 | Year 6-10 | 9
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 55 | SF | Replace | 1347.5 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | Year 16-20 | 17
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 600 | LF | Replace | 114793.37 | Year 16-20 | 70
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 290 | SF | Replace | 7103.84 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 2900 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Interior Compactor |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 49000 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Emergency Lighting | Battery Pack |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 4088.85 | Year 2-5 | 2
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Coping |  |  | PBSREPLACEMENT | 397 | LF | Replace | 53595 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Gas Burner | PBSREPLACEMENT | 1 | EACH | Replace | 11243.17 | Year 16-20 | 17
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Drainage / Sewage System | Building Storm Piping |  |  | PBSREPLACEMENT | 150 | LF | Replace | 11640.3 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Interior | Stairs: Interior |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 648000 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 8700 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 20400 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 1330.2 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Motor Starter / Contactor | Combination Fused Type |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4022.08 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 500 | LF | Replace | 38801 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 43720.09 | Year 16-20 | 22
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Drainage / Sewage System | Sump Pump |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 10518.67 | Year 11-15 | 12
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 6800 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 11-15 | 12
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 500 | LF | Replace | 48000 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | PBSREPLACEMENT | 1 | EACH | Replace | 30000 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Interior | Storefront |  |  | PBSREPLACEMENT | 45 | SF | Replace | 22500 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Windows |  |  | PBSREPLACEMENT | 206 | EACH | Replace | 751640.44 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 1563 | SF | Replace | 38287.22 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 22426.51 | Year 16-20 | 42
WEST FARMS ROAD REHAB | Building #2 |  | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 22 | EACH | Replace | 462000 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Exterior | Roof | Main Roof | Roofing | PBSREPLACEMENT | 4547 | SF | Replace | 447308.88 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Architectural | Interior | Roll Down Gate |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 35000 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:CRACKS / SPALLING | 332 | SF | Replace | 19427.62 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:EXCESSIVE MOLD | 132 | SF | Repair | 12168.13 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:EXCESSIVE MOLD / LEAKING PIPE | 265 | SF | Repair | 42750.33 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:EXCESSIVE MOLD / LEAKING ROOF | 199 | SF | Repair | 32103.08 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Floor |  |  | VCT:DAMAGED / DETERIORATED | 3530 | SF | Replace | 98548.42 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Floor |  |  | PBSREPLACEMENT | 25564 | SF | Replace | 517671 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Wall |  |  | GYPSUM BOARD:EXCESSIVE MOLD / LEAKING ROOF | 265 | SF | Replace | 20257.34 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Wall |  |  | PLASTER:CRACKS / SPALLING | 664 | SF | Replace | 35924.94 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Doors |  |  | WOOD:DAMAGED / DETERIORATED | 19 | EACH | Replace | 8350.88 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Doors |  |  | WOOD:MISSING / DETERIORATED HARDWARE | 6 | EACH | Maintenance | 1782.84 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Doors |  |  | PBSREPLACEMENT | 305 | EACH | Replace | 237900 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Bathroom |  |  | PBSREPLACEMENT | 43 | EACH | Replace | 1143800 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | CERAMIC TILE:DETERIORATED GROUT | 124 | SF | Regrout | 1361.64 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | TUB SURROUND:DAMAGED / DETERIORATED | 12 | EACH | Replace | 13984.86 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Bathroom | Door Saddle |  | MARBLE/METAL:BROKEN | 18 | EACH | Replace | 4935.55 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Bathroom | Shower Head & Valve |  | DEFECTIVE / DETERIORATED | 12 | EACH | Replace | 1573.72 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Bathroom | Sink |  | CLOGGED / LEAKING | 6 | EACH | Maintenance | 0 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Bathroom | Sink |  | DEFECTIVE / DETERIORATED | 6 | EACH | Replace | 12589.34 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Bathroom | Vanity |  | DEFECTIVE / DETERIORATED | 6 | EACH | Replace | 8163.64 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Bathroom | Accessories |  | MISSING / BROKEN | 6 | EACH | Install New | 17041.23 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Kitchen |  |  | PBSREPLACEMENT | 31 | EACH | Replace | 737800 | First year | 0
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Architectural | Kitchen | Cabinets |  | DEFECTIVE / DETERIORATED | 6 | EACH | Replace | 11980.34 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | DEFECTIVE | 6 | EACH | Replace | 2736.8 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 132 | EACH | Replace | 195123.34 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | PBSREPLACEMENT | 31 | EACH | Replace | 128879.6 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | ANTIQUATED / OBSOLETE | 26 | EACH | Replace / Upgrade | 11245.58 | Year 2-5
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | BALLAST DEFECTIVE | 6 | EACH | Replace | 1601.29 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | LAMPS MISSING | 6 | EACH | Maintenance | 0 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | PBSREPLACEMENT | 79 | EACH | Replace | 34169.28 | Year 2-5 | 2
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Electrical | Light Fixtures | Incandescent | Pendant | LAMPS MISSING | 6 | EACH | Replace | 1601.29 | First year
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Electrical | Light Fixtures | Incandescent | Pendant | PBSREPLACEMENT | 6 | EACH | Replace | 3588.98 | Year 11-15 | 14
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | PBSREPLACEMENT | 132 | EACH | Replace | 57092.97 | Year 2-5 | 2
WEST FARMS ROAD REHAB | Building #2 |  | Apartment | Electrical | Smoke Detectors |  |  | PBSREPLACEMENT | 46 | EACH | Replace | 20700 | Year 16-20 | 28
WEST FARMS ROAD REHAB | Building #3 |  | Electrical | Switchboard | Fused Disconnect Switch |  |  | ID IS MISSING | 1 | EACH | Maintenance | 0 | Year 2-5
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Fire Rated Doors |  |  | METAL:DAMAGED / DETERIORATED | 1 | EACH | Replace Door & Frame | 2351.72 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Lobby Finishes | Floor |  | QUARRY TILE:DAMAGED / DETERIORATED | 5 | SF | Replace | 246.49 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Lobby Finishes | Walls |  | CERAMIC TILE:BROKEN / MISSING | 15 | SF | Replace | 528.15 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Roll Down Gate |  |  | METAL:DAMAGED / DETERIORATED | 1 | EACH | Replace | 35000 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Corridor Finishes | Walls |  | PLASTER:CRACKS / SPALLING | 10 | SF | Repair | 467.49 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Fire Rated Doors |  |  | METAL:BROKEN VISION PANEL GLASS | 1 | EACH | Replace | 113.38 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Chimney |  |  | STUCCO CEMENT:MINOR CRACKS / SPALLING | 40 | SF | Repair | 1807.64 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Exterior Walls | Bulkhead Walls |  | STUCCO CEMENT:CRACKS / SPALLING | 40 | SF | Replace | 1936.68 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Exterior Walls | Bulkhead Walls |  | BRICK:OPEN JOINTS | 20 | SF | Repoint | 760 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | STUCCO CEMENT:CRACKS / SPALLING | 2000 | SF | Replace | 96834.06 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Louver |  |  | MISSING SCREEN | 12 | SF | Replace | 607.41 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Roof | Main Roof | Flashing | DAMAGED / DETERIORATED / TAR COVERED | 600 | LF | Replace | 36408 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:LOSS OF GRAVEL | 100 | SF | Install New | 596.63 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:LEAK - LOCAL | 36 | SF | Repair | 1506.9 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Windows | A/C Brackets and Sleeves |  | MISSING | 6 | EACH | Install New | 1848.65 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Windows | Child Guards |  | MISSING | 2 | EACH | Install New | 913.32 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Structural | Columns / Beams / Bearing Walls |  |  | STEEL / COLUMNS / BEAMS:DETERIORATED FIREPROOFING | 20 | SF | Replace | 120.41 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Structural | Columns / Beams / Bearing Walls |  |  | MASONRY BEARING WALL:CRACKS / SPALLING | 30 | SF | Repair | 4973.75 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Roof | Main Roof | Roofing | PBSREPLACEMENT | 8007 | SF | Replace | 787684.67 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | PBSREPLACEMENT | 35 | EACH | Replace | 235371.31 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 10 | EACH | Replace | 11460 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Electrical | Lighting Fixture - Incandescent | Surface Mounted |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 4073.79 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Electrical | Switchboard | Fused Disconnect Switch |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 85464.27 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 20400 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 13600 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 95 | SF | Replace | 2327.5 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 3155 | SF | Replace | 77284.83 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 45 | SF | Replace | 1102.32 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Roll Down Gate |  |  | PBSREPLACEMENT | 9 | EACH | Replace | 315000 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Electrical | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 32 | EACH | Replace | 60401.28 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Electrical | Corridor Lighting | Lighting Fixture - Incandescent | Surface Mounted |  | PBSREPLACEMENT | 7 | EACH | Replace | 11100.57 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Electrical | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 14 | EACH | Replace | 22851.56 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 5320.8 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 17400 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | PBSREPLACEMENT | 2 | EACH | Replace | 60000 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #3 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #3 |  | Electrical | Security | Closed Circuit Television System |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 117505.01 | Year 2-5 | 2
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Stairs: Interior |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 648000 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Entry Doors |  |  | PBSREPLACEMENT | 56 | EACH | Replace | 179200 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #3 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 1500 | LF | Replace | 262752 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Storefront |  |  | PBSREPLACEMENT | 45 | SF | Replace | 22500 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Conveying | Traction Passenger Elevator |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 800000 | Year 6-10 | 9
WEST FARMS ROAD REHAB | Building #3 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Directories |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 14995.63 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Doors |  |  | PBSREPLACEMENT | 17 | EACH | Replace | 89085.78 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #3 |  | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 14 | LF | Replace | 2678.51 | Year 16-20 | 70
WEST FARMS ROAD REHAB | Building #3 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 1300 | LF | Replace | 118882.4 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #3 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 1500 | LF | Replace | 262752 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Coping |  |  | PBSREPLACEMENT | 615 | LF | Replace | 83025 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Stairs / Ramps | Railings |  | PBSREPLACEMENT | 70 | LF | Replace | 10500 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Mechanical | Interior Compactor |  |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 98000 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Parapets |  |  | PBSREPLACEMENT | 615 | LF | Replace | 802575 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Fire Escape-Steel |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 840000 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #3 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | PBSREPLACEMENT | 648 | SF | Replace | 63743.76 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Conveying | Traction Passenger Elevator |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 800000 | Year 6-10 | 9
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Mailboxes |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 18307.68 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 2900 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Common Areas Finishes | Floor |  | PBSREPLACEMENT | 1000 | SF | Replace | 24495.98 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Electrical | Motor Starter / Contactor | Combination Fused Type |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4022.08 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #3 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #3 |  | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 7 | EACH | Replace | 147000 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Exterior | Windows |  |  | PBSREPLACEMENT | 380 | EACH | Replace | 1386521.2 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #3 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 500 | LF | Replace | 38801 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #3 |  | Mechanical | Sprinkler System | Piping |  |  | PBSREPLACEMENT | 60 | LF | Replace | 6974.52 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #3 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 500 | LF | Replace | 48000 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #3 |  | Mechanical | Drainage / Sewage System | Building Storm Piping |  |  | PBSREPLACEMENT | 250 | LF | Replace | 19400.5 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #3 |  | Architectural | Interior | Common Areas - Bathroom |  |  | PBSREPLACEMENT | 1 | TOILET STALLS | Replace | 67567.57 | Year 6-10 | 0
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:ACTIVE LEAKS | 51 | SF | Repair | 3370.89 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Floor |  |  | VCT:DAMAGED / DETERIORATED | 2598 | SF | Replace | 72529.41 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Floor |  |  | PBSREPLACEMENT | 41740 | SF | Replace | 845235 | Year 2-5 | 1
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Wall |  |  | PLASTER:CRACKS / SPALLING | 102 | SF | Repair | 4768.36 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Doors |  |  | WOOD:DAMAGED / DETERIORATED | 41 | EACH | Replace | 18020.32 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Doors |  |  | WOOD:DAMAGED / DETERIORATED | 5 | EACH | Replace Door & Frame | 3559.5 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Doors |  |  | WOOD:MISSING DOOR | 5 | EACH | Replace | 2197.6 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Doors |  |  | PBSREPLACEMENT | 534 | EACH | Replace | 416520 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Bathroom |  |  | PBSREPLACEMENT | 66 | EACH | Replace | 1755600 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | CERAMIC TILE:DETERIORATED GROUT | 305 | SF | Regrout | 3349.2 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | CERAMIC TILE:EXCESSIVE MOLD | 610 | SF | Repair | 27662.48 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | TUB SURROUND:EXCESSIVE MOLD | 509 | SF | Replace | 23082.3 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Bathroom | Door Saddle |  | MARBLE/METAL:BROKEN | 5 | EACH | Replace | 1370.99 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Bathroom | Sink |  | CLOGGED / LEAKING | 10 | EACH | Maintenance | 0 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Bathroom | Toilet |  | CLOGGED / LEAKING | 5 | EACH | Maintenance | 0 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Bathroom | Accessories |  | MISSING / BROKEN | 5 | EACH | Install New | 14201.02 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Bathroom | Exhaust / Vent |  | INOPERABLE | 15 | EACH | Replace | 6140.16 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Kitchen |  |  | PBSREPLACEMENT | 56 | EACH | Replace | 1332800 | First year | 0
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Kitchen | Cabinets |  | DEFECTIVE / DETERIORATED | 5 | EACH | Replace | 9983.62 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Architectural | Kitchen | Cabinets |  | DEFECTIVE / DETERIORATED | 5 | EACH | Maintenance | 0 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | DEFECTIVE GUARD / SHIELD | 10 | EACH | Replace | 5250 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 215 | EACH | Replace | 317814.53 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | DOOR LOCK IS MISSING | 5 | EACH | Replace-in-Kind | 4854.63 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | PBSREPLACEMENT | 56 | EACH | Replace | 232814.76 | Year 11-15 | 12
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | ANTIQUATED / OBSOLETE | 82 | EACH | Replace / Upgrade | 35466.84 | Year 2-5
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | BALLAST DEFECTIVE | 5 | EACH | Replace | 1334.41 | First year
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | PBSREPLACEMENT | 128 | EACH | Replace | 55362.88 | Year 2-5 | 3
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Electrical | Light Fixtures | Incandescent | Pendant | PBSREPLACEMENT | 5 | EACH | Replace | 2990.82 | Year 11-15 | 14
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | PBSREPLACEMENT | 205 | EACH | Replace | 88667.11 | First year | 3
WEST FARMS ROAD REHAB | Building #3 |  | Apartment | Electrical | Smoke Detectors |  |  | PBSREPLACEMENT | 71 | EACH | Replace | 31950 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Architectural | Interior | Common Areas Finishes | Floor |  | VCT:DAMAGED / DETERIORATED | 15 | SF | Replace | 418.83 | First year
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 38 | EACH | Replace | 43548 | First year | 0
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Architectural | Interior | Common Areas Finishes | Floor |  | PBSREPLACEMENT | 1500 | SF | Replace | 36743.97 | First year | 0
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Electrical | Lighting Fixture - Fluorescent | Pendant Mounted |  |  | PBSREPLACEMENT | 8 | EACH | Replace | 9168 | Year 6-10 | 7
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 2660.4 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | Year 16-20 | 17
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 450 | LF | Replace | 78825.6 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Electrical | Emergency Lighting | Battery Pack |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 2725.9 | Year 2-5 | 2
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 14500 | First year | 0
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Electrical | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 5195.18 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Mechanical | Drainage / Sewage System | Sump Pump |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 10518.67 | Year 11-15 | 12
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 450 | LF | Replace | 78825.6 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 160 | LF | Replace | 12416.32 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Electrical | Security | Closed Circuit Television System |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 117505.01 | Year 2-5 | 2
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Architectural | Interior | Common Areas - Bathroom |  |  | PBSREPLACEMENT | 3 | TOILET STALLS | Replace | 202702.71 | Year 6-10 | 0
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Electrical | Security | Intrusion Alarm |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 105420.67 | Year 2-5 | 2
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 11213.26 | Year 16-20 | 42
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | Year 16-20 | 17
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Electrical | Exit Lights | Battery Pack |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 10921.74 | Year 2-5 | 2
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Electrical | Exit/Emergency Combination | Battery Pack |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 1194.55 | Year 2-5 | 2
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 200 | LF | Replace | 19200 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Gas Burner | PBSREPLACEMENT | 2 | EACH | Replace | 22486.33 | Year 16-20 | 17
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 252000 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 43720.09 | Year 16-20 | 22
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 11-15 | 12
WEST FARMS ROAD REHAB | Building #3 | DEVELOPMENT MANAGEMENT OFFICE/ MAINTENANCE OFFICE/ MEETING ROOM/ BOILER | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 300 | LF | Replace | 27434.4 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Exit Lights | Battery Pack |  |  | UNIT NOT OPERATIONAL | 1 | EACH | Replace | 2543.88 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Closets |  |  | DOOR:BROKEN / MISSING | 2 | EACH | Replace | 1125.97 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Lobby Finishes | Floor |  | VCT:DAMAGED / DETERIORATED | 20 | SF | Repair | 372.29 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Lobby Finishes | Floor |  | QUARRY TILE:DAMAGED / DETERIORATED | 5 | SF | Repair | 193.67 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Storefront |  |  | STAINLESS STEEL / GLASS:DAMAGED / DETERIORATED | 10 | SF | Repair | 1462.6 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Directories |  |  | STAINLESS STEEL AND GLASS:BROKEN GLASS | 2 | EACH | Replace | 9419.31 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Mailboxes |  |  | METAL:DAMAGED / DETERIORATED | 1 | EACH | Replace | 7372.59 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Chimney |  |  | STUCCO CEMENT:MINOR CRACKS / SPALLING | 30 | SF | Repair | 1355.73 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Doors |  |  | METAL:DAMAGED / DETERIORATED | 2 | EACH | Replace | 1928.58 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Exterior Walls | Bulkhead Walls |  | STUCCO CEMENT:CRACKS / SPALLING | 30 | SF | Replace | 1452.51 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Exterior Walls | Bulkhead Walls |  | BRICK:OPEN JOINTS | 40 | SF | Repoint | 1520 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | STUCCO CEMENT:CRACKS / SPALLING | 2500 | SF | Replace | 121042.57 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Exterior Walls | Exterior Walls |  | BRICK:OPEN JOINTS | 500 | SF | Repoint | 19907.54 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Fire Escape-Steel |  |  | METAL:MINOR RUST | 1200 | SF | Repair | 81868.76 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Louver |  |  | MISSING SCREEN | 20 | SF | Replace | 1012.36 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Roof | Bulkhead Roof | Flashing | DAMAGED / DETERIORATED / TAR COVERED | 20 | LF | Replace | 1213.6 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Roof | Main Roof | Flashing | DAMAGED / DETERIORATED / TAR COVERED | 800 | LF | Replace | 48544 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Roof | Main Roof | Pitch Pockets | DAMAGED / DETERIORATED | 2 | EACH | Replace | 905.14 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:LOSS OF GRAVEL | 200 | SF | Install New | 1193.26 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Roof | Main Roof | Roofing | BUILT-UP:LEAK - LOCAL | 1410 | SF | Repair | 59020.43 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Stairs / Ramps | Railings |  | RUST - MINOR | 60 | LF | Repaint | 1056.37 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Windows | A/C Brackets and Sleeves |  | MISSING | 45 | EACH | Install New | 13864.87 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Windows | Child Guards |  | MISSING | 9 | EACH | Install New | 4109.94 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Windows | Child Guards |  | DAMAGED / DETERIORATED | 21 | EACH | Replace | 9589.87 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Windows | Windows |  | ALUMINUM:BROKEN GLASS | 5 | EACH | Replace | 1518.53 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Windows | Windows |  | ALUMINUM:DAMAGED / DETERIORATED FRAME | 10 | EACH | Replace | 17576.92 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Windows | Windows |  | ALUMINUM:HARDWARE MISSING / POOR CONDITION | 25 | EACH | Replace | 7757.72 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Structural | Columns / Beams / Bearing Walls |  |  | STEEL / COLUMNS / BEAMS:DETERIORATED FIREPROOFING | 20 | SF | Replace | 120.41 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Structural | Columns / Beams / Bearing Walls |  |  | MASONRY BEARING WALL:CRACKS / SPALLING | 20 | SF | Repair | 3315.83 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Structural | Floor Structure |  |  | CONCRETE SLAB ON GRADE:MINOR CRACKS/SPALLING | 20 | SF | Repair | 1162.01 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Doors |  |  | PBSREPLACEMENT | 20 | EACH | Replace | 104806.8 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Roof | Main Roof | Roofing | PBSREPLACEMENT | 12172 | SF | Replace | 1197414.49 | Year 2-5 | 5
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Stairs / Ramps | Railings |  | PBSREPLACEMENT | 200 | LF | Replace | 30000 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Windows |  |  | PBSREPLACEMENT | 582 | EACH | Replace | 2123566.68 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Fire Escape-Steel |  |  | PBSREPLACEMENT | 9 | EACH | Replace | 1260000 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Exit Lights | Battery Pack |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 10921.74 | Year 2-5 | 2
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Lighting - Exterior Security / Riot Lights |  |  |  | PBSREPLACEMENT | 42 | EACH | Replace | 282445.57 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Lighting Fixture - Fluorescent | Pendant Mounted |  |  | PBSREPLACEMENT | 16 | EACH | Replace | 18336 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Lighting Fixture - Fluorescent | Surface Mounted |  |  | PBSREPLACEMENT | 64 | EACH | Replace | 73344 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 9 | EACH | Replace | 30600 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 11 | EACH | Replace | 31900 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Lobby Finishes | Floor |  | PBSREPLACEMENT | 185 | SF | Replace | 4532.5 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Storefront |  |  | PBSREPLACEMENT | 172 | SF | Replace | 86000 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Directories |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 18744.53 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Mailboxes |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 36615.35 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Corridor Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 25 | EACH | Replace | 47188.5 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Corridor Lighting | Lighting Fixture - Incandescent | Surface Mounted |  | PBSREPLACEMENT | 7 | EACH | Replace | 11100.57 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Stairhall Lighting | Lighting Fixture - Fluorescent | Surface Mounted |  | PBSREPLACEMENT | 28 | EACH | Replace | 45703.13 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Common Areas Finishes | Floor |  | PBSREPLACEMENT | 1700 | SF | Replace | 41643.17 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Parapets |  |  | PBSREPLACEMENT | 878 | LF | Replace | 1145790 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Entry Doors |  |  | PBSREPLACEMENT | 89 | EACH | Replace | 284800 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 530 | SF | Replace | 12982.87 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Switchboard | Fused Disconnect Switch |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 85464.27 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Corridor Finishes | Floor |  | PBSREPLACEMENT | 4045 | SF | Replace | 99086.25 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 2000 | LF | Replace | 182896 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Common Areas - Bathroom |  |  | PBSREPLACEMENT | 4 | TOILET STALLS | Replace | 270270.28 | Year 6-10 | 0
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 7 | EACH | Replace | 3103.8 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Stairs: Lower Level |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 110000 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Common Areas - Kitchen |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 360000 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Motor Starter / Contactor | Combination Circuit Breaker Type |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 5195.18 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #4 |  | Conveying | Traction Passenger Elevator |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 800000 | Year 6-10 | 9
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 1000 | LF | Replace | 96000 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Emergency Lighting | Battery Pack |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 1362.95 | Year 2-5 | 2
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Panelboard | Molded Case Circuit Breakers |  |  | PBSREPLACEMENT | 27 | EACH | Replace | 567000 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Roof | Bulkhead Roof | Roofing | PBSREPLACEMENT | 861 | SF | Replace | 84696.57 | Year 2-5 | 5
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Boiler | PBSREPLACEMENT | 1 | EACH | Replace | 140000 | Year 16-20 | 17
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Drainage / Sewage System | Vent Piping |  |  | PBSREPLACEMENT | 2000 | LF | Replace | 382644.57 | Year 16-20 | 70
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Motor Starter / Contactor | Combination Fused Type |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 12066.23 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Interior Compactor |  |  |  | PBSREPLACEMENT | 3 | EACH | Replace | 147000 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Exit/Emergency Combination | Battery Pack |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 2389.1 | Year 2-5 | 2
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Gas Service | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #4 |  | Conveying | Traction Passenger Elevator |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 800000 | Year 6-10 | 9
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Fire Rated Doors |  |  | PBSREPLACEMENT | 5 | EACH | Replace | 17000 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Domestic Water System | Distribution Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Non Fire Rated Doors |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 2900 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Drainage / Sewage System | Building Storm Piping |  |  | PBSREPLACEMENT | 400 | LF | Replace | 31040.8 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Heating | Hot Water Piping (Hydronic Return) |  |  | PBSREPLACEMENT | 3000 | LF | Replace | 525504 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Heating | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 18 | EACH | Replace | 7981.2 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 1000 | LF | Replace | 77602 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #4 |  | Conveying | Traction Passenger Elevator |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 800000 | Year 6-10 | 9
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Domestic Water System | Gas Fired Water Heater |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 43720.09 | Year 16-20 | 22
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Roll Down Gate |  |  | PBSREPLACEMENT | 6 | EACH | Replace | 210000 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Main Doors | Primary | Doors and Frames | PBSREPLACEMENT | 3 | EACH | Replace | 90000 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Drainage / Sewage System | Sump Pump |  |  | PBSREPLACEMENT | 2 | EACH | Replace | 10518.67 | Year 11-15 | 12
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Heating Plant | Boiler System | Boiler, Packaged Modular | Gas Burner | PBSREPLACEMENT | 1 | EACH | Replace | 11243.17 | Year 16-20 | 17
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Domestic Water System | Domestic Hot Water Circulating Pump |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 4500 | Year 11-15 | 12
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Stairs: Interior |  |  | PBSREPLACEMENT | 12 | EACH | Replace | 648000 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #4 |  | Electrical | Service Switch |  |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 108703.03 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Exterior | Coping |  |  | PBSREPLACEMENT | 878 | LF | Replace | 118530 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Heating | Hot Water Piping (Hydronic Supply) |  |  | PBSREPLACEMENT | 3000 | LF | Replace | 525504 | Year 16-20 | 30
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Domestic Water System | Remote Water Heater Storage Tank |  |  | PBSREPLACEMENT | 1 | EACH | Replace | 11213.26 | Year 16-20 | 42
WEST FARMS ROAD REHAB | Building #4 |  | Architectural | Interior | Display Unit |  |  | PBSREPLACEMENT | 4 | EACH | Replace | 13118.91 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Sprinkler System | Piping |  |  | PBSREPLACEMENT | 80 | LF | Replace | 9299.36 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #4 |  | Mechanical | Drainage / Sewage System | Sewage / Waste Piping |  |  | PBSREPLACEMENT | 0 | LF | Replace | 0 | Year 16-20 | 50
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:CRACKS / SPALLING | 280 | SF | Repair | 14119.35 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Ceiling |  |  | PLASTER:EXCESSIVE MOLD | 336 | SF | Repair | 30973.42 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Floor |  |  | VCT:DAMAGED / DETERIORATED | 1639 | SF | Replace | 45756.62 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Floor |  |  | PBSREPLACEMENT | 68913 | SF | Replace | 1395488.25 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Wall |  |  | PLASTER:CRACKS / SPALLING | 561 | SF | Repair | 26225.95 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Doors |  |  | WOOD:DAMAGED / DETERIORATED | 44 | EACH | Replace Door & Frame | 31323.6 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Doors |  |  | WOOD:MISSING / DETERIORATED HARDWARE | 123 | EACH | Maintenance | 36548.22 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Doors |  |  | PBSREPLACEMENT | 775 | EACH | Replace | 604500 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Bathroom |  |  | PBSREPLACEMENT | 88 | EACH | Replace | 2340800 | Year 6-10 | 0
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Bathroom | Wall Finishes |  | TUB SURROUND:EXCESSIVE MOLD | 988 | SF | Replace | 44804.15 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Bathroom | Shower Head & Valve |  | DEFECTIVE / DETERIORATED | 9 | EACH | Replace | 1180.29 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Bathroom | Sink |  | CLOGGED / LEAKING | 9 | EACH | Maintenance | 0 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Bathroom | Toilet |  | CLOGGED / LEAKING | 9 | EACH | Maintenance | 0 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Bathroom | Exhaust / Vent |  | INOPERABLE | 9 | EACH | Replace | 3684.09 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Kitchen |  |  | PBSREPLACEMENT | 88 | EACH | Replace | 2094400 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Kitchen | Cabinets |  | DEFECTIVE / DETERIORATED | 59 | EACH | Replace | 117806.7 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Architectural | Kitchen | Sink |  | CLOGGED / LEAKING | 19 | EACH | Maintenance | 0 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | DEFECTIVE GUARD / SHIELD | 11 | EACH | Replace | 5775 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Mechanical | Radiator / Convector / Baseboard |  |  | PBSREPLACEMENT | 359 | EACH | Replace | 530676.36 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Electrical | Intercom |  |  | APARTMENT UNIT NOT OPERATIONAL | 19 | EACH | Replace | 22325 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | DEFECTIVE | 9 | EACH | Repair | 9173.04 | First year
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Electrical | Electrical Panel Board | Molded Case Circuit Breakers |  | PBSREPLACEMENT | 88 | EACH | Replace | 365851.76 | Year 6-10 | 10
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Electrical | Light Fixtures | Fluorescent | Surface | PBSREPLACEMENT | 202 | EACH | Replace | 87369.54 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Electrical | Light Fixtures | Incandescent | Surface | PBSREPLACEMENT | 336 | EACH | Replace | 145327.55 | First year | 0
WEST FARMS ROAD REHAB | Building #4 |  | Apartment | Electrical | Smoke Detectors |  |  | PBSREPLACEMENT | 101 | EACH | Replace | 45450 | Year 6-10 | 8
TOTAL | [11 empty] | 59329089.15